TITLE 150

LEGISLATIVE RULE

PUBLIC SERVICE COMMISSION

SERIES 37

RULES GOVERNING TELEPHONE CONUDIT OCCUPANCY

§150-37-1.  General.

1.1.  Scope. --  These rules are promulgated to effectuate W. Va Code §24-2E-3.

1.2.  Authority.  --  W. Va. Code §§24-2E-3, 24-1-7, 24-2-1 and 24-2-6.

1.3.  Filing Date.  --  _________, 2016.

1.4.  Effective Date.  --  _______, 2016.

1.5.  Sunset date.  This rule will sunset five years after the effective date, unless otherwise extended pursuant to W. Va. Code §29A-3-19.

§150-37-2.  Definitions.

2.1.  “Conduit” – A tube structure containing one or more ducts or inner-ducts used to house cables.

2.2.  “Commission”  --  The Public Service Commission of West Virginia.

2.3.  "Customer"  --  Any person, firm, partnership, corporation, municipality, cooperative, organization, governmental agency, etc., who purchases telecommunications services from a telephone company.

2.4.	  “Inner-ducts” – A duct contained within another duct.

2.5.  “Intercept” – A cable inserted into conduit between conduit end points.

2.6.  “Service Provider” – A customer, telephone public utility, telephone company or any other entity that occupies, or desires to occupy, conduit or underground construction that provides service by a telephone public utility and that has been provided at the customer’s expense.

2.7. “Telephone Company” or “Telephone Public Utility” --  Any provider of telecommunications services to the public under the jurisdiction of the Commission.

§150-37-3.  Telephone Conduit Occupancy.

3.1.  Prohibition and Ownership.

A telephone public utility may not prohibit, either by contract or service tariff, a customer who has provided conduit or other underground construction at the customer’s expense from using the conduit or other underground construction for purposes other than the services provided by the telephone company.  A customer who provides the conduit or underground construction is the owner of that apparatus.

3.2.  Compliance with Standards, Practices, Rules and Orders.

- A customer and all occupants of conduit or other underground apparatus shall comply with the rules, regulations and orders of the Commission, the National Electrical Safety Code, the National Electric Code, the Manual of Construction Procedures, the rules and regulations of the Occupational Safety and Health Act and any other lawful and applicable laws, rules, regulations and orders.

- No customer, telephone public utility, telephone company or other occupant of any conduit or other underground apparatus may prohibit, prevent or interfere with the compliance of any person with its obligations under the rules, regulations and orders of this Commission, including without limitation any obligation as a carrier of last resort.

§150-37-4.  Best Practices.

4.1.	Coordination of activities of multiple service providers.

The use of customer-owned conduit may require the involvement of more than one service provider.  When multiple service providers are involved, the coordination of their activities should be guided by the best practices of the industry, as set forth below:

a.	Intercepts should be allowed and standardized with the use of conduit saddles.

b.	Pedestal placements should allow ready access of conduits and ducts.

c. 	Legacy non-standard intercept installation should be maintained as is unless damage to facilities as a direct result of these installations is proven imminent or the conduit owner requests changes to the insertion methodology.

d.	Companies should reasonably allow shared cable installations in common ducts where duct access is restricted by available capacity.

e.	Dead cables that consume capacity in customer-owned conduit should be extracted in a reasonably expeditious manner.

f.	The physical access paths into buildings should be considered to determine whether plant assets may be consolidated and ensure that scarce access capacities are efficiently used.

g.	Initial and subsequent installations into new customer-owned conduit should use inner-ducts when feasible.

h.	Customer-owned conduit should have a common access point to facilitate the customer’s receipt of service from multiple providers.  The common access may be provided in various ways, including

(i)	Placement of a pull box that may be shared by multiple service providers.

(a)	When possible, the pull box should be placed by the customer contractor when the customer-owned conduit is installed.

(b)  A pull box also may be placed by the initial installing provider.

(ii)	Installation of a conduit Y fitting with conduit stubbed up such that multiple service providers can access the customer-owned conduit on the open stub.

i.	A service provider should not bill another service provider for access to or occupancy of customer-owned conduit.

j.	A transition demark between riser poles and entry points into customer-owned conduit is not necessary.