INTERPRETIVE RULE

DEPARTMENT OF ENVIRONMENTAL PROTECTION

WASTE MANAGEMENT

SERIES 1A

DISPOSAL OF COMPLETION WASTE

§33-1A-1.  General.

1.1.  Scope.  -- This rule provides guidance and direction to commercial solid waste facilities for the proper disposal of completion waste as a special solid waste generated from horizontal well sites, pursuant to the provisions of the Solid Waste Management Rule, 33 C. S. R. 1.

1.2.  Authority.  -- W. Va. Code §§ 22-15-5 and 22-15-8(e) and (g).

1.3.  Filing.  --  .

1.4.  Effective Date.  --  .

1.5.  Applicability. – This rule is applicable to the commercial solid waste facilities that are permitted to take drill cuttings and drilling waste generated from horizontal oil and natural gas well sites pursuant to the West Virginia Solid Waste Management Act, W. Va. Code § 22-15-8(g).

§33-1A-2.  Definitions.

Unless the context in which used clearly requires a different meaning, the definitions contained in W. Va. Code § 22-15-2 and 33 C.S.R. 1 § 2 apply to this rule, in addition to the definition set forth below.

2.1.  “Completion waste” means wastes generated during the completion process or derived from the hydraulic fracturing process associated with horizontal natural gas well development, including without limitation, flowback solids, brine, tank bottoms, pit cleanout material and sludges, filters and filter media, pipe scale and used fracturing sand and proppants.

§33-1A-3.  Acceptance and Handling of Completion Waste as a Special Solid Waste.

3.1.  Prior to the acceptance and disposal of completion waste, a permittee shall apply for and obtain a special waste permit modification in accordance with subsection 4.13 of the Solid Waste Management Rule.

3.2.  The permittee shall dispose of all completion waste in a cell(s) dedicated solely to the disposal of drill cuttings and associated drilling waste, as established in the West Virginia Solid Waste Management Act and the Solid Waste Management Rule.

3.3.  The permittee shall comply with all liner system and radiation monitoring requirements set forth in the Solid Waste Management Rule related to the construction of separate cells for the disposal of drill cuttings and associated drilling waste.

3.4.  Waste Profiling Requirements.

3.4.a.  The facility must obtain from the generator results from at least one composite sample of the waste, unless otherwise approved by the Secretary.

3.4.b.  At a minimum, the facility must submit the following analyses with each application for a special waste minor permit modification:  Toxicity Characterization Leaching Procedure (TCLP) Metals, EPA Method 1311; TCLP Volatile Organic Compounds, EPA Method 8260B; TCLP Semivolatile Organic Compounds, EPA Method 8270C; Total Petroleum Hydrocarbons (TPH), EPA Method 8015C; and Percent Solids, EPA Method Number 160.3 or 2540.  Sampling results for these parameters must not exceed the limits of 40 C.F.R. § 261.24.

3.4.c.  In addition to analyses set forth in subdivision 3.4.b above, the permittee must analyze each load of completion waste entering the facility for the combined concentration of Radium 226 and Radium 228, and each load shall be accompanied by the test results for that load. The analysis must be done by a laboratory certified by the Department’s Environmental Laboratories Certification program.  If the combined concentration in the waste is less than fifty picocuries per gram (50pCi/gr.), the facility may accept the waste for disposal.  If the values are greater than 50pCi/gr, the facility shall reject the load.

3.5.  Radiation Monitoring

3.5.a.	The facility must also have a portable radiation monitor capable of determining dose rate and the presence of contamination on a vehicle. The facility shall provide staff with documented training in the operation of all onsite radiation monitors.

3.5.b.  The radiation monitor installed at the facility pursuant to the Solid Waste Management Rule must be capable of measuring exposure rates from ten microroentgens per hour (10 µR/hr) to greater than fifty milliroentgens per hour (>50 mR/hr) (or equivalent units).  The instrument must be maintained and calibrated according to manufacturer specifications.

3.5c.  The detector elements must be configured to be as close as practical to the waste load and in an appropriate geometry to monitor the waste.

3.5.d.  The facility shall set the detector to sound an alarm if the reading on the detector exceeds 10µR/hr (or equivalent units) above local background.

3.5.e.	 For each radiation alarm generated for completion waste the facility shall document the fixed detector reading and the associated combined concentration of Radium-226 and Radium-228 provided with the load.  This information shall be supplied both to the Department and to the West Virginia Department of Health and Human Resources’ (DHHR) Radiological Health Program on a monthly basis.

3.5.f.  Facilities accepting completion waste must submit to the DEP a Radiation Monitoring Plan that outlines the facility’s procedures for managing the waste.

§33-1A-4.  Daily Cover

4.1.  The Secretary may require daily cover in excess of that required in the Solid Waste Management Rule on these drilling waste cells that receive completion waste if, in the Secretary’s discretion, extra cover is needed to protect the environment to the health, safety, and welfare of the public.