TITLE 33

LEGISLATIVE RULES

DIVISION OF ENVIRONMENTAL PROTECTION

OFFICE OF WASTE MANAGEMENT

SERIES 23

GROUNDWATER PROTECTION STANDARD

'33-23-1.  General.

1.1.  Scope  --  The purpose of  this rule is to provide a standard of protection for groundwater which shall apply to hazardous waste management facilities.  The term ?hazardous waste management facility? as used in this section shall have the same meaning as that term as defined under 33 CSR 20, Section 2.

1.2.  Authority.  --  W.Va. Code ''22-18 and 22-11.

1.3.  Filing.  --  April 12, 1984.

1.4.  Effective Date.  -- April 25, 1984.

'33-23-2.  Groundwater Protection Standard.

2.1.  The owner or operator must comply with conditions specified in the permit that are designed to ensure that hazardous constituents under 33 CSR 20, subsection 7.5.,  entering the groundwater from a regulated unit do not exceed the background concentrations of those constituents in the groundwater in the uppermost aquifer underlying the hazardous waste management facility at or beyond the point of compliance period under 33 CSR 20, subsection 7.5.  These background concentrations will be determined as described under 33 CSR 20, subsection 7.5.  When determining compliance with the groundwater standard, the statistical tests and procedures outlined in 33 CSR 20, subsection 7.5., shall be applied.