TITLE 126

LEGISLATIVE RULE

BOARD OF EDUCATION

SERIES 172

HANDBOOK ON PLANNING SCHOOL FACILITIES (6200)

§126-172-1.  General.

1.1.  Scope.  --  This legislative rule provides that each county school district maintain and update annually a Comprehensive Educational Facilities Plan.  This rule also provides that each county school facility funded totally or partially with funds from the School Building Authority of West Virginia (hereinafter, SBA) or the West Virginia Board of Education (hereinafter, WVBE) undergoes an on-site inspection annually.

1.2.  Authority.  --  W. Va. Const., Article XII, §2, W. Va. Code §§18-2-5, 18-9C-1 et seq., 18-9D-1 et seq., 18-9E-3 et seq., 18-5-10, 18-5-13, and 18-5-13a.

1.3.  Filing Date.  --  August 15, 2008.

1.4.  Effective Date.  --  September 15, 2008.

1.5.   Repeal of Former Rule.  --  This rule repeals and replaces  W. Va. §126CSR172, WVBE Policy 6200, “Handbook on Planning School Facilities” filed October 13, 2005 and effective November 12, 2005.  This policy is to be read along with W. Va. §126CSR176, WVBE Policy 6204, “School Closings or Consolidations.”

§126-172-2.  Incorporation by Reference.

2.1.  A copy of the rules and regulations is attached.  Copies may be obtained from the West Virginia Department of Education (hereinafter, WVDE), Division of Student Support Services.

2.2.  Summary of rules and regulations. The WVDE has the responsibility to provide guidance and assistance to counties in their effort to continuously improve all aspects of educational programming, including physical facilities.  The WVDE endeavors to fulfill its leadership responsibilities and assist in establishing a thorough and efficient system of education for all the children of West Virginia.  This handbook has been prepared to assist public school officials in planning and constructing new facilities, additions and major renovations which will enable West Virginia’s 55 county school systems to provide equal educational opportunities for all children.

2.3.  School facilities are an integral and expensive component of the system of education in West Virginia.  As educational programs become comprehensive, the importance of adequate facilities is increased.  This increasing importance, combined with aging or obsolete facilities, creates an unending demand.  This demand must continuously be provided for in the most concurrent method with implementation of an adequately funded program of school facility construction.  This will ultimately provide the facilities necessary to accommodate a thorough and efficient system of education.

§126-172-3.  Severability.

3.1  If any provision of this rule or the application thereof to any person or circumstance is held invalid, such invalidity shall not affect other provisions or applications of this rule.

Chapter 1

SCHOOL FACILITIES PLANNING

100	COMPREHENSIVE EDUCATIONAL FACILITIES PLAN (CEFP)

Each county shall develop a ten-year Comprehensive Educational Facilities Plan (CEFP) that addresses the requirements for new construction and major renovations where applicable as described in the following sections.  The CEFP not only encompasses new construction and renovations but also is used in the school closures, consolidation and reconfigurations as well as in developing levees and bond calls.  All aspects of this plan are to be reviewed and verified for accuracy by Local Education Agencies. (LEAs).  The CEFP shall be submitted to the West Virginia Department of Education (WVDE) and the School Building Authority of West Virginia (SBA) in the format described in this chapter.  This plan is to be updated annually only in the event changes are required, and rewritten every ten years thereafter beginning with the plan submitted in 1990.  Approval of the county CEFP must be granted by the West Virginia Board of Education (WVBE) and the SBA.  Subsequent substantial compliance with all laws and policies will be required when the CEFP contains closures and/or consolidations, regardless of the funding source.  Approval must also be granted by the SBA prior to funding any project through the SBA and prior to utilization of federal funds for school improvement (WV Code §18-9D-15).  The CEFP must include all projects that alter the instructional square footage of the facility or exceed $50,000 regardless of the funding source.  Routine maintenance projects are not to be included in the CEFP unless state funding will be requested or utilized to implement them or if such projects are a part of the Major Improvement Plan (MIP).  Required amendments to the plan and/or the plan budget must be submitted to the WVDE and the SBA for approval prior to the initiation of any construction or renovation project and such projects must meet all regulatory requirements and be described in an executive summary that outlines the specifics of the plan which will be submitted to the WVDE and SBA.

The development of a ten-year CEFP must be achieved in the following manner:

A.	Establish a CEFP planning team and committees representative of citizens and staff from each high school attendance area.

B.	Develop countywide goals and objectives and evaluate the previous ten-year plan.

C.	Research and compile data indicated in key elements A through G in Section 100.01 of this chapter.

D.	Translate educational needs into facility needs.

E.	Develop a finance plan to implement the facility improvements.

F.	Conduct public hearings and develop a synopsis of public comments.

G.	Develop an objective methodology for evaluating the effectiveness of the plan.  This evaluation is to occur during the eighth year of the ten-year planning period.

H.	Meet with officials of the SBA and WVDE to assure that the plan meets their mission and goals.

I.	Submit proposed CEFP to the local board of education for approval.

J.	Submit the CEFP to the WVBE and SBA for electronic approval as prescribed by the WVDE WVBE and the (SBA).  One hard copy shall be submitted to the SBA and one hard copy shall be submitted to the WVDE.

Should the plan be altered prior to the ten-year anniversary date, the amended document shall be submitted to the WVBE and SBA for approval.

100.01		The CEFP must include the following components:

A.	Goals and Objectives

B.	The community analysis

C.	Population and enrollment study

D.	The educational plan

E.	Evaluation and inventory of existing facilities for compliance with state requirements

F.	Major improvement plan for existing facilities

G.	Inter-county facility feasibility study

H.	Translating educational needs into facility needs

I.	Financing plan including a prioritized list of all projects within the county and their estimated costs

J.	Synopsis of comments from the public hearing(s)

K.	Objective evaluation of the plan’s  implementation

100.010	Goals and objectives of the CEFP must be developed and adopted by the county board of education, then presented with an executive summary of the specifics of the plan which will be a component of the document submitted to the WVDE and the SBA for approval. These goals and objectives must consider all aspects of the educational and facility needs of the county.  Long-term goals and objectives must be anticipated and strategic planning established to perform comprehensive systemic planning.  Additionally, the CEFP will serve as a plan of correction for non-compliance items documented by the Office of Education Performance Audits and the WVDE Office of School Facilities identified in the on-site evaluation process. Minimally, curriculum delivery models, grade configurations, maximum and minimum school sizes, community expectations, optimal student populations and the number of facilities that can be effectively maintained given limited resources available to the county should be addressed.

100.011	The Community Analysis

100.0111	A survey of the community’s history provides a background against which present conditions acquire meaning.  The following aspects of a county’s development should be studied carefully in regard to each school community.  Please use maps and charts when available.

A.	Population characteristics and density patterns.

B.	Population changes due to migration patterns and to fluctuations in the birth rate.

C.	Changes in land usage (residential, commercial and industrial)

D.	Major highways and street networks and their probable future development

E.	Changes in socio-economic patterns resulting in population shifts within the community

F.	Condition and value based upon current property assessments

G.	Availability of community services - libraries, recreational areas, health services, public assembly space and emergency response services including the support of Homeland Security.

H.	Employment opportunities

I.	Parental expectations of the school

J.	Citizen attitudes and aspirations in general

K.	Possible shifts in housing patterns

L.	Study of school attendance zones as they relate to the dispersion of the county school population

100.012	Population and Enrollment Study

100.0121	In general, the following statistics are essential components of the enrollment projections:

A.	Population trends

1.	County

2.	Each school community

B.	Birth rates and the number of births

C.	Public school enrollment figures and trends for the past ten years

D.	Historic non-public school enrollment figures, as available

E.	Trends of dropout and attrition rates for the past ten years

F.	Ten-year enrollment projections per school calculated by an approved method which considers the above components

100.013		The Educational Plan

100.0131	The Educational Plan proposed for this ten-year planning period provides a standard against which existing facilities can be measured (e.g., how well do the facilities support the goals defined in the plan).  This includes an analysis of the current educational program and projections of the planned educational program.  The educational plan shall include the following areas:

A.	Describe the educational system proposed for this ten-year CEFP and how it will improve instructional delivery.

1.	Describe how the existing plan does not meet State Code, WVBE and county policies, goals and objectives and how the new plan will meet these requirements.

2.	Will the school system be predominately organized on a K-4, 5-8, 9-12, or some other pattern?

3.	Will the typical one-teacher-per-class pattern be followed, or are teaching teams to be utilized?

4.	Generally, will there be self-contained or departmentalized classroom instruction?

5.	Generally, will there be typical grade patterns or will there be an ungraded or flexible grouping of students?

6.	What will be the maximum or minimum enrollment and total number of instructional areas in each building?

7.	What method of scheduling will be utilized in each building?  (traditional, block, flexible, year-round, or other).  Indicate the number of periods in each instructional day.

8.	What is the plan for providing vocational/technical education?

B.	The curriculum plan -- What knowledge, understanding, attitudes, skills and habits of life should be developed through the experiences provided for children?

1.	What are the general characteristics of a high quality school program?

2.	Are there any students whose needs are not now adequately accommodated? (e.g., students with exceptionalities, gifted, etc.)

3.	Is there a tiered instructional model being utilized to fully meet the needs of all children?  Three Tiered Instructional Model for any child e.g. tier 1-no added intervention beyond regular classroom instruction, tier 2-more assistance beyond (tier 1) regular classroom instruction, tier 3-the greatest level of additional assistance which can include instruction beyond the classroom.

C.	The instruction plan - Program description and methods of instruction.

1.	What will be the major components of the instructional program (e.g., general course of study; career and technical and adult or community education; special education; driver education; physical education; co-curricular activities; computerization and technology; or advanced courses in science, math, language arts, and social studies, etc.)?

2.	Will the instructional program be organized into semester subject matter units, mini-courses, core programs, experimental learning units, or some other basis?

D.	The operations plan - Design and conduct of the teaching and learning environment.

1.	Curriculum shall drive the new facility design.

2.	Will the educational environment go beyond the classroom (e.g., into the community)?

3.	What, if any, major changes in the teaching-learning environment are anticipated to more fully achieve the county’s/state’s educational goals?

4.	How will technology deliver the curriculum?

E.	The support plan

1.	What kinds of support services are essential to carry out the instructional plans (e.g., cafeteria/food service, health services, library/media center, transportation, guidance, educational technology support, Alternative Learning Center)?

2.	How will these services be more operationally efficient in the new plan?

F.	The personnel plan - professional and support services staff

1.	What allocation of staff will be made (to each building) to implement the educational plan?

2.	Describe how professional staff efficiency will be addressed in this plan (for example, teacher-pupil ratio, itinerant teachers, teachers traveling within the building).

3.	Describe how support staff efficiency will be addressed in this plan.

4.	Describe how a Technology Integration Specialist (TIS) will be integrated into the instructional delivery system.

100.014	Evaluation and Inventory of Existing Facilities

100.0141	The evaluation of existing facilities shall include a survey of each facility including modular and detached structures in the county, including floor plans that accurately reflect existing layouts and exterior photographs, using the SBA approved School Facility Evaluation Instrument.  This evaluation will provide objective data on the condition and components of the existing building, its appropriateness for delivery of the instructional program, and its ability to support the present and projected enrollments in an effective and efficient manner.  Based on the county’s goals and objectives individual facility deficiencies must be identified.  This data can help determine if the facility can be economically modified to house the projected educational program and at what cost.  The services of a certified Recognized Educational Facility Professional (REFP), architect, and/or professional engineer are necessary.

100.0142	Criteria for Evaluating Existing Buildings

A.	The disposition of abandoned/surplus buildings must be identified in the CEFP and include accommodation for security, sanitation, health and safety to minimize the facility as an attractive nuisance to the community.

B.	Health and safety considerations will be identified as required by the regulatory agencies and will be used as criteria for determining prioritization of projects for SBA funding.  Regulatory agencies include, but are not limited to the offices of the West Virginia Fire Marshal, West Virginia Department of Health and Human Resources, West Virginia Division of Highways, Office of School Facilities of the WVDE and SBA.  The principles of Crime Prevention Through Environmental Design (CPTED) shall also be included during the evaluation.

C.	Facilities improvements and new facilities must accommodate the educational programs by design.  The building design will be dictated by the curriculum as defined in an approved educational specification.  Existing and new facilities must meet regulations of the state Handbook on Planning School Facilities Policy 6200

D.	Facilities must comply with state policies; federal and state laws; all federal, state, and local regulatory agency requirements; and when applicable, guidelines of the SBA and WVDE.  Modular and detached classrooms/facilities specifications must  be added to the CEFP.

E.	Economies of scale include compatibility with similar schools that have achieved the most economical organization, facility utilization, and pupil-teacher ratios.

F.	Economies of scale (EOS) established by the SBA are as follows:

1.	Elementary schools with a minimum enrollment of 340 students in grades Pre-K-6, 240 in grades Pre-K-4, or a minimum of 2 classes (22 each) per grade level, are recommended to achieve economies of scale.  The number of early childhood, kindergarten, and students with exceptionalities may increase this minimum standard.

2.	Middle and junior high schools with a minimum enrollment of 450 students in grades 5-8, 6-8, or 7-9 schools with 600 students, or schools with 150 students per grade level minimum are recommended to achieve economies of scale at the intermediate level.

3.	High schools with a minimum enrollment of 600 students in grades 10-12, 800 students in 9-12, or 200 students at each grade level are recommended to achieve economies of scale.

4.	Geographic or other considerations may require exceptions to be considered and a waiver of the EOS can be requested.  Regional planning should also be considered to achieve these minimum enrollment standards.

5.	A minimum of 85% of the building design capacity should be considered for early childhood, intermediate, and adolescent facilities.

G.	Description of Energy Usage including probable cause of inefficiencies.

H. 	Appraise how each facility supports or fails to support the educational program, including the technology infrastructure.

I.	Calculate the program utilization for each facility in accordance with the guidelines of the SBA for educational specifications.

J.	Site analysis - Describe each school site using the criteria in Section 200 of this handbook.

100.015		Operations and Maintenance Plan (OMP)

Each county shall include in this section of the CEFP a maintenance and capital improvements plan for existing facilities in accordance with the current SBA Guidelines and Procedures Handbook and WV Codes §§18-9D-15 (d) and 18-9D-16 (b).

100.016		Translating Educational Needs into Facility Needs

In this section of the CEFP, the data collected in the community analysis, the population and enrollment study, the educational plan, the evaluation and inventory of existing facilities, inter-county facility feasibility study, and the OMP will be used to make decisions that will determine the future facility needs of the county.  This plan will insure that facilities are in compliance with state and local requirements.

Comprehensive planning is a way of identifying the best route to the future through a workable plan for handling priority rated, predictable situations, and anticipated changes.  A CEFP defines ultimate goals for the institution and accounts for the facilities required to help achieve these goals.  The capacities and capabilities thus defined are realized, if necessary, through several phases of construction and expansion or reduction and modification.  These activities are viewed in terms of their relationship to the total program.

A summary of the county’s transition to facilities needs should be represented by these items and in this order in the plan:

A.	A Building Review and Recommendations Report, compiled alphabetically by school.  (SBA/WVDE Form 147)

B.	A Feeder School Summary Report (SBA/WVDE Form 132)

C.	A feeder school summary report narrative filed together alphabetically by high school attendance area

D.	A High School Attendance Area Facility Report, compiled alphabetically by high school attendance area (SBA/WVDE Form 148)

E.	A countywide School Facilities Classification Report (SBA/WVDE Form 116)

F.	School Safety

Analysis of the data compiled in the CEFP regarding enrollments, the educational program, the condition of existing facilities, and the ability of each facility to support the educational program will result in the identification of specific inadequacies in each school that need to be addressed.  The narratives are to describe each school facility, site, enrollments, general conditions, recommendations for future use of the building, and cost estimates to implement the recommendations.  Develop a list of projects at each facility needed to address the inadequacies in health and safety, building integrity, or educational capability of the facility.  In accordance with SBA/WVDE Form 147, a ten-year timeline will be developed to indicate the anticipated completion of each of these projects.

Upon completion of the recommendations for each individual school, a high school attendance area summary for school improvements will provide an analysis of improvements in each community.  Complete SBA/WVDE Form 148.

New facilities shall not be constructed for student populations that are projected to fall below 85% of the required economies of scale guidelines for minimum school enrollments within ten years of the completion date of the construction.  See Chapter 1, Section 100.0142 (E).  Consideration may be given to extraneous factors that may alter this requirement provided the project is approved by the WVBE and the SBA.

100.017	Inter-County Facility Feasibility Study

A.	Each county shall submit to the WVDE and the SBA a list of grouped, inter-county attendance areas where potential exists for cooperative utilization of a facility between or among counties.  (May include multi-county and inter-regional facilities, e.g., magnet school, area career and technical education centers, etc.)

B.	A planning study is to be completed to assure that an efficient and effective instructional delivery system will be utilized addressing each of the items indicated in Chapter 1, Section 100.01 (A-K).

C.	Describe the results of the study and its impact on school facility needs for students in these attendance areas.

100.018		Financing Plan

The estimated costs for implementing the improvements identified in this plan shall be utilized in the development of the finance plan.

- Identify the source of funding to be utilized in the financing plan.

1.	Local bonding capacity and unencumbered potential

2.	Excess levy funds

3.	Federal aid funds

4.	Sale of abandoned school sites and buildings

5.	State funds (including SBA)

6.	Permanent improvement funds

7.	Performance-based contracting

8.	Lease-purchase arrangement

Identify the fiscal obligations to be considered in the plan.

1.	Outstanding Bond indebtedness

a.	Total obligation

b.	Amount encumbered annually

c.	Maturity date(s)

2.	Outstanding lease purchase agreements, performance-based contract, or certificates of participation

a.	Total obligation

b.	Amount encumbered annually

c.	Pay-out date(s)

B.	Cost of needed improvements as determined by an architect, professional engineer, or other professional project estimator (summarize the financial needs identified in Section 100.016 of the handbook indicating the cost for each capital improvement for each facility and its anticipated funding source).

C.	If a proposed project benefits more than one county in the region, include in the plan the manner in which the cost and funding of the proposed project shall be apportioned among the counties.

100.019		Synopsis of Comments from the Public Hearing(s)

Prior to submitting the CEFP to the WVBE and the SBA for approval, a public hearing(s) must be advertised and conducted in accordance with WV Code §59-3-1 et.al., to provide broad-based community input into the plan.  As an addendum to the CEFP, sufficient documentation, including verification of public notices from the local newspapers, a synopsis of all comments received during the hearing(s), and a formal comment from the local board must be included.

100.020		Objective Evaluation of Implementation

As part of the total CEFP, the county shall include the objective means to be utilized in evaluating implementation and effectiveness of the overall plan and each project included therein.  The evaluation shall measure how:

A.	Each project furthers each of the quality educational goals of the SBA as defined in §18-9D-16 of the WV Code.  This shall include: student health and safety, economies of scale, travel time and other demographics, achievements of effective and efficient instructional delivery system, curricular improvements, innovations in education, and adequate space for projected student enrollment;

B.	Prioritization of projects within the county serves as a basis for determining expenditure of available funds; and

C.	The overall success of any project relates to the facilities plan of the county and the overall goals of the WVDE and SBA.  (Complete WVDE/SBA Form 147)

101.  EDUCATIONAL SPECIFICATIONS FOR A SPECIFIC SCHOOL CONSTRUCTION PROJECT

101.01		The development of educational specifications for each new school facility is a team, rather than an individual activity, which is accomplished by school administrative unit personnel with or without the assistance of an outside consultant.   The chief school administrator recommends persons for committee appointment which will include appropriate principals and teachers.  A representative of the SBA will be appointed to the committee if SBA funds are utilized in the project.  The (school) appropriate board then acts on these recommendations.  The committee chairperson is usually the principal of the proposed facility.  If that official has not been identified, then the principal of another administrative unit facility can serve.  The working committee should be small and selective.  It should be balanced in composition, with diversified interests, knowledge, and skills represented.  Members should understand their role in relation to both the immediate task and the entire project.  They should also understand the necessity for cooperation.  Ordinarily members of the teaching staff and others who will be immediately involved in the use of the proposed facility are most able to provide the type of information required in educational specifications.  Some important considerations in the selection of committee members are:

A.	Time available to spend on the project

B.	Knowledge about the project

C.	Imagination and creativity

D.	Ability to work with people

E.	Interest in the improvement of the school

101.02		Educational specifications should describe the learning activities that will be housed in the proposed facility; the number, grouping and nature of the people involved; the spatial relationship between the facility and site; the interrelationships of instructional programs with each other and with non-instructional activities; the major items of furniture and equipment to be used; and any special environmental provisions which would improve the learning environment and promote staff efficiency.  Educational specifications should avoid rigid architectural prescriptions, confining its remarks to educational matters.

101.03		Educational specifications describe the educational activities, which a proposed facility must support and the types of spaces, which will best accommodate program requirements.  They are not a precise delineation of the instructional program; nor are they technical specifications of the type that the architect or engineer directs to the contractor.  They are, however, in a temporal and developmental sense, a connecting link between the program and technical statements.

The educational specifications document is a vehicle of communication between the educator and the architect.  The educator identifies the educational objectives and suggests general facility needs; the architect bases his/her facility design on this information.  Copies of educational specifications for any new facility shall be submitted to the WVDE and the SBA for review with the Design Development submission.  The SBA educational specification guidelines and the WVDE Policies 6200 and 2510 must be used for all projects regardless of funding sources.

102	SELECTION OF FURNITURE AND EQUIPMENT

102.01		Classroom furniture and equipment should be considered during the initial planning stage and should be selected on the basis of its contribution to, and compatibility with, the total educational program.

102.02		Criteria for selection should include the following:

A.	Appearance

B.	Maintenance

C.	Safety and security

D.	Comfort

E.	Durability

F.	Building Codes

G.	Guarantees

H.	Flexibility

I.	Availability

J.	Cost

103	OCCUPANCY OF NEW EDUCATIONAL FACILITIES

103.01		Prior to occupancy the county maintenance director/staff will train  teachers and other employees of the building, particularly fire escape routes, heating, ventilating and air conditioning systems, communication systems and school access safety procedures.

103.02		No educational facility shall be occupied without prior approval from the WVDE, state and county regulatory agencies, and SBA, when appropriate.

104	FACILITIES PROGRAM CONTROL

104.01		When projects are SBA funded, SBA guidelines regarding administration and project control shall be in effect.  On single county projects, the county board of education maintains control of the construction program.  On new cooperative multi-county projects, a joint building council of individuals from the cooperating counties shall administer the construction project.  This council shall include, but not be limited to: the respective county superintendents, one member from each county Board of Education, the principal of the new facility, if known, and one classroom teacher from each county.  The council shall control each project by:

A.	Authorizing a study of the educational program and subsequently adopting educational policies for implementation;

B.	Authorizing the survey and adopting a building program on the basis of the results thereof;

C.	Establishing site criteria, inaugurating steps to select and purchase sites and authorizing the purchase of sites;

D.	Authorizing the preparation of and approving educational specifications for each building;

E.	Selecting the architect, educational consultant, legal advisor, and other specialists;

F.	Authorizing the preparation of architectural drawings and specifications, approving of preliminary plans, working drawings and specifications and any subsequent change;

G.	Deciding when to proceed with construction, soliciting bids, awarding contracts, and inspecting and accepting the completed building;

H.	Authorizing the expenditure of necessary funds at each stage of the program; and

I.	Designating one county as the fiscal agent to handle the business functions of the building council on inter-county projects.

J.	The counties shall implement a procedure to maintain and store all record drawings, all associated construction documents and operational and maintenance manuals for future references.  The documents for each facility shall be maintained for the duration that the county has ownership of the facility.

Chapter 2

SCHOOL SITE PLANNING

200 	SCHOOL SITE

All school sites provide sufficient space for the school building, future expansion, educational program activities, and support facilities.

201 	SELECTION

201.01		Intelligent and imaginative school site selection and development are significant aspects of educational facility planning.  Because the design and use of the land on which a school is built is fully as important as the design and use of the facility itself, the site’s potential as an educational and community resource must be considered.

201.02		The selection of a site requires the cooperative effort of the county board, school staff, planning committee, architect, and legal consultants.  Since the educational program is of primary concern to the community, consideration should be given to lay membership on a site selection team.

201.03		Resources to be utilized when selecting sites may include: land-use maps, aerial photographs, soil maps, topographic maps, highway maps, flood control maps, neighborhood or school service area maps, pre-school and pupil spot maps, dwelling unit maps, utility service plans, and realtors and developers intentions.

201.04		Factors to be considered in selecting a site may include: number and grade level of students, nature of educational program, initial cost, development cost, availability of utilities, transportation systems, availability of activities, provision for a safe and healthful environment, and the protection of the investment in the building.

202.  LOCATION

202.01		School sites shall be located in proper relationship with existing and proposed physical facilities in the community, including: student population centers, parks, recreation centers, libraries, health centers, streets, highways, residential housing, and other schools.

202.02		Guidelines for school bus routing.

202.021	  For elementary school students- thirty minutes

202.022  For middle school, intermediate junior high school students  - forty-five minutes and

202.023	  For  high school students - sixty minutes

202.03		A county board may not create a new bus route for the transportation of students in any of the grade levels Pre-K through grade five (5) to and from any school included in a school closure, consolidation or new construction project approved after the first day of July, 2008, which exceeds by more than fifteen (15) minutes the recommended duration of the one-way school bus transportation time for elementary students adopted by the WVBE in accordance with subsection 2.1 of this section unless:

202.031	  The county board adopts a separate motion to approve creation of the route and request written permission of the WVBE to create the route; and

202.032  Receives the written permission of the WVBE to create the route.

202.04		A county board may not create a new bus route for the transportation of students in any of the grade levels Pre-K through grade five (5) to and from any school included in a school closure, consolidation or new construction project approved after the first day of July, 2008, which exceeds by more than thirty (30) minutes the recommended duration of the one-way school bus transportation time for elementary students adopted by the WVBE in accordance with subsection 22.1 of this section.

202.05		The WVBE shall provide technical assistance to county boards with the objective of achieving school bus transportation routes for students which are within the recommended time durations established by the WVBE.

202.06		For the safety of students, the site shall be located away from hazards and undesirable environments, such as:

A.	Railroads, arterial highways, heavily traveled streets, traffic and congestion

B.	Noise, toxic gas escapes from railroads, airports, and odoriferous plants or industries

C.	Natural barriers limiting accessibility and expandability, such as rivers, lakes, swamps, and protruding ridges

D.	High voltage transmission lines, booster or reduction stations, high pressure gas lines, and transformer stations

E.	Taverns, fire stations, bulk storage plants for flammable liquid, and property zoned as industrial

F.	Situations where a combination of factors such as those presented above could contribute to the possibility of human entrapment

NOTE:	Building sites must be located above the 100-year flood plain as determined by the U.S. Corp of Engineers.

202.07		Public service facilities, which must be available for a school site include: water, gas, telephone, electricity, sewage disposal, fire protection, and transportation.

203	SIZE

203.01		The size of any school should provide sufficient and appropriate space for all of the in-school and evening activities.

203.02		With the assistance of an architect, trial layouts of the area required for a site should be made and include, but not necessarily be limited to, the following items, with grade level appropriateness considered:

A.	The school building

B.	Reserve for expansion of building

C.	Set back from streets, sidewalks, approaches, and driveways

D.	Parking areas, access, and buffer

E.	Bicycle entrances and storage racks, with proper buffer areas, if appropriate

F.	Landscaping and buffer areas at the side and back of the site

G.	Paved game areas, including space for outdoor basketball and tennis courts

H.	Field game areas for physical education and recreation

I.	Areas for interscholastic athletics (which may overlap with field game areas)

J.	Possible athletic stadium with parking area, access, and buffer

K.	Outdoor area (educational) for nature study, biology, art

L.	Possible driver instruction areas (auto)

M.	Outdoor area adjacent to shops

N.	Unassigned areas held in reserve for future use

203.03		School sites of the following minimum sizes shall be provided:

A.	Early Childhood/Primary Education Program (K-4)

5 usable acres + 1 additional acre for every 100 students over 240 students

B.	Middle Childhood/Junior High Education Program (5-8)

11 usable acres + 1 additional acre for every 100 students over 600 students

C.	Adolescent/High School Education (9-12)

15 usable acres + 1 additional acre for every 100 students over 800 students

D.	Area Career and Technical Schools

10-40 acres

NOTE:		If sewage treatment plants and retention pools are required, acreage would have to be increased.

203.04		Site acreage are national norms and apply to traditional suburban schools.  Where the nature of the neighborhood is urban, the school site shall also be urban in scale.  Where the terrain limits the land available, this factor shall be considered.  One remedial measure would be to locate schools adjacent to parks or recreation facilities.  However, all sites not meeting the minimum standards must be approved by the WVBE.

203.05		For modern schools, a portion of the site should be set aside to meet needs that are bound to arise in the future.  Many schools constructed in the past have become obsolete because they lacked sufficient size to warrant economical rehabilitation or enlargement.  Buying an adequate site is insurance against such educational obsolescence.

204	PHYSICAL FEATURES

204.01		Ordinarily, a school site should not enhance the cost of construction and should permit the architect to place the building in an appropriate place in relation to other facilities to be developed on the site.  The services of an architect, other related specialists, and consultants from the WVDE or the SBA are necessary to judge a site on this criterion.

204.02		A natural elevation with satisfactory approaches avoiding long or difficult climbs makes a desirable setting.  The site should be free from drainage from contiguous land and should permit proper drainage throughout at a reasonable cost.  Positive drainage should characterize the parts of the site, which are expected to serve as recreational and physical education areas.  The soil, preferably a sandy loam, should be fertile enough to produce good lawns and vigorous landscaping growth.

204.03		There are many site factors, which affect cost apart from the purchase price of the land.  The following conditions are to be determined in advance and considered along with the purchase price.

A.	The need for extensive hauling of earth due to a surplus or shortage on the site

B.	The presence of quicksand, deep mines, unsatisfactory fill, pyrites, or other undesirable subsoil conditions which require special footings or pilings to support the building

C.	The presence of rock or other conditions affecting the cost of necessary excavation or ditches

D.	The need for the removal of obstructions, such as large boulders or trees; the need for fillings or capping of old wells, clay holes, pits, or mines

E.	An unduly expensive drainage need

F.	The need for constructing and maintaining long access drives and special installations due to distance from service utilities

G.	A public water system adequate for a fire protection system.

204.04		Approval by the WVDE and SBA will not be granted for construction of a facility on a site lacking municipal water, adequate fire protection, and sewage services without the approval of local or state health agencies.  No water supply can be considered acceptable unless it provides an ample quantity of safe and potable water for the school.

204.05		Local or state health agencies will also provide information regarding the required type and location of a sewage disposal system.

204.06		The subsoil of a site must provide good drainage and a proper base for economical and substantial foundations for the building. Neither purchase of a site by the county board of education nor building design shall be initiated until the subsoil conditions have been determined acceptable for the entire area of the building by adequate test borings or core drilling made under the direction of a registered professional civil engineer.  Soil tests are particularly important for schools that require extensive grading.  Underground investigation shall also include the ownership and presence of mineral rights, mines and wells, and the effect they have on the site development.  The recommendation is made that mineral rights be controlled for long-term protection of surface usage.

204.07		Some adverse site conditions can be overcome by modern construction methods, but they should be accepted only when the costs of such improvements are cost effective.  Many of these conditions are not readily seen at the surface.  Before the land is purchased, test borings should be made to accurately determine subsoil conditions and the results should be analyzed and interpreted for the board by a registered professional civil engineer.

NOTE:		County boards of education and county superintendents may secure soil information from the United States Department of Agriculture, Soil Conservation Service, Morgantown, West Virginia.  This service is provided without cost and could save thousands of dollars by assisting in properly locating schools.  Soils are rated by various information; the contracting organization can require certain specifications that prevent problems due to soil limitations.

204.08		Sites should be of such shape and contour as to yield reasonable space for the setting of the building and for drives, walks, play, and athletic fields. The contour of a site should be slightly convex to allow placement of the building at the high point.  This situation rarely occurs naturally and some earthwork to develop this land form will be necessary on almost every site.

204.09		Cost for excavating and foundation walls can be reduced by fitting the building to the contours of the land.  Extra expense for special footings and special drainage can be eliminated by placing the building on high ground and where subsoil conditions are known to be favorable.  Proper placement of the building will reduce the length of utility and drainage lines, drives and walks, thus reducing costs.

205	RECREATIONAL AREAS

All schools housing early childhood education programs contain an adequate blacktopped play area and a field game area large enough to accommodate physical education activities.  All centers housing kindergarten programs contain a segregated blacktopped area and a large grassy area with climbing equipment and swings.  The playground may be segregated by either time or space allocation. The playground must meet the standards of the Handbook of Playground Safety and be ADA compliant.  All middle, junior high, and high school sites contain a blacktopped play area with a minimum size of 4800 ft2 and a field game area, space and/or facilities large enough to accommodate physical education activities such as soccer, touch football, softball, tennis, and track.

205.01		The following represent the typical recreational spaces for new school site selection and planning.

1.	Early Childhood - All schools housing early childhood education programs shall contain an adequate paved play area and a playfield / game area large enough to accommodate physical education activities.

2. 	Kindergarten - All centers housing kindergarten programs shall provide a segregated paved area and an area with climbing equipment and swings. The playground may be segregated by either time or space allocation. The playground must meet the standards of the Handbook of Playground Safety of the Access Safety Council and be ADA compliant.

3.	Elementary - All school sites intended to house elementary grades shall provide ample space for the following recreational / physical education activity areas:

a.	a paved play area with a minimum size of 4,800 square feet

b.	an area large enough to accommodate at least one recreational play structure which offers opportunities for physical activities such as climbing or swinging. The playground must meet the standards of the Handbook for Playground Safety and be ADA compliant.

c.	playfield(s) sized in accordance with the intended curriculum or activity (see section 2005.02) Junior High / Middle -  All school sites intended to house junior high / middle school grades shall provide ample space for the following recreational / physical education areas:

i.	a paved play area with a minimum size of 4,800 square feet

ii.	playfield(s)/courts sized in accordance with the intended curriculum, activities, or sports (see section 2005.02)

4.	High School -  All school sites intended to house high school grades shall provide ample space for the following recreational / physical education areas:

a.	a paved play area with a minimum size of 9,600 square feet

b.	playfield(s)/courts sized in accordance with the intended curriculum, activities, or sports (see section 2005.02)

205.02		Field and Court Dimensions - The following are sizes of sport / recreation fields and courts most often included on school sites. The sizes listed below are for planning purposes only, and should not be used for final site design (Consultation with a site planner, civil engineer, or architect is encouraged). Unless otherwise noted, these field and court dimensions refer to the actual playing field or court dimension without regard to:

- required out-of-bounds areas, if any;

- buffer space between activity areas;

- space for spectator seating and movement;

- space for support buildings, and;

- space for site grading and drainage

Additional information which may be required as to field and court sizes should be obtained from the WV Secondary Schools Activities Commission.

Field and Court Dimensions

Activity	Primary			Junior High/Middle	High School

Baseball	200' x 200'			300' x 300'	350' x 350'

Basketball	  40' x 60'			  	50' x 84'	50' x 94'

Football										160' x 360'

(includes generic physical education fields and band practice areas)

Field Hockey								180' x 300'

Lacrosse								180' x 330'

Softball, Fast Pitch								235' x 235'

Soccer									165' x 360'

Beach Volleyball								8m x 16m

(26'-3" x 52'-6")

Tennis									36' x 78'

(Fenced area is typically 60' x 120')

Running Track								Approx 300' x 600'

206	 WALKS, DRIVES, AND PARKING

All walks, drives, and parking areas are paved.  Parking space is adequate to accommodate school visitors, employees, students who must drive, school buses, and school activities.  Parking space is provided for individuals with disabilities, and the site is accessible to individuals with disabilities.  The bus loading zone is designed to accommodate safely all buses anticipated at one time and is separated from all traffic using school parking and driveway areas and meets the standards set forth by the The Highway Safety Program Guideline 17.  The exterior area is appropriately lighted as per IES lighting standards.

206.01		Walks should be direct, convenient, and natural to encourage people to stay on them.  They should connect the building with streets or highways, the bus loading zone, parking areas, and auxiliary school facilities.  Limiting points of access is desirable for control of traffic.  Main walks, such as loading areas, and main entrances should be constructed with initial building program.  Additional walks should be constructed after traffic patterns have been established.

206.02		Walks should be paved in lanes to meet ADA standards with a minimum of three lanes.

206.03		Walks should be far enough from building to permit ample space for shrubbery crowned or sloped high enough for proper drainage, and illuminated per IES standards for night use.  Wide paved areas at entrances will help keep the building clean by catching dirt before it gets inside, a good slope will make this area easier to keep clean.  They shall have a gradient of not more than five percent.  Walks should be of a continuing common surface where practical and should not be interrupted by steps or abrupt changes in level.  Walks, driveways, or parking lots should blend to a common level.

206.04		Safety is a primary consideration in locating vehicular circulation on the school site.  Secondary considerations are economy, convenience, and directness.  Driveways should be:

A.	One way with clear views.  Two lanes should be provided to main loading entrance and parking areas.

B.	Hard surfaced, properly drained, and illuminated per IES standards for night use.

C.	Planned to provide access and control traffic to loading areas and building service entrances.  Wherever practical, driveways for buses should be separate.

D.	Located so as not to connect to a heavily traveled highway if a lightly traveled street is accessible.  Points of access to the site should be limited.

E.	Of adequate space to insure that carbon monoxide does not accumulate in idling vehicles or school buses.

F.	Every educational facility not readily accessible from public roads shall be provided with suitable gates, access roads, and fire lanes so that all buildings are accessible to fire apparatus.  Fire lanes shall be at least 20 feet in width, with the road edge closest to the building at least 10 feet from the buildings.  Any dead-end road shall be provided with a turn-around at the closed end at least 90 feet in diameter.

G.	Location is coordinated with the facility mechanical systems to prevent exhaust fumes from entering the facility through air intakes.

206.05		Parking spaces can be provided at the rate of about 125 cars per acre.  The following quantities are suggested as reasonable:

A.	For staff: 1 parking space per staff member including itinerants.

B.	For students: Approximately 1/3 or more of the pupil population at the adolescent/high school level and space provided as necessary.

C.	For visitors:  an additional 10 to 20% of total staff parking

D.	A percentage must be labeled for individuals with disabilities only as per ADA requirements.

206.06		Consideration should be given to the following parking arrangements:

A.	Car parking should be arranged to minimize backing.  Parking areas should be hard surfaced, well drained, and illuminated per IES standards for night use.  Traffic control signs will be necessary.

B.	Car parking should not be permitted on streets with street traffic, on pedestrian lanes, or on driveways or loading areas.  It should be away from playgrounds but near spectator areas when practical.

C.	Parking for individuals with disabilities must in accordance with ADA requirements.

206.07		A designated bus loading zone shall be provided to accommodate all buses anticipated at one time.  This shall be based on:

A.	A transportation survey covering bus schedules, partial unloading or transfer of students, provision for students with exceptionalities, and parking.

B.	Number of students transported, based on the average number of students per bus or rated capacity of the bus.

C.	Future growth or possible changes in the transportation pattern.

D.	A designated restricted loading and unloading area is required according to Federal Highway Safety Standards 17.

206.08		The bus parking area should be designed in connection with the bus loading zone, independent of driveways, so that backing the vehicle is unnecessary.  It should be permanently surfaced and well drained, with designated spaces and traffic control signs.

206.09		Bicycle racks near the building are desirable for some schools.  A survey to determine the need should indicate the rack space necessary.

207 	FIRE PROTECTION

207.01		As per NFPA 101 Life Safety Code and the West Virginia Fire Code, all school facilities shall have fire hydrants at recommended locations to achieve the best fire insurance assessment.  Coordinate the type of hydrant required with the local fire department.

208	 SAFETY AND CLEANLINESS

208.01		The principles of safe design and Crime Prevention Through Environmental Design (CPTED) should be considered when new schools are designed and existing schools experience major renovations.

208.02		All school buildings and grounds shall be kept clean and free from debris and safety hazards.

209 	BEAUTIFICATION

209.01		The site should lend itself readily to landscaping and provide a pleasant natural environment.  It should permit the location of the building an adequate distance from the street line, both for aesthetic setting and for the safety of children.

209.02		The site plan presented by the architect should encompass the total site and show future developments.  The same general procedures used for planning the building are appropriate for outdoor facilities.  The process of educational planning, writing educational specifications, and architectural designing are as applicable to sites as to buildings.

209.03		Well planned site plantings for individual schools should be prepared with the assistance of qualified personnel, such as landscape architects and nurserymen.  (There are personnel at West Virginia University and the U.S. Soil Conservation Service who will assist in planning for site beautification.)

209.04		The  school site plan shall not  be considered adequate without an accompanying planting and plant maintenance plan.  The site design should consider the harmonious visual integration of the varied plantings with the mass of buildings from all points of view and in accordance with School Access Safety Plans.

209.05		The classes of plants usually used on school grounds are: shade trees, evergreens, evergreen shrubs, deciduous flowering shrubs, and ground covers such as grasses.  In general, a school ground planting scheme will consist of foundation planting, intersection planting of shrubs at angles and curves of drives and walks, tall trees to frame the building, and trees planted in groves for shade.

209.06		The choice of plants should be limited to the following varieties:

A.	Require minimum maintenance

B.	Known to be sturdy

C.	Thrive in recreational areas

D.	Tolerate normal amounts of dry weather

209.07		Save all usable existing topsoil on the site.  It can be replaced only at great expense.  An analysis of the topsoil should be made to determine plant food requirements for the plantings provided.

209.08		As per guidelines set forth by the American Standards of Landscape Architects, retain and protect as many existing trees as possible to be absorbed in the total plan.  If all the planting cannot be done at once, shade or larger trees should be planted first.  Locate trees in relation to the building so as to shield classrooms from brightness of the sky, reflected snow glare, glare from adjacent buildings, provide shade, and shield from noise e.g. traffic.  Serious consideration of security and life safety issues should be addressed.

209.09		Each school site should have a master plan for plantings approved by the county board of education.  Plantings provided by citizens and/or students should be in accordance with the approved plan and should be sanctioned by the board of education prior to the expenditure of money for such plantings.

Chapter 3

COMMON FACILITIES

300 	FACILITIES NECESSARY FOR THE OPERATION OF ALL SCHOOLS

All schools contain the instructional and auxiliary facilities, which are necessary to maintain the educational program and accommodate the out-of-classroom needs of both students and staff.  The design possibilities for such spaces have increased with the emergence of diverse concepts in school design, increased use of non-printed media, expanded awareness of student/teacher human needs, recognition of the school as a community resource, and improved technology.  The planning of auxiliary spaces must involve careful consideration of the future adequacy of the spaces for while additional classrooms can be appended with some ease, the expansion of auxiliary spaces can seldom be accomplished easily after completion of initial construction.  Thus, when auxiliary facilities become obsolete and inefficient, the usefulness of the entire facility may be diminished.

In the planning and design of new school facilities, designers should always strive to attain maximum effectiveness and efficiencies and enhance life safety and security by looking at multi-use spaces and shared facilities in both the instructional and auxiliary areas.

301	 ACCESSIBILITY

All school buildings must be designed in compliance with the Americans with Disabilities Act (ADA).  All schools must be designed, constructed, maintained, and equipped to provide a barrier-free environment and maximum accessibility for all staff and students to all floors.  All facilities must in compliance with the requirements of state and federal regulatory agencies concerned with accessibility.

300.01		Additional Accessibility Factors

301.011	Additional factors required to conform to Uniform   Federal Accessibility Standards are:

A. 	Accessibility ramps and doorways that are ADA compliant

B.	Safe area for loading and unloading of buses and other means of transportation

C.	Restrooms, drinking fountains, and lavatories that are appropriately equipped and ADA compliant

D.	Special furniture for students with orthopedic, mobility, or other physical challenges to permit easy use

E.	Switches, controls, hardware, and fire protection systems that are easily used and understood by the student

F.	Food service facilities designed to meet the individual needs of students

G.	Non-skid floor covering or carpet, which is mold and microbial resistant

H.	Lockable cabinets for securing medications

I.	Appropriate ceiling tile, which is mold and microbial resistant

302 	TECHNOLOGY

All school buildings providing pre-Kindergarten through career and technical adult education programs must provide adequate access to instructional and administrative technology.  (for HVAC requirements in the designated areas, refer to Section 1108.08 C 27)

302.01		Teacher Technology Tools

301.011	Teacher Work Station

Technology tools for the teacher work station should include the following.

A.	Desktop or notebook computer with optional docking station including the following.

Industry supported operating system

1.	Office suite package (Microsoft Office preferred)

2.	Network connection (wired or wireless)

3.	Internet access

4.	Digital video disc (DVD) drive

5.	Antivirus protection

6.	Speakers

B. 	Data projector or large screen monitor (50” or greater)

C. 	Interactive whiteboard and/or mobile interactive presenter

D. 	Document camera

E. 	Printer access in classroom

F. 	Telephone access in classroom

302.02		Student Technology Tools

302.021	Student to Computer Ratio

A.	Student to computer ratio should be one computer for every five students in grades K-8 (school wide)

B.	Student to computer ratio should be one computer for every three students in grades 9-12 (school wide)

302.022	Student Access

Student access to technology tools should include the following.

A. 	Desktop or notebook computer with

1.	Student to computer ratio

2.	Industry supported operating system

3. 	Office suite package (Microsoft Office preferred)

4. 	Network connection (wired or wireless)

5. 	Internet access

6. 	DVD drive

7.	Antivirus protection

8.	Headphones (optional)

B.	Printer access in classroom

302.03 		Computer Lab (Mobile or Stationary)

The computer lab (mobile or stationary) should include the following.

302.031 	Computer Lab Student to Computer Ratio

Student to computer ratio for a mobile or stationary computer lab should be one computer for each student calculated for largest class size in school.

302.032 	Computer Lab Technology Tools

Teacher/student access to technology tools for mobile or stationary computer labs should include the following.

A.	Desktop or notebook computer including the following.

1.	Industry supported operating system

2.	Office suite package (Microsoft Office preferred)

3.	Network connection (wired or wireless)

4.	Internet access

5.	DVD drive

6.	Antivirus protection

B.	Data projector or large screen monitor (50” or greater)

C.	Interactive whiteboard and/or mobile interactive presenter

D.	Document camera

E.	Headphones (optional)

F.	Printer access in lab

302.04	Administrative/Office Technology Tools

Technology tools for administrative/office areas should include the following.

302.041	Computer

Administrative and instructional office areas should be equipped with a desktop or notebook computer with optional docking station including the following.

A.	Industry Supported Operating System

B.	Office Suite Package (Microsoft Office preferred)

C.	Network connection (wired or wireless)

D.	Internet access

E.	DVD drive

F.	Antivirus protection

G.	Speakers

302.042	 Printer access

302.043 Telephone access

302.05	Technology Tools for Cafeteria/Multipurpose Room/Gymnasium

Cafeterias, multipurpose rooms and gymnasiums should be equipped with the following technology access/tools.

302.051	 Network connection (wired or wireless)

302.052	 Internet access

302.053	 Data projector or large screen monitor (50” or greater)

302.054	 Projection screen

302.055	 Sound system

302.06	Conference Area/Teacher Planning Area Technology Tools

Conference areas/teachers planning areas should be equipped with the following technology access.

302.061 Network connection (wired or wireless)

302.062	 Internet access

302.063	 Telephone access

302.07		Local Area Network (LAN) Infrastructure

302.071 LAN Standards

LAN standards for administrative and instructional data include:

A.	The network infrastructure for data shall adhere to all applicable EIA/TIA standards.

B.	The network infrastructure for data shall adhere to all applicable IEEE standards.

C.	The network infrastructure for data shall adhere to all applicable state and local codes.

D.	Terminations shall be made in accordance with EIA/TIA Standard T568B.

302.072 Distribution Frame

A distribution frame for data infrastructure shall be established on every floor. Every effort should be made to locate distribution frames in non-instructional areas.  Any frame installed in an instructional area shall be enclosed.

302.073	 Switching

The data infrastructure shall provide a minimum of 100MB Ethernet Layer II Switching to all Local Area Network (LAN) drops.  1GB Ethernet Layer III Switching should be utilized for Local Area Network drops.

302.074	 Cabling

A.	A minimum of CAT5e Plenum rated cabling, rated and tested at 350Mhz, shall be utilized for all data infrastructure.  CAT6 Plenum rated cabling, rated at 350Mhz should be utilized for all data infrastructure.

B.	Fiber optic cabling shall be utilized for all backbone cabling between distribution frames and for any connections between buildings, unless secured wireless is used.

C.	All cabling should be

1.	Installed below the ceiling in instructional areas, except for patch cables, shall be enclosed within the wall or protected within conduit and/or panduit.

2.	Installed below the ceiling in non instructional areas, except for patch cables and should be enclosed within the wall or protected within conduit and/or Panduit.

3.	Uniform and accurately and clearly labeled, including wiring closets, network electronics, and LAN drops.

4.	Tested and certified with printed results provided to the school district.

D.	A detailed schematic design of the cabling infrastructure should be provided to the school district upon completion.

302.08		Wireless Infrastructure

302.081	All wireless implementations shall be secured with encryption.

302.082	All wireless access points shall be commercial quality with encryption enabled.

302.09		Communications Devices

302.091	Adequate facility space to house LAN and wide area network

(WAN) communications devices must include appropriate electrical access, climate conditions, and security.  Refer to Electronic Industries Alliance/Telecommunications Industry Association (EIA/TIA standards.

302.10		Building Automation Communications Requirements

302.101	Provide LAN interface at the school dedicated for global interface and additional interface for each work station dedicated for Building Automation user interface

302.102	Provide functionality of WAN interfacing the facilities in the county that would be monitored or controlled by the building automation system

302.103	The “West Virginia Education Broadband Subcommittee: Recommendations to Improve the Education of All Children” report recommends:

A.	High schools or any facility with a student population of over 500 will have a minimum committed information rate (CIR) of 10 megabits per second (Mbps) access into the school by 2011.

B.	Middle and junior high schools or any facility with a student population between 200 and 500 will have a minimum CIR of 4.5 Mbps access into the school by 2011.

C.	Elementary schools will have a minimum CIR of 1 Mbps access into the school by 2011.

D.	All high schools will have campus wide wireless access by 2011.

303	ADMINISTRATIVE AND SERVICE FACILITIES

All schools provide the administrative offices necessary for the operation of the school.  The school contains a guidance area designed and located to allow privacy, with an entrance separate from the administrative suite.  The guidance office is of adequate size to allow for group discussions and is convenient to student records.  The guidance office contains adequate secured storage facilities, outside telephone service, and an information display area.  The school also contains a health service area, which includes an examination room, restroom facilities, and an area for the ill.  The health area is equipped to facilitate the operation of its users and contains outside telephone service.  Appropriately equipped areas within the administrative suite are available for supplies and book storage, secure area for test booklets, duplicating and/or other activities, conferences and/or small group discussions, staff lounge, and student and teacher restrooms.  A control room, within or adjacent to the administrative suite, is provided to house the communication systems.  Factors influencing the location of administrative facilities include: Proximity to the main entrance of the school, convenient access to the instructional areas of the building, insulation from outside noises, and convenient access to the special service facilities. The entrance of the school, reception and waiting areas must adhere to school access safety guidelines.

303.01		General Office and Reception/Waiting Area

303.011	Size

Dependent upon initial enrollment, type of school, and ultimate enrollment of the school, 200 to 800 square feet will likely be needed for secretarial and reception areas.

303.012	Location

A.	At the hub of the administrative suite

B.	Direct access to a building corridor and to work room

C.	Direct or convenient access to offices of the principal and assistant principal and other rooms in the administrative suite

D.	Location should provide convenient access to the special service facilities

E.	Near main entrance to facility

303.013	Activities

Reception of school visitors, students and staff, general secretarial activities required in the operation of the school.

303.014	Equipment Space and Facilities

See Chapter 3, Section 302.4, and the following requirements.

A.	Counter separating reception-waiting room or area from the secretarial work area

B.	Comfortable chairs in reception area

C.	Small table for magazines and other literature

D.	Display space and bulletin board

E.	Mail boxes for faculty members, located for easy access without interference with main office traffic

F.	Secretarial furniture

G.	Fire-safe record file or vault

H.	Master telephone station or other communication to all locations in the administrative and special service areas

I.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant.

J.	Fire alarm control panel

303.02		Principal’s Office

303.021	Size - 125 to 200 Square Feet

303.022	Location

A.	Direct or convenient access to general office

B.	Convenient access to the corridor without going through the general office

C.	Convenient access to other areas in the administrative suite

303.023	Activities

Planning, research, and administrative activities conducted individually or in small groups.

303.024	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Room design should permit the principal to confer without being overheard or seen from adjacent areas

B.	Conference desk and chair

C.	Work table convenient to desk for layout work

D.	Conference chairs

E.	Shelving

F.	Storage for personal belongings

G.	Telephone service and intercom

303.03		Assistant Principal’s Office - Optional

School enrollment will determine the size of the Assistant Principal’s office.

303.031	Size - 125 to 200 square feet

303.032	Location

Convenient access to general office and principal’s office

303.033	Activities

Planning, research, and administrative activities conducted individually or in small groups.

303.034	Equipment Space and Facilities

See Chapter 3, Section 302.4, and the following requirements.

A.	Room design should permit the assistant principal to confer without being overheard or seen from adjacent areas

B.	Conference desk and chair

C.	Work table convenient to desk for layout work

D.	Conference chairs

E.	Shelving

F.	Storage for personal belongings

G.	Telephone service and intercom

303.035	General Office - Teachers’ Work Room

303.036	Size - 150 to 250 square feet

303.037	Location

Direct access to the general office and waiting room

303.038	Activities

Preparation of testing materials, reports and layouts of instructional materials by both secretarial and teaching personnel

303.039	Equipment Space and Facilities

See Chapter 3, Section 302.06, and the following requirements.

A.	Combination of open shelving and closed cabinets for storage of a variety of supplies and equipment

B.	Duplicating machine/copier

C.	Calculator

D.	Work table or counter

E.	Lavatory

F.	Mechanical ventilation

303.04		Teacher Planning Space - Optional

Teacher planning spaces are provided to increase classroom space utilization and to provide space for individual and team planning.  The incorporation of teacher planning spaces should reduce the number of classrooms required.

303.041	Size - 50 to 75 square feet per planning area

303.042	Location

Convenient access to the instructional spaces for departmentalized program offerings

303.043	Activities

Planning and maintaining of records for teachers.  Individualized or shared study/work space.

303.044	Equipment

See Chapter 3, Section 302.06, and the following requirements.

A.	Desk

B.	Lockable filing cabinets

C.	Lockable personal storage units

D.	Other equipment as selected

303.05		Supply and Book Storage Room

303.051	Size - 100 to 400 square feet

303.052	Location

A.	Convenient access to the general office

B.	Direct opening to corridor to permit distribution of books and supplies

303.053	Activities

Storage and distribution of instructional materials and supplies, including books, paper, notebooks, erasers and pencils

303.054	Equipment Space and Facilities

A.	Cabinets and shelving for books and other school supplies and materials

B.	Desk and chair

C.	Work counter or table space

D.	Filing space

E.	Secure area for test booklets

303.06		Record Vault – Optional

NOTE:	Vault may be eliminated by providing fire-resistant filing cabinets in the general office or other storage area

303.061	Size - 50 to 75 square feet

303.062	Location

Direct or convenient access from the general office and to guidance and health areas.

303.063	Activities

Storage of current and inactive pupil records.

303.064	Equipment Space and Facilities

A.	New construction should be fire-resistant.  The perimeter walls shall be masonry and extend to the ceiling deck for security purposes.

B.	Cart storage units are preferable for current pupil records

303.07		Conference Room

303.071	Size - 150 to 300 square feet

303.072	Location

A.	Convenient access to general office, principal’s office, counselors’ offices, and the public-address system control room

B.	Design and location should permit groups to confer without being overheard or seen from adjacent rooms.

303.073	Activities

Conference room will be used for conferences involving 5 to 12 people and for program broadcasts to instructional areas.

303.074	Equipment Space and Facilities

See Chapter 3 Section 302.06, and the following requirements.

A.	Conference table and chairs

B.	Instructional board

C.	Bulletin board

303.08		Public Address System Control Room

303.081	Size - 50 to 75 square feet

303.082	Location

A.	Adjacent to conference room

B.	Convenient access to general office and principal’s office

303.083	Activities

Distribution of information and educational programs within the school.

303.084	Equipment Space and Facilities

A.	Adequate sound and electrical outlets in conferences and control room

B.	Public address control system panel with orientation toward conference rooms

C.	Storage facilities for audio supplies and equipment such as records, tape recordings, sound effects, microphone stands, and similar equipment

NOTE:	The following facilities should be closely related to the administrative facilities for internal communication purposes, such as sharing pupil records and using conference room facilities; however, separate entrances and waiting areas may be provided.

303.09		Counselors’ Office

303.091	Size - 100 to 125 square feet per counselor

303.092	Location

A.	Direct access from reception area and convenient access to conference room and general office in the administrative suite

B.	Design and location should permit conferences without being seen or overheard in the adjacent areas

C.	Easy access to student records

303.093	Activities

Individual and group guidance, counseling, and conferences with students, parents, and teachers.

303.094	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Desk and chair

B.	Conference chairs

C.	Shelving

D.	Bulletin board

E.	Storage for personal belongings

F.	Telephone communications with general office and intercom; require private telephone line or lines to the counselor’s office

G.	File cabinet with lock for each counselor

NOTE:	Separate waiting and storage rooms are desirable.

303.095	Professional Support Staff

See Chapter 7, Section 706

303.10		Health Service Unit

303.101	Size

250 to 400 square feet.

303.102	Location

Direct access from waiting area and from building corridor to permit traffic to pass through the area for various screening tests.  Adjacent to general office for access to student records.

303.103	Activities

Examinations by nurses, doctors, dental hygienists, administration of first aid, and conferences with students, parents, and teachers.

303.104	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Small room or curtained area with cots for each sex, to permit rest and isolation in case of illness

B.	Bulletin board

C.	Restroom, lavatory, and toilet conforming to requirements for individuals with

D.	Scales, medicine chest, refrigerator with locked storage area, mirror, clock, and first aid kit

E.	Storage for bed linens

F.	Storage closet for nurses’ personal belongings (locked)

G.	Work counter with sink

H.	Lockable file cabinet

I.	Desk and chair

J.	Conference chairs

K.	Locked medication box

303.11	School Based Health Center (Optional)Heating and ventilation systems, telephone and electrical wiring  should serve the health center independently from the rest of the school.

303.111	Size  -- 1,500 to 2,000 square feet per 700 students

Some spaces may be shared by two or more health care providers and certain functions may require more than one space.

303.112	Location

Adjacent to public parking with prominent entrance with outdoor lighting for night use.  Easy access for emergency vehicles.  Easily closed off from the rest of the school without  affecting external access to the health center or internal access to restrooms or administrative supplies.

303.113	Activities

A.	Well child and sick child visits.

B.	Dental and mental health care services.

C.	Screening, diagnostic testing, treatment, and health counseling services.

D.	Referrals and links with community providers.

E.	Heath promotion and injury and disease prevention education.

303.114	Space and Facilities

A.	Resting area / infirmary (100-200 square feet)

B.	Private office space (60-120 square feet each)

C.	Secure storage area

i.	General storage (50-100 square feet)

ii.	Record storage (50-75 square feet)

D.	Private examination and treatment room(s) (80-100 square feet each)

E.	There should be a minimum of one examination room per full time provider.  Each room should have a sink with hot and cold water and storage space for first-aid and examination supplies.  Consideration should be given to the appropriate number of electrical outlets.

F.	Utility area(s)

G.	Laboratory (80-150 square feet)

H.	Should have multiple electrical outlets, bright and directed light and easy access to a refrigerator and ice maker.

I.	Waiting area/reception (75-200 square feet)

J.	Conference room (120-200 square feet)

K.	Restrooms (50-120 square feet)

303.12		Reception Room - For Larger Facilities

303.121	Size as appropriate for school size

303.122	Location

Direct access to counselor offices, health unit, professional support staff, and directly adjacent to primary building entrance and visually obvious to an unfamiliar visitor entering the building.

303.123	Activities

Reception of and browsing by students and parents

303.124	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Secretarial desk and chair

B.	Typewriter/computer and stand

C.	Comfortable chairs

D.	Shelving for books, magazines, and variety of occupational information and college bulletins

E.	Filing cabinet for occupational information not displayed on racks

F.	Telephone to general office and outside

303.13		Teachers’ Lounge

303.131	Size - According to Faculty Number

303.132	Location

A.	Direct access from a building corridor

B.	Location avoiding major pupil traffic, yet reasonably close to the administrative area

C.	Restrooms should not have direct opening into the lounge area

303.133	Equipment Space and Facilities

See Chapter 3, Section 302.06, and the following requirements.

A.	Comfortable lounge furniture

B.	Kitchenette to prepare light refreshments (optional)

C.	Restrooms - facilities must conform to ADA standards

304	FOOD SERVICE FACILITIES

The food service facility is critical to meeting the education, nutrition, and health goals of the school nutrition program.  Expanded nutrition standards, advances in technology and production techniques, as well as changes in student expectations impact facility design and equipment decisions.  Federal program regulations and state policies recognize the importance of nutrition to students’ health and performance by requiring a greater variety of food choices, including fresh vegetables, fruits, and grain-based foods.

To encourage participation in school nutrition programs, students need easy access to quality meals, including time and space to make food choices and practice healthy eating behaviors.  Facilities that offer inviting dining and serving environments help to provide these opportunities and shape healthy habits.

High quality nutritious meals must be prepared in a cost effective manner.  Well designed and equipped facilities improve efficiency and reduce operating costs.   They further help to ensure that production techniques meet stringent standards of food safety.

304.01		General Design

304.011	Location

A.	Kitchen and dining area located on ground level with direct access from outside for deliveries and disposal

B.	Convenient student access to food service area from other areas of the building

C.	Size and design of food production, serving, and dining areas appropriate for student population (Refer to Area Guidelines.)

D.	Food service area designed for efficient food flow and food safety (HACCP): receiving area adjacent to loading dock and near storage area; production area adjacent to storage and serving; serving and production adjacent to ware washing; and waste disposal areas adjacent to production

E.	Meal serving and dining areas located away from vending machines and all other food sales/outlets to which students have access during meal service periods

304.012	Walls, Floors, and Surfaces

A.	Finished surfaces including walls and ceilings composed of durable, smooth, nonabsorbent, and easily cleaned materials

B.	Flooring composed of resilient non-porous material, resistant to skidding, grease, and chemicals

C.	Level floor throughout food service facility (free of steps or other uneven surfaces)

304.013	Acoustics

A.	Walls, ceilings, floor materials constructed of sound-dampening materials to meet recommended sound levels in accordance with ASA guidelines

B.	Equipment and chairs with noise resisting glides

C.	Food service areas acoustically separated from quiet areas of the building

304.014	Electrical

A.	Separate electrical panel for kitchen area

B.	Fixtures or bulbs mounted flush with the ceiling, with easily removable safety covers

C.	Lock plugs for refrigeration equipment, e.g., milk coolers, ice cream cabinets, to prevent disconnections

D.	Emergency lighting, particularly in areas without windows

E.	Fire safety and fire suppression systems to comply with OSHA, NFPA, and all fire and building codes

F.	Electronic security systems on doors and equipment to protect against unauthorized access and theft

G.	Acceptable levels of lighting; 35 foot candles on equipment, 50-75 in work surfaces, food displays, point of service, ware washing and serving areas, 80-100 in the office area, 20-35 in storeroom, and 40-50 in dining room

H.	Spare circuits for future needs

304.015	Air Quality

A.	Separate climate controls in dining room and kitchen areas

B.	Filters with a minimum ASHRAE dust spot efficiency of 25% (MERV 7) are desirable in HVAC supply systems.

C.	Temperature maintained between 72°-76°F, relative humidity meets ASHRAE guidelines in kitchen; in dry storage areas, temperature between 50°-70°F.

D.	Air temperature measuring devices meet 1999 Food Code standards (4.203.12), accurate within 1.5°C

E.	Ventilation systems exchange clean air for heat-, odor-, smoke-, steam- and/or grease-laden vapors at rates of (a) 12-20 times/hour in kitchen areas, and (b) 4-5 times/hour in dry storage areas

F.	Ventilation hoods/canopies with removable filters installed over cooking and dishwashing equipment to prevent condensation and grease collection

G.	An AC powered audible and visual alarm for excessive carbon monoxide detection will be provided where combustible gases are used.

304.02		Facilities

304.021	Kitchen

A.	Space Requirements

1.	Adequate space to meet food production needs and meal service types

2.	Kitchen aisle widths measure 4 to6 feet to accommodate carts and personnel

B.	Equipment

1.	Equipment selection based on number of meals, food preparation needs (school-made foods, processed products, self-serve food bars, menu choices), number of lunch periods, and available labor

2.	Water source and floor drains/troughs installed for cookery as required for equipment, e.g., vertical cutter mixer, steam jacketed kettle

3.	Three-compartment sink for manual dishwashing

4.	Fire suppression equipment interconnected to grills and other top-of-stove equipment

5.	Automatic and manual shut off for fire suppression on ventilator and cooking equipment

6.	Reheating and serving equipment available in facilities to which meals are shuttled from a central kitchen

7.	Food transport equipment, which maintains proper food temperatures in accordance with Food Code requirements

304.022	Dining and Serving

A.	Location

1.	Flow of traffic leaving the dining area passes close to dishwashing and trash disposal areas

2.	Serving area entrance convenient to the entrance of the dining area

3.	Location and arrangement provides access to students with disabilities in the least restrictive manner

B.	Space Requirements

1.	Sufficient area for equipment and seating plus circulation and aisles  (Space recommended for the dining area is 8-14 square feet per student)

2.	Dining area that seats more than 500 students divided into smaller rooms or equipped with room dividers

3.	Aisles allow space for two-way traffic of students carrying trays, i.e., a minimum of 6'4" with 8' preferred

C.	Equipment

1.	Provide a hand washing/sanitizing station for use prior to the serving lines

2.	Tables, seating and serving equipment ergonomically designed and proportional for age/grade levels

3.	Furnishings optimize seating capacity while enhancing the dining environment

4.	Seating based upon approximately one-half the average daily lunches served, with 10-14 square feet of floor area per meal (student) during each serving period

5.	Bulletin boards or display areas

6.	Types and arrangement of serving equipment to accommodate meal options (counter vs. self service, single vs. multiple food choices or lines), and number of persons served per meal period

7.	Serving equipment maintains food in a safe condition, e.g., heated servers (steam tables, heat lamps), refrigerated servers, and sneeze guards

8.	Tray rails in front of serving line

9.	Warming and refrigeration units located near the serving line

10.	Serving area equipped with sources of power, water and facilities for drainage

11.	Drinking water facility accessible to students during meal service

304.023	Ware washing

A.	Ware washing equipment adequate for number and types of meals served per meal period

B.	Ware washing water temperature meets 1999 Food Code standards

C.	Ware washing area located in separate walled area, with adequate ventilation

D.	Hand sink convenient to ware washing area

304.024	Storage Areas

A.	Location

1.	Adjacent to kitchen and receiving area

B.	Space Requirements

1.	Adequate space based on:

a.	Number of meals (allow one-half square foot per daily meals served)

b.	Frequency of deliveries

c.	USDA Donated Foods (allow for 8-10 weeks supply)

d.	Types of planned menu items (prepared versus school-made products, canned versus fresh and/or frozen (Refer to Area Guidelines.)

2.	Additional storage for disaster preparedness

C.	Floors, Walls, and Doors

1.	Quality flooring, slip-resistant, durable construction adequate to bear the weight of loaded pallets (600 pounds/square inch)

2.	Exterior and interior walls and sub-floors vapor sealed below ground

3.	Self-closing heavy duty doors with a minimum width of 42 inches secured from the outside (separate from school’s master key system)

D.	Dry Storage

1.	Adequate, secured dry storage area  (Refer to Area Guidelines)

2.	Easy-to-read wall thermometer mounted at eye level and away from airflows

3.	Free of non-insulated/unsheathed water, steam, and sewer lines

4.	Adequate, adjustable heavy metal shelves (3-5 foot with 3 or 4 tiers per section, 18-24 inches deep and 6 inches above the floor)

5.	Separate storage room or cabinet for storage of cleaning supplies

E.	Refrigerated Storage

1.	Refrigerator space for a 15-day supply of food to store USDA Donated Foods, in addition to purchased foods and leftovers (Refer to Area Guidelines.)

2.	Freezer space based on a 30-day food supply

3.	Walk-in freezer and refrigerator units recommended in schools serving 250 or more meals per day

4.	Walk-in units placed below floor level or set on spacers to provide at least 3 inches of insulation below the refrigeration unit

5.	Skid resistant flooring in walk-in units that is level with the kitchen’s floor and capable to withstand 600 pounds per square foot

6.	Secured safety doors that open from the inside on all units

7.	Well lighted interior for all units

8.	Condensate drain line on the outside of cooler units

9.	Aisles wide enough between shelves to accommodate carts

10.	Heavy duty wire shelving in coolers and freezers, stainless steel preferred

11.	Reach-in or roll-in units located next to serving line to prevent food contamination and preserve freshness

12.	Alarm system that warns of unacceptably high temperatures in freezers and refrigerators

13.	Timed or clock-controlled defrosting cycle for freezers

14.	Dial or digital thermometer mounted on exterior of unit

15.	Adequate capacity of reach-in refrigerators and freezers dependent on menu, preparation methods and serving systems (Refer to Area Guidelines)

304.025	Receiving

A.	Receiving area accommodates delivery equipment and vehicles

B.	Additional dock area for vehicle loading and unloading for off-site food delivery systems

304.026	Waste Control

A.	Outdoor waste storage areas constructed of smooth, durable, nonabsorbent material and sloped to drain.

B.	Waste receptacles of sufficient capacity to hold refuse

C.	Waste storage areas and receptacles constructed with tight-fitting lids, doors and covers and designed to facilitate effective cleaning

D.	Waste receptacles located in all areas where refuse is generated or commonly discarded

E.	Acceptable pest control measures to meet food safety standards

304.027	Manager’s Office

A.	Size

Approximately 75 to 100 square feet

B.	Location

Office located near receiving area with visual access to kitchen area

C.	Equipment

See Chapter 3, Section 302.04, and the following requirement.

i.	The area should be equipped with desk, chairs, lockable file storage, clock and bulletin board

304.028	Locker/Dressing Area

A.	Size

Approximately 75 to 100 square feet

B.	Location

Adjacent to or near kitchen area and restroom facilities

C.	Equipment

1.	Area equipped with mirror, chairs or benches, and a full-length locker for each employee

2.	Hand sink, with proper handles and faucets, located outside restroom facilities

AREA GUIDELINES

The following are approximate space requirements for the five prototypical food service program designs.  Actual building areas should be sized to accommodate required equipment, student loads and other factors described below, as well as ensure compliance with 126CSR86 WVBE Policy 4321.1, Standards for School Nutrition.

| AREAS | SQUARE FOOTAGE | COMMENTS |
| --- | --- | --- |
| Preparation & Production Satellite Elementary School* On-Site Elementary School** On-Site Middle School On-Site High School High School Food Court | 440-460 640-660 620-680 1420-1430 940-960 | *”Satellite” refers to facilities where meals produced off-site are received and served. **”On-Site” refers to school facilities in which meals are produced and served on-site. Production space is affected by the complexity of the menu, the degree of convenience foods used, and the amount of baking done on-site. |
| Serving Area Satellite Elementary School On-Site Elementary School On-Site Middle School On-Site High School High School Food Court | 250-260 420-430 640-650 1120-1130 1650-1670 | Factors affecting serving and dining space requirements include student loads per scheduled meal period, multipurpose uses of space, and type of service, e.g., self, counter, scramble. |
| Ware washing Satellite Elementary School On-Site Elementary School On-Site Middle School On-Site High School High School Food Court | 225 225 260 390 390 |  |
| Dry Storage Satellite Elementary School On-Site Elementary School On-Site Middle School On-Site High School High School Food Court | 80-100 190-210 300-320 440-460 520-530 | Factors affecting storage include use of disposables and the number of operating days between deliveries. |
| Freezer Satellite Elementary School On-Site Elementary School On-Site Middle School On-Site High School High School Food Court | 2 door reach-in 100-120 120-140 240-250 250-260 | Number of days of supply affects freezer space needed. The quantity and types of USDA donated commodities received also affect storage needs. |
| Refrigerator/Cooler Satellite Elementary School On-Site Elementary School On-Site Middle School On-Site High School High School Food Court | 2-2 door reach-ins 100-120 120-140 150-170 160-180 | Cooler space is affected by the frequency of deliveries of milk and other refrigerated foods and the days of supply needed. |

305	LIBRARY/LEARNING RESOURCE OR MEDIA CENTER

The mission of the library/media program should be to ensure that students and staff are effective users of resources, information and ideas.  All schools should contain a center, which is located, designed, and equipped to facilitate the instructional programs and to enhance information literacy. This center is a space for the organization, storage, lending, and on-site use of a variety of access, information, and delivery tools.  The center should be comfortable and attractive.  The environment should be pleasant, and the space should be organized to permit quiet, solitary study; group interaction; easy location; inspection and use of materials; and convenient flow of traffic between areas.  The success of the center will depend, to a large degree, on the organization of space and materials, the furniture, and the manner in which the center is operated.  The center should be centrally located to ensure easy access.  A main floor location is usually preferable.  The center should be located away from noisy areas like the gymnasium and meet the acoustical standards of the Acoustical Society of America (ASA).  It should also be placed so that physical expansion will be possible, if necessary. Other considerations in locating the center are (1) access from outside when other parts of the school building are closed; (2) optional uses for distance learning and virtual classes.  The size of the facility should be appropriate for school enrollment and should accommodate the current collection of printed and other materials as well as anticipated acquisitions.  The nature of the facility will depend on the educational level of the students although there are some common requirements which are unaffected by the age of the users.  For instance, appropriate floor and wall coverings will ensure a low noise level.  Ceilings should provide desired acoustical level; heating and ventilating outlets should be installed so that they do not interfere with shelving and so that heat flow will not damage materials; and electrical outlets should be accessible where multimedia and other equipment will be used.

305.01	Circulation Area

305.011	Space Allocation - 150 to 200 square feet

305.012	Activities

Online research, exhibits, copying equipment, electronic card catalogs, automated circulation capacity, and online periodical indexes.  Provisions for computer work stations and other peripherals.

305.02		Reading/Browsing Area

305.021	Size - 30 square feet per reader

305.022	Capacity

8 to 12 percent of the total student body.  Provision should be made to include a storytelling area at the elementary level.

305.023	Location

See factors mentioned in comment about this center in Chapter 3, Section 305.

305.024	Activities-Integrated media-rich learning activities

General reading, reference and research work with hard copy and online encyclopedias, books, dictionaries, maps, pamphlets, charts, globes and pictures; browsing; viewing displays; magazines; charge-out of materials; previewing non-book materials; and class instruction in the use of the library/media resources.

305.025	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Tables of various sizes and shapes and chairs.  All furniture should be sized to the students using it.

B.	Vertical files

C.	Reference stands for dictionaries

D.	Map stand

E.	Storytelling area

F.	Informal reading area - periodicals and books; lounge-type furniture

G.	Book trucks

H.	Wet and dry carrels

I.	Movable shelving - 5 feet, not to exceed 6 feet, high and 12 inches deep.  Some deeper for reference materials

J.	Electrical outlets available.  Duplex receptacles should be installed on all walls.  Sufficient branch electrical circuits should be in each room

K.	Where there are to be specialized facilities such as language labs, study carrels, microteaching and television, provision should be made for electrical service in the floor.

L.	Conduits should be provided to permit future installation of computers, television and other electronic instructional devices.

M.	System conduits shall be at least 3/4 inches in diameter in order to provide for installation of television and other teaching devices as indicated above.

N.	Acoustical treatment in this area is essential.  Use of audio devices mandates acoustical treatment of walls, ceilings, and floors in media centers and other such areas.  The noise levels shall not exceed the levels that are recommended by the Acoustical Society of America (ASA).

O.	Appropriate floor covering and ceiling tile, which is mold, and microbial resistant

P.	Light control.  Adequate provision for controlling the light level in instructional areas and projection area near computers is essential.  For efficient use of projection-type materials, the light in the room, particularly in the area of the projection surface, should not exceed one-tenth foot candle.

Q.	For preservation of book and non-book materials and equipment, temperature between 68-75ºF and humidity less than or equal to 60% rH shall be maintained.  Air conditioning of media center and production area is recommended.

305.03		Director’s Office

305.031	Size

Space, depending upon size of staff, approximately 150 square feet

305.032	Location

Should be located adjacent to, and connected with, the circulation area.  A glass partition should be placed in the wall between this area and the office.

305.033	Equipment Space and Facilities

See Chapter 3, Section 302.04.

305.04		Maintenance, Repair and Distribution Area

305.041	Size - 300 to 400 square feet

305.042	Location

Readily accessible to the administration and reading/browsing areas.

305.043	Activities

Processing, maintenance, and minor repairs of book and non-book materials and equipment.

305.044	Equipment Space and Facilities:

A.	Counter tops

B.	Storage cabinets

C.	Computers

D.	Sink

E.	Electrical outlets

F.	Shelving

305.05		Media Production Lab - Optional

305.051	Size - 300 to 400 square feet

305.052	Location

Accessible to administration area and main building corridor.

305.053	Activities

Production of photographic, graphic, and audio materials.

305.054	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Refrigerator

B.	Sink with running water

C.	Electrical outlets

D.	Exhaust fans

E.	Standard darkroom with equipment

F.	Light control

G.	Floor drains

H.	Basic graphic production equipment

I.	Basic audio production equipment

J.	Presentation and copying equipment

305.06		Viewing/Listening/Conference Area

305.061	Size

150 to 200 square feet with provision for subdivision into viewing/listening or conference areas by movable walls.  Provide multi-spaces for larger facilities.

305.062	Location

Accessible to reading/browsing area

305.063	Activities

Seminars and small group seminars; previewing; multimedia activities.

305.064	Equipment Space and Facilities

See Chapter 3, Section 302.06, and the following requirements.

A.	Adequate electrical outlets

B.	Acoustical treatment

C.	Light control of each small area

305.07		Equipment Storage Area - Instructional Materials, Supplies, and Equipment

305.071	Size - 300 to 400 square feet

305.072	Design Capacity

Storage of all multimedia equipment during vacation period.

305.073	Location

Adjacent to work room.  Limited access with provision for maximum security.

305.074	Activities - Storage and Circulation; Optional for wiring closet and cable TV access.

305.075	Equipment Space and Facilities

A.	Temperature, humidity, and dust control

B.	Locking storage cabinets

C.	Door with lock without threshold strip - minimum 3 feet

D.	Fire protection

E.	18 inch shelving

305.08		Periodical, Book and Newspaper Storage Area

305.081	Size - 150 to 200 square feet

305.082	Location

Adjacent to reading/browsing area.

305.083	Activities

Storage of periodicals, newspapers, books, and non-circulating materials.

305.084	Equipment Space and Facilities

A.	18 inch shelving

B.	Work table

306	ENGINEERING AND CUSTODIAL FACILITIES

All new or renovated schools are designed, constructed, maintained, and equipped to provide adequate and appropriate space and services for custodians.  All new or renovated schools are equipped with custodial and engineering areas, individually accessible to a service drive, with exterior doors sized to permit removal of room equipment or delivery of supplies.  The areas are isolated from student occupied areas by location and/or treatment.  Custodial closets are located within the school in strategic and convenient areas.  Adequate facilities are provided for storage of supplies and equipment, and adequate provisions are made for waste disposal.  Each custodial service facility is in compliance with all requirements of appropriate regulatory agencies.

306.01		General Requirements

306.011	Adequate and appropriate space, facilities, and services should be provided for the custodians, including locker, shower, toilet, and lavatory.

306.012	It is desirable to provide an office for the head custodian near the custodial quarters.  These facilities will be available for preparing and filing reports, preparing requisitions, preparing schedules and records, and for holding private conferences.

306.013	In high schools that have laundry facilities, automatic-drying machines will require venting to the outside.  Dryers shall be located to permit routing of dryer vents directly to the outside.  Dryer vents shall be limited to no more than 15 feet and one elbow, unless special equipment is provided. Compliance to the State Fire Code and NFPA 101 Life Safety Code is necessary.

306.014	Since portable electric floor cleaners are frequently used, ample electrical outlets shall be located at convenient points not more than 75 feet apart in corridors and rooms or in accordance with the NEC code, whichever is more stringent.  See Chapter 11, Section 1109.

306.02		Custodial Closets

306.021	Size and Number - Area as needed

306.022	Location

Strategically located along corridors, a minimum of one per floor, and in food service area to reduce the travel necessary to properly maintain a healthy and clean school.

306.023	Equipment Space and Facilities

A.	Service sink with mud trap and hot and cold water

B.	Shelving for various cleaning supplies and equipment

C.	Storage space for mops and brooms

D.	Storage space for cleaning cart

E.	Exhaust ventilation system to maintain a negative pressure to adjacent areas

306.03		Locker/Dressing Rooms

306.031	Size - as needed

306.032	Location - Adjacent to custodian’s room

306.033	Equipment Space and Facilities

A.	Lockers

B.	Mirror

C.	Chairs or benches

D.	Toilet

E.	Shower

F.	Exhaust ventilation to maintain a negative pressure to adjacent areas

306.04		Receiving, Storage and Work Room

306.041	Size - Area as needed

306.042	Location - Direct access from the service drive

306.043	Equipment Space and Facilities

A.	Shelving in a variety of depths and heights to provide temporary storage for supplies and equipment delivered to the school and custodial equipment not used daily, such as ladders, vacuum cleaners, and scrubbers.  Shelving should be of resilient construction.

B.	Provide work bench equipped with vise and storage for small hand and power tools used in minor repair

C.	Grounded duplex receptacles over work bench at three feet intervals

307	LAWN TOOL EQUIPMENT STORAGE ROOM

307.01		Size - 50 to 100 square feet

307.02		Location - Direct access from outdoors

307.03		Equipment Space and Facilities

Shelving and space to permit easy storage of lawn mower, lawn tools, and snow removal and other equipment needed in the care of the school grounds.  A permanent storage building of similar construction to the existing facility shall be used for equipment containing flammable materials located separate from the school.

308	HEAT PLANT

308.01		Location

A.	Directly accessible to service drive, with exterior doors to permit removal of room equipment.

B.	Adequate space to facilitate service to the building heating equipment.

308.02		Equipment and Facilities

As needed, with provision to permit expansion, if necessary.

Chapter 4

EARLY CHILDHOOD/PRIMARY EDUCATION PRE K-4

400	EARLY CHILDHOOD/PRIMARY EDUCATION PRE K-4 CENTERS

All schools housing early childhood/primary education programs contain general-purpose instructional areas, specialized instructional spaces, auxiliary spaces, safety facilities, and service facilities.  The school is carefully planned and is large enough to accommodate projected enrollments, to provide an adequate curriculum, and to maintain reasonable efficiency.  Available technology is incorporated into environmental controls to provide a comfortable environment, which facilitates the educational program.  Where design considerations permit, the facility will be constructed in a manner that utilizes maximum natural light.

Early childhood education is the beginning of education in West Virginia public schools.  The pre-kindergarten/primary education stages provide developmental activities designed to stimulate the intellectual, physical/motor and social/emotional development of the child, and begin the process of basic skills mastery.  The education program in pre K-4 reinforces the developmental activities and continues to enhance the mastery of the skills of reading; the basic communication skills of listening, speaking, and writing; technology skills; mathematics; social studies; physical and motor development; health/safety education; science education; and creative arts education.

All modular or detached classroom structures must meet the requirement of this policy for the intended space.  These structures must have restroom facilities for all grades pre-K-4 unless waived by the WVBE.

400.01		Size of Centers

Early childhood/primary school centers should be organized for educational programs and administrative purposes according to the following enrollments.

A.	Schools housing grades pre-K-4 should have a minimum of 110 square feet per pupil unless factors such as enrollment or architectural design permit otherwise as determined by the state superintendent of schools.  Regardless of school size, the teacher-student ratio should not exceed 25 students per teacher for regular instructional spaces.

B.	Special class enrollments (such as special and early childhood education) must be considered in addition to the above figures.

C.	Centers shall be planned for a minimum of 240 students per center.  Smaller centers require approval from the West Virginia Board of Education.

D.	Square footage of facilities funded by SBA will be established in accordance with SBA Guidelines and Procedures Handbook.

400.02		SELECTION OF FURNITURE AND EQUIPMENT

400.021	Classroom furniture and equipment should be considered during the initial planning stage and should be selected on the basis of its contribution to, and compatibility with, the total educational program.

400.022	Criteria for selection should include the following:

A.	Appearance

B.	Maintenance

C.	Safety and Security

D.	Comfort

E.	Durability

F.	Building Codes

G.	Guarantees

H.	Flexibility

I.	Availability

J.	Cost

401	ESSENTIAL PHYSICAL AND SERVICE FACILITIES

401.01		Certain physical and service facilities, such as a multipurpose room, dining, assembly, and music areas, are provided in some pre-k primary school centers.  Similar facilities, modified in size and/or combined use, are provided in smaller elementary centers. All new schools must have separate dining and physical education instructional areas.  The dining room area should accommodate at least one third of the student enrollment.

The following chart indicates the facilities considered essential to the implementation of high quality early childhood/primary education.  Consideration should be given to changing various learning spaces and activity areas through the use of flexible or movable walls.

The following is an example of the number, types, and square footage of facilities that should be considered for typical grades pre-K-4 school enrollments.  Specific educational programming should occur for each new facility and the educational program must dictate the actual number and types of spaces provided.

Enrollment					Physical Facility

240		   340		   440		   540

Students	Students	Students	Students	ADMINISTRATIVE

1@150		1@150		1@150		1@150		Waiting

1@200		1@200		1@300		1@400		General Office

Enrollment					Physical Facility

240		   340		   440		   540

Students	Students	Students	Students

1@200		1@200		1@250		1@250		Work Room

--		1@75		1@75		1@75		Communications Room

1@250		1@250		1@250		1@250		Conference Room

1@180		1@180		1@180		1@180		Principal’s Office

--		   --		   --		1@150		V. Principal’s Office

1@100		1@100		1@100		1@100		Supply & Book Storage

STUDENT SERVICES

1@250		1@250		1@300		1@300		Clinic

1@120		1@120		1@120		1@120		Guidance

ELEMENTARY CLASSROOMS

--		   --		   --		   --		Pre-Kindergarten Classroom (optional)

2@900		3@900		4@900		5@900		Kindergarten Classroom

8@720		12@720	16@720	20@720	Primary Classrooms

(Classroom area may vary if computer stations are provided within the classroom)

1@1800	1@2400	1@3000	1@3600	MEDIA CENTER

See Chap. 7 - Students with Exceptionalities -			SPECIAL EDUCATION

Instructional Areas

1@1200	1@1200	1@1200	1@1200	ART

1@1200	1@1200	1@1200	1@1200	MUSIC

1@800		1@800		1@800		1@800		COMPUTER LAB and/or Distributed (See OTIS Handbook for specifications)

1@1800	1@1800	1@1800	1@1800	PHYSICAL EDUCATION SPACE

OR

1@3100	1@3100	1@3100	1@3100	GYMNASIUM

1@1200	1@1800	1@2200	1@2700	DINING ROOM

See Chap. 3, Section 303 Food Service Facilities		KITCHEN

1@250		1@250		1@250		1@250		FACULTY LOUNGE

CUSTODIAL

1@500		1@500		1@500		1@500		Mechanical Room (varies)

2@25		2@25		2@25		2@25		Custodial Closet

1@150		1@150		1@150		1@150		Custodian w/Restroom

Enrollment					Physical Facility

240		   340		   440		   540

Students	Students	Students	Students	STORAGE (Instructional)

1@100		1@100		1@100		1@100		Early Childhood

4@100		6@100		8@100		10@100	Elementary Education

1@130		1@130		1@130		1@130		Media Center

--		2@100		2@100		2@100		Music/Art

2@175		2@175		2@175		2@175		Multi-purpose

1@175		1@175		1@175		1@175		Dining

STORAGE (Non-Instructional)

1@120		1@120		1@120		1@120		Administrative

1@175		1@175		1@175		1@175		Central Storage

1@200		1@200		1@200		2@200		Outdoor Storage

RESTROOMS (consult code)

1@25		1@25		1@25		1@25		Student Services

2@20		2@20		2@20		2@20		Early Childhood

8@20		12@20		16@20		20@20		Elementary Education

2@40		2@40		2@40		2@40		Faculty

2@150		2@200		2@200		2@200		Public

The above program of spaces provides the net program area for the example shown.  Building circulation, wall thicknesses, and other required area should be incorporated into the building area to arrive at the gross building area required in the total facility.

402	ESSENTIAL INSTRUCTIONAL TECHNOLOGY FOR EARLY CHILDHOOD/PRIMARY EDUCATION PRE K-4 CENTERS

See Chapter 3, Section 302.

403	PRE-KINDERGARTEN (When services are provided)

403.01		Size

Base the preliminary determination of early childhood education areas upon the allotment of 50 square feet per child.

403.02		Design Capacity - 20 students

403.03		Location

A.	On ground floor with easy access to an entrance not generally used by older children.  Corner areas are also preferable to permit the development of separate, fenced-in play areas.

B.	Direct access to segregated outdoor play area that contains a large grassy area with climbing equipment, obstacle course and garden area, and adequate storage for equipment.

C.	Area of the building, which permits maximum natural light.

403.04		Activities

Individual and small group instruction based on the Early Learning Standards as described in State Board Policy 2525, including learning activities to address positive social-emotional skills,  early language/communication and early literacy skills; and the use of appropriate behaviors to meet students’ needs.  These activities may include collaborative project-based learning, physical education, conversation, discussion, listening activities and creative activities with various media. The room should accommodate displaying students’ work; storing instructional materials and supplies; demonstrations; and activities where stations with individual and collaborative assignments are to be done with manipulative materials and a wide range of technologies.

403.05		Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

A.	Work areas

1.	Deep sink equipped with mud trap, hot and cold water

2.	Waterproof counter top - 2 square feet per student with shelving beneath.  Counter height at 22 inches to accommodate 3 and 4 year-old children.

3.	Grounded duplex electrical outlets at 3 feet intervals over counter top.  Avoid placing over sink.

4.	Facilities for hanging mobiles from ceiling.

B.	Instructional space and storage area for activities related to: art, science and nature, music and movement, language development, technology activities, creative play, crafts and construction.

C.	Storage for student’s personal belongings.

D.	One self-contained student toilet facility per 20 students within the classroom and drinking fountains.

E.	Display space

F.	Provide light control facilities (e.g., dimmer switches and blackout drapes for audiovisual media work)

G.	Acoustically treated to protect instructional areas from outside noises

H.	Material flooring combination of carpeting and resilient material with the following area carpets:

1.	Large group area at least 7 ½ feet by 10 ½ feet

2.	Library area at least 3 ½ feet by 5 ½ feet

3.	Dramatic play area at least 3 ½ feet by 5 ½ feet

4.	Block area at least 4 ½ feet by 6 feet

I.	Movable adjustable student tables (30” X 40 “ minimum size) and chairs of appropriate height, easily joined or separated

J.	Teacher’s combination desk/table with lockable storage and chair

K.	Large wall clock

404	KINDERGARTEN

404.01		Size

Base the preliminary determination of early childhood education areas upon the allotment of 50 square feet per child.

404.02		Design Capacity - 20 students (5 year old students)

404.03		Location

A.	On ground floor with easy access to an entrance not generally used by older children.  Corner areas are also preferable to permit the development of separate, enclosed, and secure play areas.

B.	Direct access to segregated outdoor play area that contains a large grassy area with climbing equipment, obstacle course and garden area, and adequate storage for equipment.

C.	Area of the building, which permits maximum natural light.

404.04		Activities

Major learning activities include: Units of work on areas of immediate interest, physical education, conversation, discussion, listening and viewing activities, and creative activities with various media.

404.05		Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

A.	Work areas

1.	Deep sink equipped with mud trap, hot and cold water

2.	Waterproof counter top - 2 square feet per student with open/enclosed shelving beneath.  Counter height to accommodate 5-year-old children.

3.	Grounded duplex electrical outlets at 3 feet intervals over counter top.  NOTE: Avoid placing over sink.

B.	Instructional space and storage area for activities related to: art, science and nature, music and movement, language development, creative play, crafts and construction.

C.	Pupil storage area (storage for personal belongings)

D.	Restroom facilities (within the early childhood area) and self contained separate drinking fountains

E.	Display space - screen/access to display projection unit.

F.	Provide light control facilities (e.g., dimmer switches and blackout drapes for audiovisual media work)

G.	Special consideration should be given to the HVAC system design to remove cold air from the floor during the heating season.

H.	Acoustically treated to protect instructional areas from outside noises

I.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

J.	Adjustable student tables and chairs of appropriate height, easily joined or separated

K.	Teacher’s combination desk/table and chair

L.	Large wall clock

405	GENERAL INSTRUCTIONAL AREAS - PRIMARY (grades 1-4)

405.01		Size

Base preliminary determination of area upon the allotment of 28 to 30 square feet per student.  To accurately determine the area needed, trial layouts should be made using scaled templates representing furniture and equipment on scaled drawings of floor and wall elevations.

405.02		Design Capacity - 25 students

405.03		Location

A.	Acoustically treated to protect instructional spaces from outside noise

B.	Convenient access to outdoors, particularly to recreational and physical education areas

C.	If the building is a multiple-story structure, the first grade shall be assigned to the ground level floor

405.04		Activities

General learning areas may support a variety of activities including individual study and work, group interaction, lectures, reading, writing, demonstration, use of technology, and movement.  These spaces will accommodate a variety of audiovisual and teaching equipment for both group and individual use.

405.05		Equipment Space and Facilities

Ample space, movable furniture and equipment and well-designed storage areas are essential.  See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

A.	Instructional boards, bulletin boards and other display areas - as much as possible, a minimum of 96 square feet of wall space for a regular size classroom.

1.	Instructional boards and bulletin boards should have map rails installed above

2.	The bottom of the display area should be at the eye level of the student when seated

B.	Student storage/lockers

C.	Storage space (may be separate room)

1.	Open and closed adjustable shelving of various heights and depths for a variety of sizes of construction paper, charts, and large format books - 30 linear feet of each

2.	Lockable storage for teacher’s personal belongings

3.	Filing space for instructional material and supplies equivalent to 4-drawer, legal size file cabinets

D.	Work counter - see Chapter 4, Section 403.05

E.	Teacher’s combination desk/table and chair

F.	Conference-type table and chairs

G.	Adjustable desks and chairs, or combination chair-desks

H.	Desirable equipment

1.	Corridor display cabinet for students’ work

2.	All major types of instructional technology equipment should be readily available within classroom or in the nearby media center

I.	Adequate provision for controlling the light level in instructional areas is essential.  For efficient use of projection-type materials, the light in the room, particularly in the area of the projection surface, should not exceed one-tenth footcandle.

J.	Duplex electric receptacles should be installed on all walls of the instructional space for the use of instructional equipment. Sufficient branch electrical circuits should be in each room.  Conduits should be provided to permit installations of instructional technology devices.  System’s feeder conduits should be at least 3/4 inches in diameter in order to provide for installation of instructional technology as indicated above.  Individual point of service drops should be at least 3/4 inches.

K.	A projection surface should be installed in each instructional area with provision for eliminating keystoning.

L.	Use of audio devices mandates acoustical treatment of walls, ceilings, and floors in instructional areas and media centers, particularly in classrooms where many activities are occurring simultaneously.

M.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

406	PHYSICAL EDUCATION SPACE

A physical education space or gymnasium is to be included.  It should be based upon the amount of time required for the separate program activities to be housed.

406.01		Size

Base preliminary determination of physical education space on the allotment of six to eight square feet per student enrolled in the school.  Allow approximately 65 square feet per student for physical education with 25 students per session.

406.02		Design Capacity

To be determined by school plant specialists.

406.03		Activities

To be determined on the basis of the school’s program.  Consideration should be given to providing a clear height from 20 to 24 feet if the room is used for such activities as basketball. Consideration should be given to the installation of sound absorbing material on the walls if the room is used for such activities as assemblies or music and theater performances.

406.04		Location

A.	Removed from quiet areas of the building by location and/or acoustical treatment

B.	Direct access to outdoor physical education or recreation areas

C.	Convenient access to public parking areas

D.	Direct access to service drive

E.	If used for dining purposes, locate adjacent to kitchen serving area.

406.05		Equipment Space and Facilities

See Chapter 3, Section 302.05, and the following requirements

406.051	Fixed Platform - Optional

A.	Provide 500 square feet of permanent or portable platform area.  Consideration should be given to staging “in the round.”

B.	Two entrances to the fixed platform, one direct from the building corridor.  Entrances to be double door size.

C.	The fixed platform location should be one that makes instructional spaces accessible for use as dressing rooms.

D.	Proscenium opening should be approximately 1/2 the width of the body of the multipurpose room.

E.	Curtains of fire resistant materials, portable or permanent acoustical paneling,

F.	Lighting facilities with controlled illumination.

G.	Grounded duplex electrical receptacles - 5 to 10 - should be provided in the fixed platform area.

H.	Storage for electronic and fixed platform equipment.

I.	Every fixed platform equipped with rigging for movable theater-type scenery and every enclosed platform larger than 500 square feet in area shall have a system of automatic sprinklers in accordance with the state fire code.

406.052	Chair and Table Storage

Area as needed for storage of tables and chairs used for dining purposes

A.	Provision of ample space to accommodate assembly chairs stored on trucks and musical risers

406.053	Equipment Storage

A.	Approximately 200 square feet with convenient access to the outdoor physical education area and direct access to multipurpose area

B.	Provide double doors with flush threshold

C.	Shelving and cabinets for storage of miscellaneous types of physical education and other equipment

406.054	Public Restrooms

A.	If pupil restrooms are not conveniently accessible for public use, 2 restrooms of approximately 50 square feet each should be provided.

B.	Restrooms must conform to ADA regulations

407 	GYMNASIUM (Optional)

407.01		Gymnasium (Physical Education Learning Station)

407.011	Size

Determination of size is dependent upon physical education spaces to be located – 3,100 square feet minimum.  Floor area should be marked for various games.

407.012	Design Capacity - Maximum of 70 students at 55 square feet per student.

407.013	Location

Convenient access from instructional areas with separate outside access for community use.  The gymnasium area should be designed to provide the possibility of having access blocked to the remainder of the school while still retaining access to restroom facilities.

407.014	Activities

Include soccer, volleyball, basketball, football, softball, dance, gymnastics, and other activities to meet the county curriculum.  Recommend basketball court (42 feet x 74 feet) with an apron of 3 to 6 feet.

407.015	Equipment Space and Facilities

See Chapter 3, Section 302.05, and the following requirements

A.	Provisions for using the learning center as 2 or more teaching stations may require canvas-net partition, folding door partition or mechanical folding walls.

B.	Adequate electrical outlets for multiple learning stations

C.	Bulletin board - 12 to 16 linear feet

D.	Drinking fountains

E.	Wood gymnasium floor or equal. Wood flooring must be provided humidity monitoring through the building monitoring and control system.

407.016	Equipment Storage

A.	Approximately 200 square feet with convenient access to the outdoor physical education area and direct access to multipurpose area

B.	Provide double doors with flush threshold

C.	Shelving and cabinets for storage of miscellaneous types of physical education and other equipment

407.017	Public Restrooms

A.	If pupil restrooms are not conveniently accessible for public use, 2 restrooms of approximately 50 square feet each should be provided.

408	FOOD SERVICE FACILITIES

See Chapter 3, Section 304.

409	ADMINISTRATIVE AND SERVICE FACILITIES

See Chapter 3, Section 303.

4010	ENGINEERING AND CUSTODIAL FACILITIES

See Chapter 3, Section 306.

411	SMALL GROUP INSTRUCTIONAL AREAS/CLASSROOMS

Specialized classrooms in the form of small or specially equipped instructional areas are provided in each facility.  These areas are not intended to be permanent classrooms; rather, they are intended for flexible and fluid targeted instructional activities.  Small group instructional areas should be designed for the provision of tiered, strategic, intensive or special education instruction to students in language arts, mathematics, science, social studies, and certain other subject areas.  These classrooms may be used as instructional areas for the provision of gifted services.

411.01		Size

Base preliminary determination of area upon an allotment of 30 square feet per student.  For example: 450 square feet of floor area should be planned for 15 students in an instructional space.  To more accurately determine the area, trial room layouts should be made using scaled templates representing furniture and equipment and scaled floor and wall elevation drawings.

411.02		Design Capacity - 15 students

411.03		Location

A.	Isolation from noisy areas of the building

B.	Close proximity to the media center

C.	Location which will permit easy expansion

411.04		Activities

Speaking, group discussion; viewing instructional technology and other projected materials; listening to recordings, podcasts and broadcasts; doing assignments on instructional  boards, or at desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual, small group and project based assignments are to be done with manipulative materials or computer equipment.

411.05		Equipment Space and Facilities

See Chapter 4, Sections 402.01 and 402.02, and the following requirements

A.	Instructional boards, bulletin boards, and other display areas - as much as possible, a minimum two-thirds of available wall space

1.	Instructional boards and bulletin boards should have map rails installed above

2.	The bottom of the display area should be at the eye level of the student when seated

B.	Storage

1.	Lockable storage for teacher’s personal belongings

2.	Storage for teaching aids and supplies

a.	Closed and open shelving

b.	4-drawer filing space

C.	Teacher’s combination desk-table and chair

D.	Conference-type tables and chairs

E.	Desirable equipment

All major types of instructional technology equipment should be readily available within classroom or the nearby media center

F.	Adequate provision for controlling the light level in instructional areas is essential.  For efficient use of projection-type materials, the light in the room, particularly in the area of the projection surface, should not exceed one-tenth footcandle.

G.	Duplex electrical receptacles should be installed on all walls of the instructional space for the use of instructional equipment.  Sufficient branch electrical circuits should be in each room.  Conduits should be provided to permit future installation of network computer drops, television, and other electronic instructional devices.  System conduits should be at least 3/4 inches in diameter in order to provide for installation of television and other teaching devices as indicated above.

H.	Where there are to be specialized facilities, such as language labs, study carrels, microteaching, and television, provision should be made for electrical service in the floor.

I.	A projection surface should be available in each instructional area.

J.	Use of audio devices mandates acoustical treatment of walls, ceilings, and floors in instructional areas and media centers, particularly in open-type classrooms where many activities are occurring simultaneously.

K.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

412	ART FACILITIES - Optional

Consideration may be given to providing multi-use space for the instruction of art and music, art and science, and art and social studies.

412.01		Space allotment of 45 to 50 square feet per child with movable tables and chairs.  Table dimensions no less than 36 inches x 60 inches for each 4 students.  Art room should be located on the ground floor.

412.02		Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02, and the following requirements

A.	2 deep sinks, each with extra large drain, clean-out trap, and long drainage top - stainless steel recommended

B.	Uncarpeted floor of concrete, tile, linoleum, or other material not easily damaged by paint and clay

C.	Counter space equivalent to the length of at least one wall

D.	Closed-in storage shelves under counter - 6 or more drawers of built-in or movable storage space for flat pictures, at least 20 inches x 40 inches - storage cabinets and/or display boards on wall above counter

E.	Adjacent storage room with shelves for art supplies - space allotment of 250 to 350 square feet

F.	At least one instructional board, movable or stationary

G.	Bulletin boards - 30 linear feet recommended.  Movable display panels are also recommended. (Recommended for hallways and general areas: glass enclosed display space and movable display cabinets.)

H.	Electrical outlets, 12 or more, located conveniently to working area

I.	Audiovisual facilities may be separate, or combined with art room.  These require blackout curtains and projection facilities.

J.	Ceilings should be equipped with facilities for hanging mobiles.

K.	Art appreciation corner with facilities for rotating display of two and three dimensional objects and related library materials.  Recessed wall-display cabinets are desirable, but not essential.

L.	Mechanical ventilation systems are utilized in the art rooms to handle fumes, dust, odors and gases from turpentine, lacquer thinners, acids, toxic markers, and clays.  Special areas such as kiln rooms, dark rooms, pug mills, burnout kilns, and acid areas require additional specific ventilation.

M.	Provision for ceramic kiln

N.	If this space functions as a multi-use space, provide lockable storage for each academic area.

412.03		Location - Ground Floor location

412.04		Art facilities for small schools, which have no special art room, must include storage space for consumable art supplies, materials and equipment, and an arts and crafts corner.

412.041	Arts and Crafts Space

A.	At least one sink, preferably deep, with long drainboard, large drains and clean-out trap - stainless steel recommended.

B.	Built-in counter with Formica top and closed-in storage shelves beneath - at least 8 feet in length.  This may double as workspace or drying area for unfinished work.

C.	Display board or bulletin board, 12 linear feet or more

D.	Uncarpeted floor area of tile, linoleum, or other material not easily damaged by paint and clay

E.	Storage (minimum of 100 square feet) for art supplies in closet, case, or small storage room

F.	At least 2 additional electrical outlets, adjacent to work area

412.042	Art Appreciation Corner

Equipped with glassed-in display case with shelves for crafts; wall space for displaying two-dimensional work.  Should also accommodate a section for library materials in the form of built-in shelves or portable unit.

413	LIBRARY/LEARNING RESOURCE OR MEDIA CENTER

See Chapter 3, Section 305.

414	MUSIC FACILITIES

See Chapter 4, Section 411.

Physical and spatial requirements for music education obviously exceed the capacity of the conventional classroom.  Spaces for individual and group vocal and instrumental instruction and rehearsal are necessary.  The size, quality, and number of these spaces will be determined by the enrollment and the educational level of the school, the scope of the music program, and the degree of encouragement offered music education by the administration and the community.

A good location for the music room is in a wing of the building close to the multipurpose room.  Physical isolation should be sought to reduce the transmission of sound to other areas of the building.  Practice rooms may be separated acoustically from the rehearsal room by placing storage rooms or walls having dead air space between them.  It is important that the facility be arranged for supervision of all practice and storage rooms.  Also, the temperature shall be between 68-75ºF and humidity shall be less than or equal to 60% rH in the instrument storage rooms.

414.01		This facility shall be large enough to accommodate physical movement and daily use of “classroom/general music” instruments for teaching general music and a facility for elementary instrumental music class instruction.

414.011	Size

400 cubic feet per student; ceiling 14 to 16 feet high.  Allow space for design capacity of 25 students.

414.012	Location

A.	Direct access to instrumental storage

B.	Isolated area of building

414.013	Activities

Instruction in instrumental and classroom/general music

414.014	Equipment

A.	See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

B.	Stereo sound reproduction and recording equipment

C.	Electronic piano and bench

D.	Classroom instruments

E.	Portable marker board, 30 linear feet

E.	Chairs

F.	Music stands

G.	Filing cabinets - legal size

414.02		Office Space for Planning or Studio Teaching

414.021	Size

250 to 350 square feet - 8 to 12 students

414.022	Design Capacity

Accommodate small group

414.023	Location

Convenient to music room

414.024	Equipment

See Chapter 3, Section 302.04, and the following requirements.

A.	Desk and chair

B.	Filing facilities

C.	Portable marker board

D.	Work table and chairs

E.	Storage for tapes and records

414.03		Storage Space for Instruments, Equipment and Music

414.031	Size

Approximately 150 square feet.  Secure room with shelving to accommodate stringed instruments, classroom instruments, and legal size filing cabinets.

Chapter 5

MIDDLE CHILDHOOD/JUNIOR HIGH EDUCATION 5-8

500	MIDDLE CHILDHOOD/JUNIOR HIGH EDUCATION 5-8 CENTERS

Middle childhood education builds upon the results of early childhood education and transitions students into the adolescent education program.  Middle level education provides unique, age-appropriate educational opportunities that challenge all students to use their minds well.  Middle level education provides students with the curriculum and instruction,  assessment, support, learning skills, technology tools, and time they need to achieve rigorous academic standards.  Students are provided opportunities for both independent inquiry and learning collaboratively with others.  Middle level programming is challenging and engaging, tapping the young adolescents’ boundless energy, interests, and curiosity through rich hands-on, engaging experiences.  Students learn to understand important concepts, develop essential skills and apply what they learn to real-world problems.  The creation of small learning communities of adults and students produces stable and mutually respectful relationships that support students’ intellectual, emotional and ethical growth.

Where design considerations permit, the facility will be constructed in a manner that encourages the use of natural light.

All modular or detached classroom structures must meet the requirement of this policy for the intended space.

500.01		Size of Centers

An educational facility should be large enough to take advantage of reasonable economies of operation, comfortably accommodate the inhabitants, and support the educational program.  Other factors such as density of population, availability of sites, and transportation should be considered in determining the size of the facility.

A.	All middle/junior high schools have a minimum allotment of 120 square feet per student, unless factors such as enrollment or architectural design permit otherwise as determined by the WVDE.

B.	The size and type of facility will be determined by the number of students and the instructional program.

C.	Centers (5-8 organizational pattern) shall be planned for a minimum of 600 students (85% utilization).  Smaller centers or combination K-8 centers require approval from the WVDE. See Chapter 1, Section 100.016.

D.	Square footage of facilities funded by SBA will be established in accordance with SBA Guidelines and Procedures Handbook

500.02		Selection of Furniture and Equipment

500.021	Classroom furniture and equipment should be considered during the initial planning stage and should be selected on the basis of its contribution to, and compatibility with, the total educational program, which includes collaborative problem solving and project-based learning experiences.

500.022	Criteria for selection should include the following:

A.	Appearance

B.	Maintenance

C.	Safety and Security

D.	Comfort

E.	Durability

F.	Building Codes

G.	Guarantees

H.	Flexibility

I.	Availability

J.	Cost

501	PLANNING PROCESS

501.01		Middle school programs and facilities to accommodate such programs are the result of careful, complete, and creative planning for engaging 21st Century Learning experiences.

501.02		Closely coordinated planning will include factors such as the school’s role in the community, the characteristics of students, how students learn most effectively, the physically disabled, and what constitutes the total coordinated program of learning in the middle/junior high school.  Consideration should be given to changing various learning spaces and activity areas through the use of folding or movable walls. Consideration should be given to providing separate learning areas for each grade level and to providing a separate grade level “team planning room” for each area.

501.03		Educational specifications shall be prepared to include a careful computation of room, area, and building capacity as required to offer programs of study as outlined in the Master Plan, WVBE Policies 2510 and 2520.  Additional educational specification requirements can be found in the SBA Guidelines and Procedures Handbook for new schools or schools with major additions funded by the SBA.

501.04		Departmentalization, specialization of instructional spaces, elective subjects, and flexible scheduling are factors to be considered in determining the number of teacher stations.  In determining the number of teacher stations, consideration must be given to the number of students with exceptionalities served in special education environments for specific subject areas.

NOTE: The following formula considers only the number of students; none of the above are considered.

A.	The number of teaching stations needed may be determined by applying the following formula to each subject area.  (If general-purpose instructional spaces are considered interchangeable for different subject areas, the calculation may be made for a group of subject areas.)

B.	The basic formula:

Number of students   x	Number of periods/enrolled in subject instructional blocks

Number of per week in subject Teaching Stations =

Desired average      x	Number of periods/

class size		instructional blocks

per week each

teaching station can be used

502	ESSENTIAL INSTRUCTIONAL TECHNOLOGY FOR MIDDLE CHILDHOOD/JUNIOR HIGH EDUCATION 5-8 CENTERS

See Chapter 3, Section 302.

503	GENERAL PURPOSE (ACADEMIC) CLASSROOMS OR INSTRUCTIONAL AREAS

Rooms should be designed to serve specific needs of language arts, science, foreign language, mathematics, social studies, and certain other subject areas.  They should also be designed to permit flexible use to facilitate 21st Century instructional practices and changing program requirements.

503.01		Size

Base preliminary determination of area upon allotment of 28 to 30 square feet per student. For example: 700 to 750 square feet of floor area should be planned for 25 students in an instructional space.  To more accurately determine the area, trial room layouts should be made using scaled templates representing furniture and equipment and scaled floor and wall elevation drawings.  The area of the standard middle school classroom will be 840 square feet to accommodate the requirements of the 21st Century learning activities; however, the designed space may be reduced specific to the educational specifications and the student population projections with the prior approval of the  WVDE OSFac.

503.02		Design Capacity - 25 students

503.03		Location

Close proximity to the media center

Location which will permit easy expansion

Isolation from noisy areas of the building

503.04		Activities

Speaking; laboratory activities; large group presentation, group discussion; viewing a wide range of projection materials on several different walls and other audio links; engaging in learning activities using an interactive board  or at tables or other learning stations; displaying student work; storing instructional materials and supplies; demonstrations; lab activities, where individual assignments or collaborative projects are to be done with manipulative materials, lab equipment or technology (computer, probes, graphing calculators, etc.)

503.05		Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02, and the following requirements

A.	Instructional boards, bulletin boards, interactive boards and other display areas, including display areas for student work - a minimum of 96 square feet of wall space for a regular size classroom.

1.	Instructional boards, interactive boards, and bulletin boards with map rails installed above

2.	Bottom of display area should be at eye level of student when seated

B.	Student lockers in hallway

C.	Storage

1.	Lockable storage for teacher’s for personal belongings

2.	Storage for teaching aids and supplies

a.	Closed and open shelving

b.	4-drawer filing space

c.	Additional storage as need for each content area (mathematics manipulatives etc.)

D.	Teacher’s combination desk-table and chair

E.	Conference-type tables and chairs

F.	Desks and chairs, or combination chair-desks

G.	Desirable equipment

Corridor display cabinet for students’ work

H.	Adequate provision for controlling the light level in instructional areas is essential.  (For efficient use of projection-type materials, the light in the room, particularly in the area of the projection surface, should not exceed one-tenth footcandle.)

I.	Ample duplex receptacles should be installed on all walls of the instructional space for the use of instructional technology.  Sufficient branch electrical circuits should be in each room.  Conduits should be provided to permit future installations of instructional technology equipment.  System conduits should be at least 3/4 inches in diameter in order to provide for installation of instructional technology as indicated above.

J.	Where there are to be specialized facilities, such as language labs, study carrels, projection, editing booths, and individual or small group practice rooms, provision should be made for electrical service in the floor.

K.	A non-stationary projection surface should be available in each instructional area.

L.	Use of audio devices mandates acoustical treatment of walls, ceilings, and floors in instructional areas, media centers, and other such areas, particularly in open-type classrooms where many activities are occurring simultaneously.

M.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

504	SMALL GROUP INSTRUCTIONAL AREAS/CLASSROOMS

Specialized classrooms in the form of small or specially equipped instructional areas are provided in each facility.  These areas are not intended to be permanent classrooms; rather, they are intended for flexible and fluid targeted instructional activities.  Small group instructional areas should be designed for the provision of tiered, strategic, intensive or special education instruction to students in language arts, mathematics, science, social studies, and certain other subject areas.  These classrooms may be used as instructional areas for the provision of gifted services.

504.01		Size

Base preliminary determination of area upon an allotment of 30 square feet per student.  For example:450 square feet of floor area should be planned for 15 students in an instructional space.  To more accurately determine the area, trial room layouts should be made using scaled templates representing furniture and equipment and scaled floor and wall elevation drawings.

504.02		Design Capacity - 15 students

504.03		Location

A.	Close proximity to the media center

B.	Close proximity to general purpose classroom or instructional area

C.	Location which will permit easy expansion

D.	Isolation from noisy areas of the building

504.04		Activities

Speaking; laboratory drills; lecture; group discussion; viewing instructional technology; listening to recordings, podcasts and broadcasts; doing assignments on instructional boards, or at desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual assignments are to be done with manipulative materials or computer equipment.

504.05		Equipment Space and Facilities

See Chapter 4, Sections 402.01 and 402.02, and Chapter 5, Section 503.05.

505	ART FACILITIES

Art facilities should accommodate the studio and classroom activities of a full art program.  Basic to all activities would be space allotment, natural and artificial light, movable furniture or furnishings, display space, several kinds of storage space, deep sinks with clean-out traps, and adequate electrical outlets.

505.01		Size

Studio, approximately 1,000 square feet or the equivalent, exclusive of storage.  Provide one room for every 150 art students enrolled.

505.02		Capacity - Recommended class size for studio activities is 25 students

505.03		Location - Pertinent factors

A.	Accessibility for consumable materials; ground floor location preferred

B.	Need for uncarpeted floor in studio areas.  Floors should be of concrete, tile, linoleum, or other material not easily damaged by paint or other chemicals

C.	Good lighting, both natural and artificial.  Natural light is important for many activities and essential for painting.

D.	Space should contain, or be accessible to, facilities for the use projection, instructional technology, blackout curtains, display areas,  and chairs equipped with tablet arms.

E.	Power tools and equipment may be borrowed from or shared with industrial arts area, subject to local policy.

505.04		Activities

Basic - drawing, painting, sculpturing, ceramics, design, art history and appreciation, and crafts.

505.05		Equipment Space and Facilities

See Chapter 4, Sections 302.01 and 302.02, and the following requirements.

A.	Sink and work-counter units

1.	Hot and cold water with mixing faucets

2.	No less than 2 deep sinks of stainless steel with long drain boards

3.	Large drains and clean-out traps

4.	Long counter for mixing paints and other activities

5.	Storage for mixing pans, water jar, and brushes (under sink and counter)

B.	Special storage for:

1.	Drawing boards

2.	Shelves for storage of flat work, a minimum of 28 inches x 40 inches - may be built in or movable

3.	Prints - similar to above

4.	Audiovisual materials and special books

5.	Tools used in construction

6.	Unfinished 3-dimensional work

C.	Instructional board - at least 6 linear feet

D.	Bulletin boards - all available wall space - at least one full wall

E.	Display facilities for projects, glass covered in studio and hall

F.	Work benches, tilt-top tables, and easels as selected by instructors, movable to permit flexible grouping, with accommodations for:

1.	Teachers’ desk and storage area

2.	Provision for hanging mobiles from ceiling

G.	Doorway opening at least 42 inches wide

H.	Duplex outlets along wall spaces and above work counter - no less than 12

I.	All electric and gas kilns hooded and mechanically ventilated when in use

J.	A ceramic kiln co-located with each general art classroom

K.	A combustible storage cabinet properly ventilated

L.	Provide general and/or local exhaust to remove fumes, odors, gases and other contaminants to maintain negative room pressure to adjacent areas

505.06		Storage Room

300 to 400 square feet, to include shelves for paper, paints, and supplies; also for unfinished work which cannot be stacked, such as wet paints, prints, and ceramics.  Special shelf in studio or storage room for unfinished constructions, at least 20 linear feet.

506	BUSINESS EDUCATION FACILITIES

506.01		All Purpose Business Education Room

This room would be needed for a small school (up to 150 business students per day) with only one business teacher.  Therefore, it is necessary to provide adequate space to store, maintain, and use a vast amount of equipment and supplies.  The room consists of the following:

A.	Equipment oriented instructional lab area for courses such as Business Computer Applications and Keyboarding

B.	Multipurpose classroom instructional area for courses such as Introduction to Business and Marketing, Bookkeeping, and Business Math

C.	Storage for teaching materials, supplies, and student references

D.	Teacher’s desk and demonstration center

E.	Convenient outlets on walls above the work area should be installed.

506.011	Size

1200 to 1400 square feet - 60 to 70 square feet per student

506.012	Design Capacity - 25 students per session

506.013	Location

In the central core of the building

506.014	Activities

Lecture, small group or class discussions; view projected materials; conferences of small groups of students; display student projects or work; store partially completed student projects; store instructional supplies; listen to recordings, podcasts, and broadcasts; write and transcribe notes; operate keyboarding equipment/computers and other business equipment.

506.015	Equipment Space and Facilities

See Chapter 3, Sections 302. 01 and 302.02 and Chapter 5, Section 503.05.

507	FAMILY AND CONSUMER SCIENCES (FACS) FACILITIES

The middle school family and consumer sciences facility consists of one large multipurpose room with adequate space to carry out a comprehensive curriculum.  The facility should be designed to allow students to actively explore areas not limited to, but including good nutrition, wellness, textiles, housing, consumer education, personal development and family relationships, and careers.  The facility should encourage group work, project-based learning, and problem solving.

507.01		FACS instructional size and space

Ideally the middle school FACS facility consists of one large multipurpose room with adequate space to carry out a comprehensive curriculum.

Description of Facility					Space - Sq.Ft.			Design

Capacity

One multipurpose room should provide 60-		60-70 per student		25

70 square feet per student (recommended

25 students per class).  A peripheral arrange-

ment of fixed equipment or furnishings

extending into the room promotes

flexibility in the use of space.  Equipment

is arranged in relation to point-of-use to

prevent congestion.  Five feet is allowed

between tables for students to pull out chairs

and be seated and to permit instructor supervision.

Teacher Conference/Office Area			100-150

TOTAL SQUARE FEET				1600-1900

507.02		Design Capacity - 25 students (Lab); 25 students (Classroom)

507.03		Location

Facilities should be located on the ground floor, preferably near an outside entrance for:

A.	Convenient delivery of groceries and instructional materials

B.	Convenient installation and removal of large equipment

C.	Easy accessibility for individuals with disabilities

D.	Easy accessibility for parents and other visitors

FACS facilities may be placed near social studies instructional spaces, science laboratories, and art centers to facilitate coordination of subjects.

507.04		Activities

Viewing videos and other projected materials; class discussions; lectures; demonstrations; individual, small or large group activities such as career and technical organization activities; selecting, planning, implementing, and evaluating varied student projects; preparation of teaching materials and planning of program activities.

507.05		Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02 and the following requirements.

A.	Multipurpose tables - 28x42x60- minimum of 5 feet between tables

B.	Multipurpose chairs - 1 per student

C.	Provisions made for blinds, shades, and/or draperies at the windows to control classroom light levels.  For efficient use of projection-type materials, the light in the room should not exceed one-tenth footcandle.

D.	Electrical needs

1.	A separate electric control panel for the facility located in or adjacent to the FACS department.

2.	Sufficient grounded electrical outlets located near the point-of-use to accommodate use of many pieces of equipment at one time.

3.	Ample switches and outlets provided on each wall in each room

E.	Plumbing needs

1.	Adequate and properly located plumbing connections provided for the equipment as per the International Plumbing Code

2.	Continuous supply of hot and cold water provided; separate hot water heater and water softener may be needed

F.	Sufficient space provided for easy movement of students and instructor

G.	Major floor area of each room free of heavy or permanently fixed equipment to allow for flexible room arrangement

H.	Doors placed to prevent interference with traffic patterns

I.	Instructional boards, bulletin boards, and other display areas - a minimum two-thirds of available wall space - at least 8 linear feet of instructional board and 15 square feet of bulletin board space per room

J.	Tables and chairs for seating of entire class - can be rearranged for small or large groups and for demonstrations as needed

K.	Storage needs - Both general storage and storage within the instructional areas are provided.  The two most commonly used types of storage arrangements are: (1) the separate storage room and (2) cabinets and/or open shelves within the classroom.  Some advantages to the separate storeroom are: leaves more wall space within the classroom and frees floor space for flexible arrangement when items not in use are placed in the storeroom.  A combination of the two types is desirable with a separate room for storage of large equipment, which is not used frequently, and cabinets in the classroom for student items, small equipment, and frequently used teaching materials.

1.	Shelving conveniently spaced and/or adjustable to fit the size and shape of equipment to be stored, such as portable sewing machines, reference books, audiovisual equipment, and small equipment items

2.	Drawers of a depth to serve the materials or equipment to be stored

a.	Mobile base cabinets providing additional work space and allowing for more flexibility in room arrangement

b.	Heavy articles stored at a carrying level

c.	Movable trays or pullout sections used instead of shelves to facilitate removing articles

d.	Total amount of storage space expanded by using items such as “lazy susan” shelves, divided drawers, vertical shelves, and stair-step shelves

e.	Closed storage space provided for items that need to be protected, are not used frequently, or may detract from the appearance of the room

f.	Cabinets with locks provided for storage of items such as electrical appliances, portable sewing machines, food, and audiovisual equipment

g.	Storage units located near the department’s entrance for temporary storage of students’ books and personal belongings

h.	Storage space provided for cleaning supplies and equipment

L.	Teacher/conference area - located in a designated area of the all-purpose room.

1.	Teacher’s desk and chair

2.	Lockable storage for teachers’ belongings

3.	Open and closed adjustable shelving - minimum 30 linear feet

4.	4 drawer file cabinet

5.	Electrical outlet by each teacher’s desk

M.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

507.06		Nutrition and Foods Specialized Equipment and Facilities

A.	At least two kitchen units arranged in patterns (U-type, L-type, one wall, island, corridor) to simulate home conditions.  Kitchen units are arranged for easy supervision by the teacher.  Upper peninsular cabinets and range hoods that block the teacher’s view are avoided.

1.	Each unit kitchen consists of: double sink, range, microwave, convection oven, base and wall cabinets, and 10-12 linear feet of work surface, excluding sink and range

2.	24 to 30 inches of base cabinets recommended at the left of each range and left and right of the sink; also allow space for mixing centers

3.	Sink located between range and mixing centers in each unit

4.	Waste disposal included in one unit

5.	Dishwasher included in one unit

6.	24 to 30 inches of counter work space provided for each student working in a unit kitchen.  Adequate storage for basic equipment and supplies located in each kitchen unit with special equipment and food supplies located nearby.

7.	Exhaust ducts and/or range hoods with fans to pull odors and fumes out of the room.

B.	At least one 48 inches x 72 inches cabinet with adjustable shelves needed for storing extra supplies, equipment, and classroom materials

C.	Use of non-porous floor covering and finish for walls in unit kitchens

D.	Minimum of 3 electrical outlets per kitchen unit needed

E.	Refrigerator, with freezer compartment, accessible to kitchen units - 24 to 36 inches of counter space provided adjacent to the latch side of the refrigerator

F.	Microwave oven - 1 or 2

G.	Fire extinguisher, blanket, and first aid kit

507.07		Laundry Area

A.	Stackable automatic washer and electric dryer, with dryer vent recommended to be exhausted to the exterior

B.	36 inches of counter space

C.	Base and wall cabinet for storage

D.	Located in a space which allows for class demonstrations

507.08		Textiles/Clothing/Housing Area

A.	One portable sewing machine per 3 students, which must be stored when not in use.

1.	Each sewing machine and chair/stool provides a minimum of 3 feet for pull out space

2.	Facility planned so that sewing machines can be stored when not in use to free space for multiple uses

3.	Grounded electrical outlet available for each machine

B.	Pressing areas - one for each 10 students.  These include:

1.	Ironing boards

2.	Steam irons

3.	Grounded electrical outlet in each pressing area

C.	Lockable storage

1.	Cabinets for tote trays located near the entrance.  One tote tray per student - 4 3/4 inches x 12 inches x 18 inches.  Top of upper tote tray should not be more than 60 inches from the floor.

2.	Cabinets or walk-in closet for the storage of equipment, samples, portable machines, and other materials and supplies.

508	FOREIGN LANGUAGE FACILITIES

Factors influencing the type of foreign language facility to be chosen include the type of laboratory facility desired.  Laboratory facilities can be an electronic classroom, a language laboratory into which students are scheduled from classes held in general purpose classrooms, or general-purpose classrooms adapted for foreign language study.

508.01		Electronic Classroom

508.011	Size

35 square feet per student, exclusive of storage space

508.012	Design Capacity

Allow five percent more stations - maximum class size 25.

508.013	Location

Near media center, and isolated from noisy areas of building, and meets ASHRAE and ASA standards.

508.014	Equipment Space and Facilities:

See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

A.	Conference-type tables and chairs that can be moved to facilitate conversation and collaborative learning

B.	Student seating

1.	Stationary tables wired to reproduce sound from console and movable chairs

2.	Overhead wiring on droppable units to reproduce sound from console and combination chair-desks (This type installation needs fewer square feet per student than stationary tables).

C.	Duplex electrical outlets on all feasible walls

D.	Book shelving - minimum of 20 linear feet

E.	Provision for darkening room

F.	Microphones, one per station

G.	Headsets, one per station

H.	Jack and plug to place sound track from 16 mm projector into classroom sound systems, desirable

508.02		Language Laboratory

508.021	Size

35 square feet per student, exclusive of storage space

508.022	Design Capacity

Allow five percent more stations - maximum class size 25 students

508.023	Location

In center of, or adjacent to, foreign language classrooms.

508.024	Activities

Language laboratory drill and recording

508.025	Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02; Chapter 5, Section 503.05; and the following requirements.

A.	Stationary booths and movable chairs for students

B.	Headsets, one per station

C.	Microphones, one per station

D.	Provision for darkening rooms

508.03		Teacher Work Area

508.031	Size

Area as needed, approximately 250 square feet

508.032	Design Capacity

Two instructors and several students

508.033	Location

Opening into language laboratory or classrooms

508.034	Activities

Preparation of instructional materials, small group activities, reading, and grading.

508.035	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements

A.	Desk and chair per teacher and/or work station with computer- 1

B.	Legal size filing cabinet per teacher - 1

C.	Lockable storage for instructor’s personal belongings

D.	Table or movable cart for audiovisual equipment

E.	Conference table and chairs

F.	Instructional board and bulletin board, minimum of 5 linear feet each

G.	Storage for instructional aids

H.	Soundproof area for recording tapes

509	TECHNOLOGY EDUCATION FACILITIES

Factors influencing the location include providing location for easy delivery of instructional supplies, equipment and materials, some of which are bulky and heavy; design of laboratory to permit some change in individual room areas as activities are developed.  The assistance of specialists should be secured to adequately plan this suite.  Technology education programs include instruction in the areas of communication, transportation, construction, and manufacturing.

509.01		Technology Education Production Laboratory

509.011	Size

The area should be approximately 950-1000 square feet

509.012	Design Capacity - 25 students

509.013	Location

A.	Direct access from the building corridor

B.	Direct access to other rooms in the technology education suite

509.014	Activities

The laboratory facility will need to provide space for layout, measurement, cutting, forming, and fabricating using a variety of materials (e.g., wood, metal, plastics); space for using and caring for hand tools and a variety of machines; and space for finishing various materials.

509.015	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements

A.	The major floor area should be free of heavy or permanently fixed equipment to allow for flexible room arrangement

B.	A minimum of 2 work stations, with underneath storage

C.	Maximum work counter and cabinet storage space

D.	Wall mounted lockable tool panels, if a tool room is not available

E.	Windows should be high enough to permit installation of equipment along outside walls

F.	Ceiling electrical grid system for 110-volt power to machines with master switches and with adequately marked emergency shut-off switch.

G.	Adequate electrical wall outlets for power equipment and tools

H.	Facilities for removal of chips, dust, and harmful fumes

I.	Door to corridor, minimum 48 inches wide

J.	A sufficient number of fire extinguishers of the proper types and sizes as per the NFPA Life Safety Code

K.	Wash area for personal cleanliness and preparation and cleaning of tools and supplies

L.	Lighting shall meet IES standards

509.02	Technology Education Communication Laboratory/Classroom

509.021	Size

Determination of size depends upon the number of students and related activities, varying from 75 to 100 square feet per student.

509.022	Design Capacity - 25 students

509.023	Location

Direct access to production laboratory to provide for easy supervision.

509.024	Activities

Classroom instruction, project planning, small group activities, and a clean environment for instruction and activities with equipment such as computers, robotics, electronics, lasers, and a large open space for construction of group projects.

509.025	Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02 and the following requirements.

A.	Glass walls or windows in wall facing laboratory to provide for easy supervision

B.	Instructional board - 20 linear feet minimum, and bulletin board - 10 linear feet

C.	Maximum counter and cabinet storage space along walls (Some of this space may be used for computers.  If so, height needs to be adjusted accordingly.)

D.	Windows should be high enough to permit installation of counters along outside walls

E.	Provisions made for blinds or shades to allow for showing of audiovisual materials

F.	Adequate electrical wall outlet strips for use of electronic equipment, computers and related peripherals

G.	Reconfigurable tables and chairs for 20-25 students

H.	Bookcase for reference and resource books; magazine rack

I.	Floors - tile

J.	Ceiling - acoustical-type finished ceiling

K.	If modular furniture is to be used, room layout needs to be planned accordingly

509.03		Instructor’s Office

509.031	Size - 100 to 150 square feet

509.032	Location

Convenient or direct access to production laboratory and communication laboratory.

509.033	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Teacher’s desk and chair

B.	Conference chairs - 1 or 2

C.	Storage

1.	Letter size, 4-drawer file cabinets - 2

2.	Open and closed shelving for supplies and references, 20-30 linear feet

D.	Minimum of 2 duplex outlets

509.04		Raw Material and Tool Storage

509.041	Size - 150 to 250 square feet

509.042	Location

Direct access to production laboratory

509.043	Activities

For storage of various types of stock, tools and other supplies necessary in the technology classroom.

509.044	Equipment Space and Facilities

A.	Storage racks for various types of stock.  Stock may be as large as 4 feet x 8 feet

B.	Adjustable shelving and cabinets for small items and portable electric tools

C.	Peg board for storage of hand tools

509.05		Project Storage

509.051	Size - 150 to 250 square feet

509.052	Location

Direct access to classroom laboratory

509.053	Activities

Limited to storage of student projects and supplies

509.054	Equipment Space and Facilities

A.	Provide maximum adjustable shelving 24 inches deep along walls

B.	Provide free floor area for storage of large items

509.06		Audiovisual Laboratory

509.061	Size - 150 to 250 square feet

509.062	Location

Direct access to classroom

509.063	Activities

Producing a variety of audiovisual materials such as mock radio and television segments.

509.064	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Maximum work counter space with storage underneath

B.	Electrical outlets along counter

C.	Soundproof from exterior influences

D.	Additional electrical outlets for equipment usage

510	MUSIC FACILITIES

Factors influencing the location of this complex include: isolation from quiet areas of the building; ease of isolating the area for use during and after school hours; inclusion in the general arts area with convenient access to the stage; and direct or convenient access to the outdoors.  Location of facilities within the suite should provide ease of supervision of all areas.  It is strongly recommended that an acoustical analysis be completed during construction and/or renovation of music facilities.  Acoustical treatment should provide proper sonic environment to prevent sound transmission to remainder of the building as per ASA standards. Cubic volume must be the first and foremost priority in the design of space for music facilities.

510.01		Music Studio

NOTE: Classroom/general music, choral, and instrumental studios may be planned as separate or combined facilities.  Ceiling height must be planned for acoustical purposes, including the effect of built-in or portable risers on ceiling height.  It is recommended that a choral rehearsal room have 350-500 cubic feet and that band/orchestra rehearsal rooms have 550-700 cubic feet. Assistance in design and planning may be obtained from the music specialist of the WVDE.

510.011	Size - 30 to 40 square feet per student

510.012	Design Capacity - 25 students for general music classrooms, larger areas must provided for band, orchestra, and choral instruction

510.013	Location

Direct access to instrumental storage

A.	Direct or convenient access to other rooms in the music suite

B.	Isolated as much as possible from quiet areas of the building

510.014	Activities

Instruction in classroom/general music, choral and instrumental music; viewing instructional technology; listening to recorded music; dance movement common to show choir; demonstrations of various types of instruments; writing or drawing on instructional board, and display materials.

510.015	Equipment Space and Facilities

See Chapter 4, Sections 302.01 and 302.02, and the following requirements.

A.	Instructional board - 30 linear feet, maximum, on front wall of which at least 8 linear feet is etched with staff lines

B.	Bulletin board - 8 to 10 linear feet, located near entrance

C.	Storage for vocal and instrumental accessories

1.	Wall cabinets for music folders

2.	Open shelving for instructional materials, 12" deep and 12" clear height; 40 linear feet

D.	Music chairs with folding tablet arms

E.	Music stands

F.	Director’s podium

G.	Recording device

H.	Conference/work table

I.	Legal size, 4-drawer filing cabinets - 2-3

J.	Wide door with flush threshold for moving large instruments to and from the studio

K.	Microphone outlets for recording in the studio - 2 or 3

L.	Stereo sound reproducing system with a minimum capacity of 40 watts - 20 watts per channel

M.	Electronic piano and bench

N.	Pupil wardrobes

O.	Availability of instructional technology equipment

P.	Instructor’s desk with lockable storage

Q.	Appropriate acoustic wall and floor covering and ceiling tile, which is mold and microbial resistant

R.	Adequate wiring for electronic keyboard lab and general music instruction

510.02		Practice Room - Optional

510.021	Size - 50 to 60 square feet each

510.022	Design Capacity - 2 to 4 students

510.023	Location

A.	Convenient access from other music rooms

B.	Access to instrumental storage without passing through studio

C.	Convenient access from building corridor

D.	Permit ease of supervision

E.	Practice rooms should be located by themselves in a group with a music library or storage room between them and the rehearsal hall.  Adjacent walls must be avoided in practice rooms unless sound-absorbing treatments have been used that is effective at low, middle and high frequencies.

510.024	Activities - Vocal and Instrumental Practice

510.025	Equipment Space and Facilities

A.	Chairs and music stands - 2 or 3

B.	Glazed partition of insulating glass for ease of supervision

C.	Acoustical treatment

D.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

510.03		Instructor’s Office and Library

May be separate rooms or combination.

510.031	Size - Approximately 250 square feet

510.032	Design Capacity - 2 instructors and 6 students

510.033	Location

A.	Direct or convenient access to other music rooms

B.	Permit ease of supervision of studio and auxiliary rooms

510.034	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Instructor’s desk and chair

B.	Legal size, 4-drawer filing cabinets - 3 or 4

C.	Lockable storage for instructor’s personal belongings

D.	Instructional board and bulletin board - 6 to 8 linear feet each

E.	Conference table and chairs

F.	Storage for printed music, records, tapes and other instructional aids

1.	Open shelving - 15 to 20 linear feet

2.	Closed shelving - 30 to 40 linear feet

G.	Stereo sound reproducing equipment

H.	Music sorting rack

510.04		Lockable Instrument Storage

510.041	Size - Approximately 350 square feet

510.042	Provide storage shelving necessary to accommodate instruments of various sizes.

510.043	Year-round temperature between 68-75ºF and humidity less than or equal to 50% rH shall be maintained by a quiet air system.

510.05		Robe and Uniform Storage

May be in portable wardrobes or separate rooms, ventilate as needed.

511	PHYSICAL EDUCATION FACILITIES

Factors influencing location include: Isolation from quiet areas of the building, direct access to the outside, and provision for closing off the area for after-school use.

511.01		Gymnasium (Physical Education Learning station)

511.011	Size

Determination of size is dependent upon physical education spaces to be located - 5400 square feet minimum.  Floor area should be marked for various games.

511.012	Design Capacity - Maximum of 70 students at 77 square feet per student.

511.013	Location

Convenient access from locker and shower rooms.

511.014	Activities

Include soccer, volleyball, basketball, football, softball, folk and square dance, gymnastics, and other activities to meet the county curriculum.  Recommend junior high basketball court (50 feet x 84 feet) with some spectator seating.  The gymnasium should have a minimum of a 24 foot clear unobstructed room height.

511.015	Equipment Space and Facilities

See Chapter 3, Section 302.05, and the following requirements

A. 	Provisions for using the learning center as 2 or more teaching stations may require canvas-net partition, folding door partition or mechanical folding walls.

B.	Electrical outlets, CD/Tape player, record player, auxiliary lighting, and cleaning equipment.  Additional special outlets.

C.	Small cases for display purposes - 2 or 3

D.	Bulletin board - 12 to 16 linear feet

E.	Drinking fountains

F.	Comfortable, low-wall seating

G.	Wood gymnasium floor or equal.  Wood flooring must be provided humidity monitoring through the building monitoring and control system.

511.02		Gymnasium Equipment Storage Rooms

At least 2 in each station.

511.021	Size - Area adequate to store all equipment

511.022	Location

Directly accessible to each teaching station when the station is divided.

511.023	Equipment Space and Facilities

A.	Open storage area for items such as standards, vaulting horses, and horizontal bars

B.	Enclosed storage cabinets for small items of physical education equipment

C.	Double doors and flush threshold

511.03		General Storage

511.031	Size

Large enough to store all equipment

511.032	Location

Direct or convenient access to learning station

511.04		Male and Female Locker/Dressing Rooms

NOTE:	Recommend treatment of walls in these areas with epoxied materials to enhance maintenance.  Also similar floor materials.

511.041	Size

Dependent upon manner in which gym clothing, street clothing, and towel distribution are handled and the number of students expected to use this facility, 600-700 square feet.

511.042	Location

A.	Direct or convenient access to learning station

B.	Direct access to outside physical education areas

C.	Direct access to building corridor

D.	Direct access to body-drying room

E.	Permit ease of supervision

511.043	Activities

Dressing for physical education; storing street and gym clothes; informal talks with physical education instructors.

511.044	Equipment Space and Facilities

A.	Street clothes lockers dispersed among gym clothes lockers

B.	Space for additional lockers

C.	Benches adjacent to or between rows of lockers

D.	Small restroom or partitioned area with toilet, lavatory, and urinal

E.	Mirrors to accommodate large number of students, shelving under each mirror and one full-length mirror

F.	Bulletin board near entrance - 4 to 8 linear feet

G.	Instructional board - 6 linear feet

H.	Drinking fountain

511.05		Male and Female Shower Rooms

511.051	Size - Approximately 200 square feet

511.052	Location

Access to locker/dressing room only through the body-drying room

511.053	Equipment Space and Facilities

A.	Group showers

B.	Master water volume and maximum temperature controls

C.	Individual water temperature and on-and-off controls

D.	Antibacterial soap dispensers

E.	Mechanical ventilation

F.	Easily cleanable construction

G.	Floor drains away from normal traffic

H.	Hose bibb for hot and cold water

I.	Walls of non-absorbent material

NOTE:	Individual dressing, drying, and showering booths must be provided in female shower area.

511.06		Male and Female Body-Drying Rooms

511.061	Size - Approximately 100 square feet

511.062	Location

A.	Direct access from locker/dressing and shower rooms; entries to require maximum travel distance through drying room

B.	Direct or convenient access from locker/dressing room

511.063	Equipment Space and Facilities

A.	Towel holders

B.	Floor drains away from center

C.	Ventilation

D.	Easily cleanable construction

E.	Hose bibb for hot and cold water

511.07		Towel Room - optional

511.071	Size - 50 to 60 square feet

511.072	Location

A.	Convenient to the locker/dressing and shower areas

B.	Permit ease of supervision from locker/dressing area and instructor’s office

511.073	Activities

Temporary storage, distribution and collection of towels.

511.074	Equipment Space and Facilities

A.	Shelving to accommodate laundered towels

B.	Movable laundry carts to accommodate used towels

C.	Dutch door for issuing and receiving towels

511.08		Laundry Area - optional

511.081	Size - Approximately 100 square feet

511.082	Location

Convenient to physical education and dressing rooms or areas

511.083	Activities

Launder and dry gym clothing.

511.084	Equipment Space and Facilities

A.	Washing machine

B.	A dryer that is vented to the exterior

C.	Laundry tub

D.	Separate work surface for handling both clean and soiled clothing and equipment

511.09		Instructor’s Office - 1 For Each Instructor

511.091	Size - Approximately 100 square feet

511.092	Location

A.	Direct access to locker/dressing room

B.	Direct or convenient access to gymnasium and outdoor physical education areas

C.	Permit ease of supervision of locker/dressing rooms

511.093	Activities

Instructor’s showering, toilet, and dressing.

511.094	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Restroom, lavatory, and shower

B.	Desk and chair

C.	Conference chairs

D.	4-drawer filing cabinet

E.	Storage of personal belongings

F.	Book shelving - 10 to 15 linear feet

G.	First aid equipment

511.10		Training Area - Optional

511.101	Size - 200 square feet

511.102	Location

Convenient to locker/dressing rooms.

511.103	Activities - Care of Body

511.104	Equipment Space and Facilities

A.	Whirlpool connections that are code appropriate

B.	Rub-down table

C.	Heat lamps

D.	Supply cabinet

511.11		Equipment Storage Room

511.111	Size - Approximately 200 square feet

511.112	Location

Convenient to locker/dressing rooms.

511.113	Activities

Uniform and equipment storage.

512	SCIENCE FACILITIES

Items to be considered in locating these facilities are: Ease of access to outdoor areas, ease of delivery of supplies and materials.

Return air from science labs/classrooms should not be recirculated into other areas of the building.  Science labs/classrooms shall be designed in accordance with WV Fire Marshal’s requirements.  They shall maintain a negative pressure to adjacent areas.

512.01		Integrated Science Classroom/Laboratory

512.011	Size

Base preliminary determination of area on allotment of 50 square feet per student; minimum 1200 square feet, exclusive of separate storage room.  A base preliminary determination of area on allotment of 45 square feet per student is recommended for a stand-alone laboratory.  An additional space of 15 square feet is required for each computer station.

512.012	Design Capacity - 25 students

512.013	Location

A.	Direct access to project preparation room

B.	Direct or convenient access to storage and growing room.  Growing room facilities may be included in instructional space laboratory.

C.	Convenient access to other rooms in the science suite.

512.014	Activities

Instruction and demonstrations; class-size and small group discussion; individual and small group experimentation; viewing projected materials; use of instructional technology inclusive of, but not limited to microscopes, probes, computers, data collection devices, graphing calculators, etc.; writing or drawing at tables and instructional boards; individual study and research; displaying student projects.

512.015	Equipment Space and Facilities

See Chapter 3, Sections 302.01 and 302.02, and the following requirements.

A.	Instructional board - 20 to 30 linear feet, chart and display rail above.  Instructional boards with sliding panels are recommended.

1.	Minimum of 40 inches clear height

2.	Major portion on front wall

B.	Bulletin board - 10 to 12 linear feet, chart and display rail above

C.	Work counter - 40 to 50 linear feet minimum, and must have student work space to accompany it

1.	Six acid-resistant sinks with hot and cold water

2.	Impervious work surface

3.	Gas and electricity

4.	Storage under work counter

5.	Movable aquariums and terrariums

D.	Closed shelving - 30 to 40 linear feet, 18 inches deep

E.	Open shelving - 15 to 20 linear feet

F.	Instructor’s demonstration table including sink, hot and cold water, gas, and electricity.  Student workspace of 2½ linear feet per student may be provided as equivalent student workspace, which is not as restrictive as combination desk-chairs. Student desks are to be flat-topped and not tablet-armed.

G.	Student tables and chairs – 2

H.	Teacher’s desk and chair

I.	Facilities for darkening room for experiments and demonstrations

J.	Projection screen

K.	Portable fume hood

L.	Fire extinguisher and blanket

M.	Eyewash station(s)

N.	First Aid Kit

O.	Goggle sterilization and storage cabinet

P.	Hand wash station

Q.	Emergency gas shut-off valves located in a readily accessible location

512.02		Integrated Science Storage

Shared storage areas recommended in multiple laboratory situations. Storage area must be lockable.

512.021	Size - Approximately 200 square feet

512.022	Location

A.	Direct access from project preparation room

B.	Direct or convenient access from instructional space laboratory and growing room

512.023	Equipment Space and Facilities

Maximum varied height and depth, adjustable shelving (150 linear feet minimum). Storage must be appropriate for laptops, data collection hardware, probes, GPS, GIS, and other technology equipment.

512.024	Chemical Storage Area

A.	Acid/Corrosive storage cabinet with proper venting to the exterior

B.	Flammable storage cabinet

C.	Adjustable shelving of varied heights and depths

D.	Ventilation system to maintain a negative pressure to adjacent areas

512.03		Project Preparation Room.  May be planned as combination with storage area.

512.031	Size - Approximately 200 square feet

512.032	Design Capacity - Instructor and 6 students

512.033	Location

Direct access from instructional space laboratory and from building corridor.

512.034	Equipment Space and Facilities

A.	Acid-resistant work surface with acid-resistant sink, hot and cold water, gas, and electricity

B.	One porcelain deep sink with hot and cold water

C.	File cabinet

512.05		Greenhouse (Optional)

512.051	Size - minimum of 22 feet x 48 feet

512.052	Location

A.	Convenient access to other program facilities.

B.	Should be located to receive full sunlight during winter.

C.	Aisles must be wide enough to accommodate handicapped students.

512.053	Equipment Space and Facilities

A.	Frost-proof hose bibs

B. 	GFCI outlets as per NEC

513.06		Nature Trail (Optional)

513.061	Nature trail or natural area

A.	Indigenous flora

B.	Pavilion with table and benches

C.	Weather station

D.	Sun dial

512	LIBRARY/LEARNING RESOURCE OR MEDIA CENTER

See Chapter 3, Section 305.

513	STUDENTS WITH EXCEPTIONALITIES - INSTRUCTIONAL AREAS

See Chapter 7.

514	COMPUTER LAB (Optional)

See Chapter 3, Section 302.03.

515	ELECTRONIC TECHNOLOGY LABORATORY - Optional

Whenever feasible, the use of technology in education will be integrated within the individual classroom, but there is a need for a demonstration/lecture laboratory to house equipment that may be utilized by all teachers and students.  This laboratory will employ present day and futuristic applications of educational technology by exploring the areas of: computer controlled capability with use of a data projector; distance learning and tele-conferences allowing interactive experiences; and authoring or production capabilities to develop programs and courseware for in-house applications.  Ideally, the middle school instructional technology facility consists of one large room with a platform area for teacher demonstration/lecture and adjacent control room.  This facility may also be used for large group instruction.

515.01	Electronic Technology Complex

515.011	Size - Approximately 2000 square feet

515.012	Design Capacity - 75 students

515.013	Location

Near media center and isolated from noisy areas of building

515.014	Equipment Space and Facilities

See Chapter 3, Section 302.01 and 302.02, and the following requirements.

A.	Dustless marking boards, approximately 10 linear feet

B.	Bulletin board, approximately 10 linear feet

C.	Storage

1.	Teachers’ storage for personal belongings

2.	Closed and open shelving, approximately 50 linear feet of each

3.	Tape rack and storage cabinet

4.	Disc rack and storage cabinet

D.	Platform area, minimum 8 inches raised flooring for wiring

E.	Adequate conduit throughout room to distribution panel

F.	Adequate electrical outlets

G.	Teacher station/console with control panel and phone line

H.	Appropriate acoustical treatment depending on use of lab

I.	Wall mounted monitors

J.	Ceiling mounted data projector

K.	Microphones - 1 per student station

L.	Color correct lighting for video production and viewing

M.	Adjustable lighting levels

N.	Pull-down screen in platform area

O.	On/off air sign at doors

P.	Student seating - stationary tables and movable chairs

Q.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

R.	Broadcast-quality audio

S.	Satellite receiving equipment, microwave, and/or fiber optics

WVBE

515.015	Control Room

A.	Size - approximately 150 square feet

B.	Down linking capability

C.	Up linking capability (when justified)

D.	Broadcast capability

515.016	Activities

Tele-computing concepts to access the Internet, data bases; interactive applications; usage of electronic music keyboards, microscopes, video cameras, etc.; tele-conference allowing live interactive classes.  A video production engineer should be consulted when laboratories are designed for video production.

516	ADMINISTRATIVE AND SERVICE FACILITIES

See Chapter 3, Section 303.

517	FOOD SERVICE FACILITIES

See Chapter 3, Section 304.

518	ENGINEERING AND CUSTODIAL FACILITIES

See Chapter 3, Section 306.

519	STAGE

Locate for use in relation to the gymnasium or dining area for spectator seating.  Must have convenient access to language arts and music instructional space and physical education locker/dressing rooms to permit use as stage dressing rooms.

A.	Provide at least 800 square feet of permanent or portable stage area.

B.	Two entrances to the stage, one direct from the building corridor.  Entrances are to be double-door size.

C.	Stage location should be one, which makes instructional spaces accessible for use as stage dressing rooms.

D.	Proscenium opening should be approximately one-half the width of the body of the multipurpose room.

E.	Stage curtains of fire resistant materials; portable or permanent acoustical paneling, cyclorama, and video projection screens should be part of the stage equipment.

F.	Lighting facilities with controlled illumination.

G.	5 to 10 grounded duplex electrical receptacles should be provided in the stage area.

H.	Storage for electronic and stage equipment.

I.	Every stage equipped with rigging for movable theater-type scenery and every enclosed platform larger than 500 square feet in area shall have a system of automatic sprinklers in accordance with the state fire code.

Chapter 6

ADOLESCENT/HIGH SCHOOL EDUCATION 9-12

600	ADOLESCENT/HIGH SCHOOL EDUCATION 9-12 CENTERS

All modular and detached classroom structures must meet the requirement of this policy for the intended space.

Where design considerations permit, the facility will be constructed in a manner that encourages the use of natural light.

600.01		Size of Centers

An educational facility should be large enough to take advantage of reasonable economies of operation, comfortably accommodate the inhabitants, and support the educational program.  Other factors such as density of population, availability of sites, and transportation make it difficult to generalize about optimum size.

600.02		Selection of Furniture and Equipment

600.021	Classroom furniture and equipment should be considered during the initial planning stage and should be selected on the basis of its contribution to, and compatibility with, the total educational program.

600.022	Criteria for selection should include the following:

A.	Appearance

B.	Maintenance

C.	Safety and Security

D.	Comfort

E.	Durability

F.	Building Codes

G.	Guarantees

H.	Flexibility

I.	Availability

J.	Cost

600.03		Allow 130 square feet per student, unless factors such as enrollment or architectural design permit otherwise as determined by the WVDE.  Square footage of facilities funded by SBA will be established in accordance with SBA Guidelines and Procedures Handbook.

600.04		The size and type of facility will be determined by the number of students and the instructional program.

600.05		Centers shall be planned for a minimum of 800 students, 200 students per grade level.

601	PLANNING PROCESS

601.01		The adolescent/high school programs and facilities should accommodate such programs that are the result of careful, complete, and creative planning.  Careful planning of curriculum will be required to have equal access to comprehensive educational programs, which include career and technical as well as academic programs.  Please refer to Chapter 8 for specific guidelines for career and technical programs. Refer to Chart V - Electives Adolescent 9-12, 126CSR42 WVBE Policy 2510 when planning technical course offerings.

601.02		The planning process is essentially identical for all types of educational environments.  It involves identifying the users, describing the learning activities and their desired outcomes, defining the relationship of one learning space to others, describing needed equipment and furnishings, and specifying special environmental considerations.

601.03		Educational specifications shall be prepared to include a careful computation of room, area, and building capacities required to offer programs of study as outlined in the Master Plan and WVBE Policies 2510 and 2520.  Consideration should be given to changing various learning spaces and activity areas.  Additional educational specification requirements can be found in the SBA Guidelines and Procedures Handbook for new schools or schools with major additions funded by the SBA.

601.04		Departmentalization, specialization of instructional spaces, elective subjects, and scheduling are factors to be considered in determining the number of teaching stations.  In determining the number of teacher stations, consideration must be given to the number of students with exceptionalities served in special education environments for specific subject areas.

NOTE: The following formula considers only the number of students; none of the above are considered.

A.	The number of teaching stations needed may be determined by applying the following formula to each subject area.  (When general-purpose instructional spaces are considered interchangeable for different subject areas, the calculation may be made for a group of subject areas.)

B.	The basic formula

Number of students				Number of periods

Number of		enrolled in subject		x		per week in subject

Teaching	=	______________________________________________________

Stations		Desired average		x		Number of periods

class size					per week each

teaching station

can be used

C.	Example of tenth grade social studies:

Number of		200 students enrolled		x		5 periods per week

Teaching	=	______________________________________________________

Stations		25 students per class		x		30 periods of use

of teaching station

1,000 student-periods of instruction

=	______________________________________________________

750 student-periods that can be provided in one teaching station

=	1.4

D.	The formula may also be adopted to determine the student capacity of a proposed school building.

601.05		The student capacity of a school building is affected by the educational program; it changes each time the program is modified.

602	ESSENTIAL INSTRUCTIONAL TECHNOLOGY FOR ADOLESCENT/HIGH SCHOOL EDUCATION 9-12 CENTERS

See Chapter 3, section 302.

603	GENERAL PURPOSE (ACADEMIC) CLASSROOMS OR INSTRUCTIONAL AREAS

Rooms should be designed to serve specific needs of language arts, foreign language, mathematics, social studies, and certain other subject areas.  They should also be designed to permit interchanged use, as program needs demand.

603.01		Size

Base preliminary determination of area upon an allotment of 28 to 30 square feet per student.  For example: 700 to 750 square feet of floor area should be planned for 25 students in an instructional space.  The area of the standard high school classroom must be at least 840 square feet to accommodate the requirements of the 21st Century learning activities; however, the designed space may be reduced specific to the educational specifications and the student population projections with the prior approval of the  WVDE OSFac.

To more accurately determine the area, trial room layouts should be made using scaled templates representing furniture and equipment and scaled floor and wall elevation drawings.

603.02		Design Capacity - 25 students

603.03		Location

Isolation from noisy areas of the building

A.	Close proximity to the media center

B.	Location which will permit easy expansion

603.04		Activities

Speaking; laboratory activities, presentations, distance learning, virtual learning, group discussion; collaborative project-based learning, interactive boards, desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual and collaborative assignments are to be done with manipulative materials and a wide range of technologies.

603.05		Equipment Space and Facilities

See Chapter 4, Section 302.01, Section 302.02 and the following requirements.

A.	Instructional boards, bulletin boards, and other display areas - as much as possible, a minimum of two-thirds available wall space

1.	Instructional boards and bulletin boards should have map rails installed above

2.	The bottom of the display area should be at the eye level of the student when seated

B.	Student wardrobe

C.	Storage

1.	Lockable storage for teacher’s personal belongings

2.	Storage for teaching aids and supplies

a.	Closed and open shelving

b.	4 drawer filing space

D.	Teacher’s combination desk-table and chair

E.	Conference-type table and chairs

F.	Desks and chairs, or combination chair-desks

G.	Desirable equipment

1.	Corridor and classroom display areas for students’ work

2.	Rack for storage of periodicals pertaining to subject matter being taught

H.	Adequate provision for controlling the light level in instructional areas is essential.  For efficient use of projection-type materials, the light in the classroom should be low enough to maintain good projection surfaces.

I.	Duplex electrical receptacles should be installed on all walls of the instructional space for the use of instructional equipment.  Sufficient branch electrical circuits should be in each room.  Conduit or other provisions shall be installed to permit future use of instructional technology.

J.	Where there are specialized facilities, such as language labs, study carrels, microteaching and television, provision should be made for additional electrical service.

K.	A movable projection surface should be provided in each instructional area.

L.	Acoustical treatment of walls, ceilings and floors in instructional areas, media centers and other such areas, when audio devices are used.

M.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

604	SMALL GROUP INSTRUCTIONAL AREAS/CLASSROOMS

Specialized classrooms in the form of small or specially equipped instructional areas are provided in each facility.  These areas are not intended to be permanent classrooms; rather, they are intended for flexible and fluid targeted instructional activities.  Small group instructional areas should be designed for the provision of tiered, strategic, intensive or special education instruction to students in language arts, mathematics, science, social studies, and certain other subject areas.  These classrooms may be used as instructional areas for the provision of gifted services.

604.01		Size

Base preliminary determination of area upon an allotment of 30 square feet per student.  For example: 450 square feet of floor area should be planned for 15 students in an instructional space.  To more accurately determine the area, trial room layouts should be made using scaled templates representing furniture and equipment and scaled floor and wall elevation drawings.

604.02		Design Capacity - 15 students

604.03		Location

A.	Isolation from noisy areas of the building

B.	Close proximity to the media center

C.	Location which will permit easy expansion

604.04		Activities

Speaking, laboratory activities, presentations; group discussion; listening to audio presentations, podcasts and broadcasts; doing assignments on instructional boards or interactive boards, or at desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual assignments are to be done with manipulative materials or instructional technology.

604.05		Equipment Space and Facilities

See Chapter 3, Section 302.01 and Section 302.02 and Chapter 6, Section 603.05.

605	ART FACILITIES

Art facilities should accommodate the studio and classroom activities of a full art program.  Basic to all activities would be space allotment, natural and artificial light, movable furniture or furnishings, display space, several kinds of storage space, deep sinks with clean-out traps and adequate electrical outlets.

605.01		Size

Studio - approximately 1200 square feet, exclusive of storage.

605.02		Design Capacity

Recommended class size for studio activities - 25 students.  For maximum flexibility, the studio should accommodate up to 40 students on occasion.

605.03		Location

A.	Accessibility of freight elevator (if not first floor location) for heavy consumable materials such as clay and sculpture media.

B.	Need for uncarpeted floor in studio areas.  Floors should be of concrete, tile, linoleum or other material not easily damaged by paint or clay.

C.	Good lighting, both natural and artificial.  Natural light is important for many activities and essential for painting.

D.	Space should contain, or be accessible to, facilities for the use of slides and video.  Blackout curtains, projection facilities and chairs equipped with tablet arms.

E.	Power tools and equipment may, subject to local policy, be borrowed from or shared with career and technical education area.

605.04		Activities

Discussion, studio, lecture, combination.  Basic - drawing, painting, sculpturing, ceramics, design, art, history and appreciation and crafts.

605.05		Equipment Space and Facilities

See Chapter 3, Section 302.01 and Section 302.02, Chapter 6, Section 603.05 and the following requirements.

A.	Sink and work counter units

1.	Hot and cold water with mixing faucets

2.	No less than 2 deep sinks of stainless steel with long drainboards

3.	Large drains and clean-out traps

4.	Long counter for mixing paints and other such activities

5.	Storage for mixing pans, water jar, and brushes (under sink and counter)

B.	Special storage for:

1.	Drawing boards

2.	Shelves for storage of flat work, a minimum of 28 inches x 40 inches

3.	Prints (similar to above)

4.	Audiovisual materials and special books

5.	Tools used in construction

6.	Unfinished work

C.	Display facilities for projects - glass covered in studio and hall

D.	Work benches, tilt-top tables, and easels, as selected by instructors - movable to permit flexible grouping, with accommodations for:

1.	Teachers’ desk and storage area

2.	Provision for hanging mobiles from ceiling

3.	Kilns and potter’s wheels.  Kiln room - 8 feet x 10 feet is desirable for kiln, clay, glazes, equipment and shelves for work in progress.  Adequate electrical circuits, including  240 volts for kiln

4.	Press for graphics

E.	Dark room for photography, with mechanical ventilation

F.	Doorway opening at least 42 inches wide

G.	Duplex outlets along wall spaces and above work counter - no less than 15

H.	All electric and gas kilns hooded and mechanically ventilated when in use.  All new kilns must be electric.

I.	A ceramic kiln co-located with each general art classroom

J.	Provide general and/or local exhaust to remove fumes, odors, gases and other contaminants such as clay silica dust to maintain negative room pressure to adjacent areas and to protect the health of teachers and students

K.	Visual art facilities should comply with OSHA standards for storage.  Clay silica supplies should be stored in an area separate from other supplies.

605.06		Storage Room

Approximately 400 square feet is suggested for each full studio, to include shelves for paper, paints and supplies, and for unfinished work which cannot be stacked, such as wet paints, prints, and ceramics, with a special shelf in studio or storage room for unfinished constructions - at least 20 linear feet.

606	DRIVER EDUCATION FACILITIES

Designed to provide a comprehensive course in Driver Education and must include instructional space, laboratory, and storage areas.

606.01		Instructional Space

606.011	Size

A minimum of 28 to 30 square feet per student.  A room rectangular in shape is essential to adequately accommodate the projection of visual instructional materials and to station the students a minimum distance from the projection screen.

606.012	Design Capacity - 25 students

605.013	Location

For convenience and efficiency, this facility should be located on the ground level so as to permit easy access to automobiles used for behind-the-wheel instruction.

606.014	Activities

Lecture; group discussions; instructional board and interactive presentations; use of psycho-physical testing equipment; viewing slides, transparencies, and videos; studying charts, cut-aways, and models; and testing activities.

606.015	Equipment Space and Facilities

See Chapter 3, Section 302.01 and Chapter 6, Section 603.05

606.02		Teacher Study and/or Office Room

Teacher’s study and instructional space may be joined by a partition for security and accessibility with facilities for counseling students and lesson preparation, and storage space for personal belongings and records.

606.021	Size - 50 to 75 square feet

606.022	Location - Adjoining Instructional Space

606.023	Equipment Space and Facilities

See Chapter 3, Section 302.04.

606.03		Storage Room

Allow 20 to 25 linear feet of open shelving and 40 to 50 linear feet of closed shelving.  Instructional equipment, teaching aids, and supplies must be secured to prevent loss and to assure accessibility when needed.

606.04		Laboratory or Simulator Room - Optional

This room should be free of columns, which would obstruct the students’ vision of the screen.

606.041	Size

Installation of 12 simulator units and the master console requires an absolute minimum area of 38 feet x 25 feet

606.042	Design Capacity - 12 students

606.043	Location

Adjoining driver education instructional space and office storage room with direct access to other areas.

606.044	Equipment Space and Facilities

See Chapter 3, Section 302.01, Section 302.02 and the following requirements.

A.	Conduit for simulators and master control unit

B.	Provide means for darkening room

1.	Black-out shades for windows, if any.  Few or no windows are recommended.

2.	Multi-staged lighting control

3.	Two-way ceiling switch

C.	Electrical outlets along walls supplied with 120 volt, 60 cycle, 20 amp service

D.	Control sound as per ASA guidelines

E.	Instructor’s desk and chair

F.	Projection screen 12 feet x 16 feet for 16-place simulator system and 10 feet x 12 feet for 12-place system

G.	Storage area

H.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

I.	Room should not be painted white, which would result in excessive reflection of light.  A pastel shade of paint is recommended.

606.05		Multi-Media (Programmed Instruction) Instructional Space - Optional

This area could also be used for the regular instructional space.

606.051	Size

Approximately 33 feet long and 28 feet wide

606.052	Design Capacity

30 students with special or adapted furniture and the instructor’s console.  Equipment is available to accommodate larger groups.  An increase in class size will require a comparable adjustment in room size.

606.053	Location

Adjacent to driver education area

606.054	Equipment Space and Facilities

See Chapter 3, Section 302.01 and the following requirements

A.	Conduit and master console

B.	Provide adequate means for darkening room

C.	A minimum of 12 feet distance between students and screen.  The screen should not be viewed from more than a 30-degree angle.

D.	Electrical current - 120 volt, 80 amp service with 4 - 20 amp breakers

E.	Screen - 6 feet x 12 feet

F.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

606.06		Multiple-Car Driving Range - Optional

Intelligent planning of a multiple-car facility will provide acres of well-drained area.  The surfacing of this area with stone or asphalt requires careful consideration to assure stabilization without undue pavement deterioration due to climatic conditions, nature of the soil base, and drainage.

606.07		Planning the Multiple-Car Facility

These plans must include cost considerations, site selection and development, facility design, equipment, and instructional plan.  Consider use as parking for off-hour athletic or community use.

606.08		Planning Assistance

May be obtained from the WVDE, Division of Research, Technology, and Professional Services, Driver Education Coordinator.

607	FOREIGN LANGUAGE FACILITIES

Factors influencing the type of foreign language facility to be chosen include the type of laboratory facility desired.  Laboratory facilities can be an electronic classroom, a language laboratory into which students are scheduled from classes held in general purpose classrooms or general-purpose classrooms adapted for foreign language study.

607.01		General Purpose Classrooms Used for Foreign Language

607.011	Size - 28 to 30 square feet per student, exclusive of storage area

607.012	Design Capacity - 25 students

607.013	Location

A.	Isolation from noisy areas of the building

B.	Near the media center

607.014	Activities

Speaking, laboratory drills; group work; reading; marking board work; using audiovisual materials; singing; working with tapes and records individually (in carrels); play acting; and dancing.

607.015	Equipment Space and Facilities

See Chapter 3, Section 302.01 and Section 302.02, Chapter 6, Section 603.05 and the following requirements.

A.	Conference-type tables and chairs that can be moved to facilitate conversation and collaborative learning

B.	Non-stationary students’ desks and chairs, or combination chair-desks

C.	Book shelving - minimum of 20 linear feet

D.	Provision for darkening room

E.	Movable cart for audiovisual equipment

F.	Recording device with jack box and headsets

G.	Carrels for individual work are desirable

607.02		Electronic Classroom

607.021	Size - 35 square feet per student, exclusive of storage space

607.022	Design Capacity - 25 students

Allow five percent more stations; maximum class size

607.023	Location

Near media center, isolated from noisy areas of building, and meets ASHRAE and ASA standards

607.024	Activities

See Chapter 6, Section 607.014

607.025	Equipment Space and Facilities

See Chapter 3, Section 302.01 and Section 302.02, Chapter 6, Section 603.05 and the following requirements.

A.	Student seating

1.	Stationary tables wired to reproduce sound from console and movable chairs

2.	Overhead wiring on droppable units to reproduce sound from console and combination chair-desks (this type installation needs fewer square feet per student than the stationary tables).

B.	Duplex electrical outlets on all feasible walls as per NEC

C.	Book shelving: minimum of 20 linear feet

D.	Provision for darkening room

E.	Microphones, one per station

F.	Headsets, one per station

G.	Jack and plug to place sound track from 16 mm projector into classroom sound system is desirable

607.03		Language Laboratory

607.031	Size - 35 square feet per student, exclusive of storage space

607.032	Design Capacity - 25 students

Allow five percent more stations

607.033	Location

In center of, or adjacent to, foreign language classrooms

607.034	Activities

Language laboratory drill and recording

607.035	Equipment Space and Facilities

See Chapter 3, Section 302.01 and Section 302.02; Chapter 6, Section 603.05, and the following requirements.

A.	Headsets, one per station

B.	Microphones, one per station

C.	Provision for darkening rooms

607.04		Teacher Work Area

607.041	Size - Approximately 250 square feet

607.042	Design Capacity - Two Instructors and Several Students

607.043	Location

Opening into language laboratory or classrooms

607.044	Activities

Preparation of instructional materials, small group activities, reading, and grading.

607.045	Equipment Space and Facilities

See Chapter 3, Section 302.04, and the following requirements.

A.	Desk and chair per teacher - 1

B.	Legal size filing cabinet per teacher - 1

C.	Lockable storage for instructor’s personal belongings

D.	Table or movable cart for audiovisual equipment

E.	Conference table and chairs

F.	Instructional board and bulletin board, minimum of 5 linear feet each

G.	Storage for instructional aids

H.	Soundproof area for recording tapes

I.	Telephone, desirable

J.	Projection surface

K.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

608	LIBRARY/LEARNING RESOURCE OR MEDIA CENTER

See Chapter 3, Section 305.

609	MUSIC FACILITIES

Factors influencing the location of this complex include: isolation from quiet areas of the building; ease of isolating the area for use during and after school hours; inclusion in the general arts areas with convenient access to the auditorium stage; and direct or convenient access to outdoors.   It is strongly recommended that an acoustical analysis be completed during construction and/or renovation of music facilities.  Location of facilities within the suite should provide ease of supervision of all areas.  Acoustical treatment should provide proper sonic environment to prevent sound transmission to remainder of the building as per ASA guidelines.  Cubic volume must be the first and foremost priority in the design of space for music facilities.

609.01		Music Studio

NOTE:		Choral and instrumental studios may be planned as combined facilities. Ceiling height must be planned for acoustical purposes, including the effect of built-in or portable risers on ceiling height.  It is recommended that a choral rehearsal room have 350-500 cubic feet and that band/orchestra rehearsal rooms have 550-700 cubic feet.  Assistance in design and planning may be obtained from the music specialist of the WVDE.

609.011	Size - 30 to 40 square feet per student, with ceiling height of 12 feet.

609.012	Design Capacity - 40 students for general music classrooms, larger areas must provided for band, orchestra, and choral instruction

609.013	Location

A.	Direct access to instrumental storage

B.	Direct or convenient access to other rooms in the music suite

C.	Isolated as much as possible from quiet areas of the building

609.014	Activities

Conduct instrumental and choral music rehearsals; view projected materials; listen to recorded music; demonstrations of various types of instruments; write or draw on instructional board or interactive whiteboard; and display materials.

609.015	Equipment Space and Facilities

See Chapter 3, Section 302.01 and the following requirements

A.	Instructional board - maximum of 30 linear feet, on front wall of which at least 8 linear feet is etched with staff lines

B.	Bulletin board - 8 to 10 linear feet, located near entrance

C.	Storage for vocal and instrument accessories

1.	Wall cabinets for music folders

2.	Open shelving for books, tapes, cartridges, and record albums; 12 inches deep and 14 inches clear height; 40 linear feet

D.	Music chairs with folding tablet arms

E.	Music stands with storage area

F.	Director’s podium

G.	Recording device

H.	Conference work table

I.	3 or more legal size, 4 drawer filing cabinets

J.	Wide door with flush threshold for moving large instruments to and from the studio

K.	Eight  microphone outlets for recording in the studio

L.	Stereo sound reproducing system with a minimum capacity of 40 watts - 20 watts per channel

M.	Electronic piano and bench

N.	Student wardrobe or lockers

O.	Instructor’s station

P.	Availability of instructional technology equipment

Q.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

609.02		Practice Room - Optional

609.021	Size - 50 to 60 square feet each

609.022	Design Capacity - 2 to 4 students

609.023	Location

A.	Convenient access from other music rooms

B.	Access to instrumental storage without passing through studio

C.	Convenient access from building corridor

D.	Permit ease of supervision

E.	Practice rooms should be located by themselves in a group with a music library or storage room between them and the rehearsal hall.  Adjacent walls must be avoided in practice rooms unless sound-absorbing treatments have been used that is effective at low, middle and high frequencies.

609.024	Activities

Vocal and instrumental practice

609.025	Equipment Space and Facilities

A.	2 or 3 chairs and music stands

B.	Glazed partition of insulating glass for ease of supervision

C.	Acoustical treatment to meet ASA guidelines

D.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

609.03		Ensemble Instructional Space - Optional

May be part of multi-use choral and instrumental studio

609.031	Size - Approximately 30 square feet per student

609.032	Design Capacity - 8 to 12 students

609.033	Location

A.	Convenient access from other music rooms

B.	Access to instrumental storage without passing through studio

C.	Convenient access from building to corridor

D.	Permit ease of supervision

609.034	Activities

Choral and instrumental practice and small group instruction

609.035	Equipment Space and Facilities

See Chapter 3, Section 302.01 and the following requirements

A.	Instructional board - 16 to 20 linear feet; bulletin board

B.	Glazed partition for ease of supervision

C.	Acoustical treatment to meet ASA guidelines

D.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

E.	Electronic piano and bench

F.	Music chairs with folding tablet arms

G.	Music stands with portable storage

609.04		Instructor’s Office and Library

May be separate rooms or combination

609.041	Size - Areas as needed - approximately 250 square feet

609.042	Design Capacity - 2 Instructors and 6 students

609.043	Location

A.	Direct or convenient access to other music rooms

B.	Permit ease of supervision of studio and auxiliary rooms

609.044	Equipment Space and Facilities

See Chapter 3, Section 302.04 and the following requirements

A.	Instructor’s desk and chair

B.	4 drawer, legal size filing cabinets - 3 to 4

C.	Lockable storage for instructor’s personal belongings

D.	Instructional board and bulletin board - 6 to 8 linear feet each

E.	Conference table and chairs

F.	Storage for printed music, records, tapes, and other instructional aids

1.	Open shelving - 15 to 20 linear feet

2.	Closed shelving - 30 to 40 linear feet

G.	Stereo sound reproducing equipment

H.	Music sorting rack

I.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

609.05		Lockable Instrument Storage

609.051	Size - Area as needed - approximately 350 square feet

609.052	Storage Shelving

Necessary to accommodate instruments of various sizes

609.053	Year-round temperature between 68-75ºF and humidity less than or equal to 60% rH shall be maintained.

609.06		Robe and Uniform Storage

May be in portable wardrobes or separate rooms; ventilate as needed.

610	PHYSICAL EDUCATION FACILITIES

Factors influencing location include: Isolation from quiet areas of the building; direct access to the outside; and provision for closing off area for after school use.

NOTE:	Although less desirable, these facilities may be combined with assembly facilities.

610.01		Gymnasium

610.011	Size

Determination of size is dependent upon physical education spaces to be located.  Allow approximately 7000 square feet. Floor area should be marked for various games.

610.012	Design Capacity - Maximum of 70 students at 77 square feet per student

610.013	Location

Convenient access from locker and shower rooms

610.014	Activities

Include soccer, volleyball, basketball, football, softball, folk and square dance, gymnastics and other activities to meet county curriculum.  Recommend college-size basketball court (50 feet x 94 feet), plus spectator seating. The gymnasium should have a minimum of a 24 foot clear unobstructed room height.

610.015	Equipment Space and Facilities

See Chapter 3, Section 302.05 and the following requirements

A.	Provisions for using the learning center as 2 or more teaching stations may require canvas-net partition, fold-door partition or mechanical folding walls.

B.	Electrical outlets, CD player, auxiliary lighting and cleaning equipment; additional special outlets.

C.	Small cases for display purposes - 2 or 3

D.	Bulletin board - 12 to 16 linear feet

E.	Drinking fountains

F.	Electronic retractable seating to accommodate student body and staff

610.02		Equipment Storage Rooms

At least 2 in each station

610.021	Size - Area for equipment storage - 150 square feet

610.022	Location

When the station is divided into 2, have directly accessible to each teaching station.

610.023	Equipment Space and Facilities

A.	Open storage area for items such as standards, vaulting horses, and horizontal bars

B.	Enclosed storage cabinets for small items of physical education equipment

C.	Double doors and flush threshold

610.03		General Storage

610.031	Size - Large enough to store all equipment

610.032	Location

Direct or convenient access to learning station

610.04		Male and Female Locker/Dressing rooms

Physical education and varsity programs

NOTE:		Recommend treatment of walls in these areas with epoxied materials to enhance maintenance.  Also, quarry tile or similar floor materials.

610.041	Size - Dependent upon manner in which such items as gym clothing, street clothing, and towel distribution are handled and the number of students expected to use this facility - 600 to 700 square feet.

610.042	Location

A.	Direct or convenient access to learning station

B.	Direct access to outside physical education areas

C.	Direct access to building corridor

D.	Direct access to body-drying room

E.	Permit ease of supervision

610.043	Activities

Dressing for physical education; storing street and gym clothes; informal talks with physical education instructors.

610.044	Equipment Space and Facilities

A.	Street clothes lockers dispersed among gym clothes lockers

B.	Space for additional lockers

C.	Benches adjacent to or between rows of lockers

D.	Small restroom or partitioned area with toilet, lavatory and urinal

E.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

F.	Mirrors to accommodate large numbers of students, shelving under each mirror and one full-length mirror

G.	Bulletin board near entrance – 4 to 8 linear feet

H.	Instructional board – 6 linear feet

I.	Drinking fountain

610.05		Male and Female Shower Rooms

610.051	Size – Approximately 200 square feet

610.052	Location

Access to locker/dressing room only through the body-drying room

610.053	Equipment Space and Facilities

A.	Group showers

B.	Master water volume and maximum temperature controls

C.	Individual water temperature and on-and-off controls

D.	Antibacterial soap dispensers

E.	Floors are of easily cleanable material

F.	Floor drains away from normal traffic

G.	Hose bibb for hot and cold water

H.	Walls of non-absorbent material

NOTE:		Individual dressing, drying and showering booths may be provided in female shower area.

610.06		Male and Female Body-Drying Rooms

610.061	Size - Approximately 100 square feet

610.062	Location

A.	Direct access from locker/dressing and shower rooms; entries to require maximum travel distance through drying room

B.	Direct or convenient access from varsity locker/dressing room

610.063	Equipment Space and Facilities

A.	Stub towel holders

B.	Floor drains away from center

C.	Floors are of easily cleanable material

D.	Hose bibb for hot and cold water

610.07		Towel Room - Optional

610.071	Size - 50 to 60 square feet

610.072	Location

A.	Convenient to the locker/dressing and shower areas

B.	Permit ease of supervision from locker/dressing area and instructor’s office

610.073	Activities

Temporary storage, distribution, and collection of towels.

610.074	Equipment Space and Facilities

A.	Shelving to accommodate laundered towels

B.	Movable laundry carts to accommodate used towels

C.	Dutch door for issuing and receiving towels

610.08		Laundry Area - Optional

610.081	Size - 100 square feet

610.082	Location

Convenient to physical education and dressing rooms or areas

610.083	Activities

Launder and dry gym clothing

610.084	Equipment Space and Facilities

A.	Washing machine

B.	Dryer vented to the exterior

C.	Laundry tub

D.	Separate work surface for handling both clean and soiled clothing and equipment

610.09		Instructors’ Offices - One for each instructor

610.091	Size - Approximately 100 square feet

610.092	Location

A.	Direct access to locker/dressing room

B.	Direct or convenient access to gymnasium and outdoor physical education areas

C.	Permit ease of supervision of locker/dressing rooms

610.093	Activities

Instructors’ showering, toilet and dressing

610.094	Equipment Space and Facilities

See Chapter 3, Section 302.04 and the following requirements

A.	Restroom, lavatory and shower

B.	Desk and chair

C.	Conference chairs

D.	4 drawer filing cabinet

E.	Lockable storage of personal belongings

F.	Book shelving – 10 to 15 linear feet

G.	First aid equipment

H.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

610.10		Training Area

610.101	Size - Approximately 200 square feet

610.102	Location - Convenient to Locker/Dressing Room

610.103	Activities - Care of body

610.104	Equipment Space and Facilities

A.	Whirlpool connections that are code appropriate

B.	Rub-down table

C.	Heat lamps

D.	Supply cabinet

E.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

610.11		Equipment Storage Room

610.111	Size - Approximately 150 square feet

610.112	Location - Convenient to Locker/Dressing Rooms

610.113	Activities - Uniform and equipment storage

601.12		Optional Spaces

All of the following spaces shall have a heating, ventilating, and air conditioning (HVAC) system, which meet ASHRAE standards

610.121	Wrestling - 42 feet x 42 feet, or 1800 square feet

610.122	Weight Room - 1000 square feet

610.123	Multi-purpose Room - 1600 square feet

610.124	Auxiliary Gymnasium

In schools of more than 1000 student population - 5400 square feet

611	SCIENCE FACILITIES

Items to be considered in locating these facilities are: Ease of access to outdoor science areas, ease of delivery of supplies and materials.  Facilities may be designed for instruction in single disciplines.  Although optional, DC electricity, compressed air, and vacuum are desirable inclusions due to the expense of portable units over a series of years.

Return air from science labs/classrooms should not be recirculated into other areas of the building.  Science labs/classrooms shall be designed in accordance with WV Fire Marshal’s requirements.  They shall maintain a negative pressure to adjacent areas.

611.01		Combination Chemistry/Physics Lecture Laboratory

611.011	Size - Base preliminary determination of area on allotment of 60 square feet per student; approximately 1440 square feet, exclusive of separate storage.  Base preliminary determination of area on allotment of 45 square feet per student is recommended for a laboratory only.  An additional space of 15 square feet is required for each computer station.

611.012	Design Capacity - 24 students

611.013	Location

A.	Direct access to storage and project preparation room

B.	Convenient access to other science instructional space laboratories

611.014	Activities

Instruction and demonstrations; class-size and small group discussion; individual and small group experimentation; viewing slides, videos, and other projected materials; use of TV, VCR, DVD, laser disc player, data projectors, and other video and audio equipment; use of computer and data collection devices; writing or drawing at tables and Instructional boards; individual study and research; displaying student projects.

611.015	Equipment Space and Facilities

See Chapter 3, Section 302.01, Section 302.02, Chapter 6, Section 603.5 and the following requirements.

A.	Ventilated (portable or fixed) fume hoods

1.	Equip with gas, compressed air, AC and DC electricity, and water with vacuum breakers

2.	Wide enough for 2 pupils

3.	Easily visible from demonstration area if fixed piece of equipment

4.	Fume hood exhaust fans shall be corrosion and spark resistant

5.	Fume hood exhaust ductwork shall be constructed of a corrosion resistant material

6.	Fume hood exhaust system shall be designed in accordance with NFPA 45 and ANSI/AIHA Z9.5

B.	Instructor’s demonstration table, including sink, hot and cold water, gas, AC and DC electricity, compressed air, and vacuum

C.	Laboratory work space 2½ linear feet per student (may be provided as tables or work counter)

1.	Equip with sink, water, gas AC and DC electricity flush plates, and support rods

2.	Individual student storage units

3.	Corrosive-resistant work surface and plumbing

4.	Perimeter location is not recommended.

D.	Open shelving with a lip that meets NFPA 101 for often used chemicals and other materials

E.	Fire extinguisher and blanket

F.	2-student work tables and chairs

G.	Facilities must allow for darkening the room to conduct experiments and demonstrations

H.	Emergency showers and hand station

I.	Fire blanket

J.	Eye wash stations

K.	Goggle sterilization and storage cabinet

L.	First aid kit

M.	Provide main gas shut-off valves for all laboratory equipment, including adjacent preparation rooms

N.	Emergency exhaust fan vented to the exterior to maintain the space at a negative pressure to adjacent areas

O.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

P.	Ice machine

611.02		Chemistry Storage

611.021	Size - Approximately 100 square feet

611.022	Location

A.	Direct access from project preparation room

B.	Convenient access from instructional space laboratory

611.023	Equipment Space and Facilities

A.	75 to 100 linear feet of adjustable shelving of varied heights and depth with safety lip as per state fire code.

B.	An independent ventilation system to maintain a constant negative pressure to adjacent areas

C.	Window between storage area and instructional space

D.	Storage cabinet for explosive or flammable material and a properly exterior ventilated corrosion-resistant cabinet for concentrated acids

E.	Storage area shall meet the requirements of NFPA 45 and WV Fire Marshal’s office

611.03		Physics Storage Room

611.031	Size - Approximately 100 square feet

611.032	Location

A.	Direct access from project preparation room

B.	Convenient access from instructional space laboratory

611.033	Equipment Space and Facilities

A.	Adjustable shelving of varied heights and depths - 75 to 100 linear feet

B.	Maximum closed adjustable shelving

611.04		Project Preparation Room

Optional as a separate room; however, preparation facilities must be provided outside the instructional space laboratory.

611.041	Size - Approximately 200 square feet; if combined with storage - 400 square feet

611.042	Design Capacity - Instructor and approximately 6 students

611.043	Location

A.	Direct access from instructional space laboratory and from building corridor

B.	Convenient access from other science facilities located in adjacent portions of the science suite

C.	Permit ease of supervision from instructional space laboratories

611.044	Activities

Preparation for demonstrations; storage of projects; individual and small group project work

611.045	Equipment Space and Facilities

A.	Maximum work counter space with minimum of 2 sinks

B.	Storage units above and below work counter

C.	Water, gas, vacuum, compressed air, and AC and DC electricity at work counter

D.	File cabinet

E.	Room shall include an exhaust system that will be utilized during preparation activities

611.05		Universal Instruction/Laboratory Classroom   (For Biology, Human Anatomy, Integrated Science, or Environmental/Earth Science)

611.051	Size - Base preliminary determination of area on allotment of 60 feet per student; approximately 1440 square feet, exclusive of separate storage room.  Base preliminary determination of area on allotment of 45 square feet per student is recommended for a laboratory only.  An additional space of 15 square feet is required for each computer station.

611.052	Design Capacity - 24 students

611.053	Location

A.	Direct access to project preparation room

B.	Direct or convenient access to storage and growing room.  Growing room facilities may be included in instructional space laboratory.

C.	Convenient access to other rooms in the science suite

611.054	Activities

Instruction and demonstrations; class-size and small group discussion; individual and small group experimentation; viewing slides, videos and other projected materials; use of TV, VCR, DVD, laser disc player, data projector, and other video and audio equipment; use of computer and data collection devices; writing or drawing at tables and instructional boards; individual study and research; displaying student projects.

611.055	Equipment Space and Facilities

See Chapter 3, Section 302.01; Chapter 6, Section 603.05; and the following requirements.

A.	Work counter - 40 to 50 linear feet, minimum; and must have student work space to accompany it

1.	6 acid-resistant sinks with hot and cold water

2.	Impervious work surface

3.	Gas and electricity

4.	Storage under work counter

5.	Movable aquariums and terrarium

B.	Closed shelving - 30 to 40 linear feet, 18 inches deep

C.	Open shelving - 15 to 20 linear feet with a safety lip as per the state fire code

D.	Instructor’s demonstration table including sink, hot and cold water, gas, and electricity.  2½ linear feet per student may be provided as equivalent student workspace, which is not as restrictive as combination desk-chairs.  Student desks are to be flat-topped, not tablet-armed.

E.	2-student tables and chairs

F.	Capability for darkening room completely

G.	Projection screen

H.	Fire extinguisher and blanket

I.	Ventilated (portable or fixed) fume hoods

1.	Equip with gas, compressed air, AC and DC electricity, and water with vacuum breakers

2.	Wide enough for 2 pupils

3.	Easily visible from demonstration area if fixed piece of equipment

4.	Fume hood exhaust fans shall be corrosion and spark resistant

5.	Fume hood ductwork shall be constructed of a corrosion resistant material

6.	Fume hood exhaust system shall be designed in accordance with NFPA 45 and ANSI/AIHA Z9.5

J.	Eye wash station and emergency shower

K.	Goggle sterilization and storage cabinet

L.	First aid kit

M.	Hand wash station

N.	Provide main gas shut-off valves for all laboratory equipment

O.	Emergency exhaust fan vented to the exterior to maintain the space at a negative pressure to adjacent areas

611.06		Universal Laboratory Storage

611.061	Size - Approximately 200 square feet

611.062	Location

A.	Direct access from project preparation room

B.	Direct or convenient access from instructional space laboratory and growing room

611.063	Equipment Space and Facilities

A.	Maximum varied height and depth adjustable shelving - approximately 100 linear feet with a safety lip as per the state fire code.

B.	A ventilation system to maintain a negative pressure to adjacent areas

611.07		Project Preparation Room

May be planned as combination with storage area.

611.071	Size - Approximately 200 square feet

611.072	Design Capacity - Instructor and approximately 6 students

611.073	Location

Direct access from instructional-space laboratory and from building corridor.

611.074	Equipment Space and Facilities

A.	Acid-resistant work surface with acid-resistant sink, hot and cold water, gas, and electricity

B.	File cabinet

C.	Room shall include an exhaust system that will be utilized during preparation activities

611.08		Greenhouse (May be shared with career and technical education program) (Optional)

611.081	Size - minimum of 22 feet x 48 feet

611.082	Location

A.	Convenient access to other program facilities.

B.	Should be located to receive full sunlight during winter.

C.	Aisles must be wide enough to accommodate handicapped students.

611.083	Equipment Space and Facilities

A.	Frost-proof hose bibs

B. 	GFCI outlets as per NEC

611.09		Nature Trail (Optional)

611.091	Nature trail or natural area

A.	Indigenous flora

B.	Pavilion with table and benches

C.	Weather station

D.	Sun dial

612	CAREER AND TECHNICAL EDUCATION FACILITIES

See Chapter 8.

613	STUDENTS WITH EXCEPTIONALITIES - INSTRUCTIONAL AREAS

See Chapter 7.

614	COMPUTER LAB

See Chapter 3, Section 302.01 WVBE

615	AUDITORIUM

Factors influencing the location of the auditorium include: Ground level position isolated from other areas of the building, convenient access to music and language arts instructional space and physical education locker/dressing rooms to permit use as stage-dressing rooms and to service drive for the delivery of bulky properties; location which allows community groups to use the facility during school hours without interfering with school activities; and a location which permits planned multiple use of lobby area.  Location shall be convenient to public parking facilities.  Consider accessibility of pupil restrooms for public use and instructional space for coat-check areas during after-school hours.

615.01		Body of Auditorium

615 .011	Size

Dependent upon ultimate seating capacity desired and singular or multiple use of the facility.  Approximately 9-10 square feet will be needed for each seat provided.

615 .012	Design Capacity

Design to accommodate at least 1/3 of student enrollment with a minimum seating of 250

615.013	Activities

Production and performance of various student plays, concerts, and variety shows; performances before student audiences by visiting groups or individuals contributing to the educational program of the school; multiple use of the area for instructional purposes, such as large and small group instruction, and distance learning.

615 .014	Equipment Space and Facilities

See Chapter 3, Section 302.05 and the following requirements.

A.	Space in front and below auditorium stage for orchestra, band, and other activities

B.	Acoustical quality so that weak voices of some platform participants may be heard throughout the auditorium with use of sound support system

C.	Facilities whereby programs originating in the auditorium may be broadcast throughout the school

D.	Convenience lights arranged and located for partial illumination during performances

E.	Light control by multi-way switches convenient to entrances, near stairs to the stage, and projection booth

F.	Convenience and pilot light circuits should be tied into main light panel for control during productions

G.	Duplex electrical outlets, appropriate in number, should be provided

1.	Along front of stage apron

2.	At rear of the body of the auditorium

3.	About 1/3 the distance from the stage to the rear of the auditorium for use with various audiovisual projectors

H.	Projection niche (optional) at the rear of the room for use of technology projection

I.	Speakers for use with projector located in the rear of the seating area

J.	See Chapter 5 for equipment necessary for distance learning

K.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

L.	Consideration should be given to future service and maintenance in designing lighting placement.

615 .02		Lobby or Student Commons

615 .021	Size

Area as needed to handle anticipated capacity.

615 .022	Location

To serve as common lobby for auditorium and gymnasium if facilities are provided in the same unit, or may be used as common lobby with other public service areas.

615 .023	Activities

This facility may also serve as a student gathering area.

615 .03		Stage

615 .031	Size - 1400 to 1600 square feet

615.032	Location

A.	Provide ample wing space on each side of the stage

B.	Access to the stage and building corridor without entering lobby or body of the auditorium

615 .033	Equipment Space and Facilities

See Chapter 3, Section 302.04 and the following requirements.

A.	Apron in front of the main curtain, approximately 8 feet wide, with direct access to the body of the auditorium at each end

B.	Wide double doors with flush threshold opening onto the stage to permit passage of bulky scenery and equipment

C.	The appropriate floor to meet the needs of the performing arts curriculum, including dance.  A portable floor is strongly recommended for dance programs to protect the health of teachers and students

D.	Electrical circuits

1.	Circuits for adjustable spotlights mounted on at least 2 battens

2.	Flush floor pockets or equivalent mounted in floor behind cyclorama with at least one outlet directly behind proscenium arch on each side

3.	Duplex electrical outlets mounted near floor on walls of stage

4.	Stage work lights (overhead and foot) controlled by multi-way switches at stage entrances

E.	Provide panel for controlling stage and house lights, including beam and spotlights; mount in the ceiling of the auditorium

F.	Light control panel should be designed to avoid overloading of circuits, resulting in dimmer damage, and should be flexible and expandable

G.	Means for mounting 10 to 12 foot roll-up motion picture screen

615 .04		Stage-Crafts-Workshops-Storage

615 .041	Size - Approximately 750-1000 square feet

615 .042	Location

Direct access to the stage, arranged to prevent noise interference on the stage.

615 .043	Activities

Prepare, alter, and store materials, such as stage flats and properties; store general-purpose equipment used for auditorium programs.

615 .044	Equipment Space and Facilities

A.	Double doors with flush threshold

B.	Work counter approximately 30 inches deep, with storage:  Ten linear feet

C.	Tool cabinet

D.	Sink with hot and cold water

E.	Movable storage cabinets for stage properties

F.	Electrical outlets on available wall space, including area over work bench

G.	Bulletin board - 6 linear feet

H.	Storage for flats of various widths, appropriate for height of the proscenium arch

I.	Locked storage for grand piano, costumes, stage properties and lighting and projection equipment

J.	Rooms shall include an exhaust system that will be utilized during preparation activities

616	FOOD SERVICE FACILITIES

See Chapter 3, Section 304.

617	ADMINISTRATIVE AND SERVICE FACILITIES

See Chapter 3, Section 303.

618	ENGINEERING AND CUSTODIAL FACILITIES

See Chapter 3, Section 306.

Chapter 7

STUDENTS WITH EXCEPTIONALITIES EDUCATION

700	STUDENTS WITH EXCEPTIONALITIES- INSTRUCTIONAL AREAS

701	PLANNING PROCESS

701.01		General

Most students with exceptionalities are served in general education classrooms.  However, classrooms must be designed for students with exceptionalities receiving instruction from special education teacher(s) for core content classes and for students who receive instruction in the extended standards, modified curriculum and life skills for the majority of the school day.  The classrooms for students with exceptionalities shall be comparable to the classrooms for non exceptional students and meet the same requirements (including those for technology) as general classrooms unless there are additional considerations that must be met.  All modular or detached classroom structures must meet the requirement of this policy for the intended use of the space.  To determine the  number of Level 1 and Level II/III rooms that must be included in the construction of new schools, refer to State Board Policy 2419 for the identification of students to be served and survey the current and projected student enrollment to adequately meet those service needs.

701.02		Location

All classrooms for students with exceptionalities shall be 1) located within the main facility, 2) located in close proximity to classrooms for age-appropriate non-exceptional peers and 3) easily accessible to cafeteria, library, and other central activities.

701.021 	Additional Location Considerations

A. 	Separate classrooms for students with deafness and hearing loss should not be located in close proximity to high noise level areas such as gymnasiums, music rooms, noisy streets, railroad tracks, etc.

B.	Separate classrooms for students with emotional/behavioral challenges or for students with attention deficits or sensory integration difficulties should be in an area with a minimum amount of outside distraction such as traffic or hallway noise, within close proximity to restroom facilities and with a means for direct and immediate communication with administrative offices or support.

701.03		Accessibility

Facilities shall be designed to be accessible to students with exceptionalities and to assist students to function safely with as much mobility as possible.

701.04		Design/Equipment

Facilities serving students with exceptionalities are designed, furnished, equipped, and maintained to facilitate the program requirements set forth in the individualized education program.

701.05		Considerations

The majority of students with exceptionalities will be served in general education environments.  The general education classroom must be designed with the supports needed for exceptional students in mind.   For students with sensory impairments (vision and hearing) adaptations to the general and special education classroom environments should include:

701.051	Acoustic considerations for rooms serving students with deafness or hearing loss- Sound levels are to meet ASA guidelines for the hearing challenged.  Wall, ceiling, HVAC, and floor construction are to be evaluated in order to meet these guidelines

A.	Installation of appropriate floor covering and ceiling tile, which is mold and microbial resistant

B.	Acoustical panels and tile as required

C.	Drapes

D.	Visual safety signals for areas in the school accessible by students.

701.052	Illumination considerations for rooms serving students with blindness or low vision - the room should be free from glare and direct sunlight.  Artificial illumination fixtures should be wired for multi-staged control.

702     CLASSROOMS FOR STUDENTS WITH LEVEL I SERVICE NEEDS

702.01		Size – 480 square feet

702.02		Design Capacity

701.021	K-4 – 6 students

701.022	5-12 – 12 students

702.03		Activities

Speaking; laboratory activities, presentations, distance learning, virtual learning, group discussion; collaborative project-based learning, interactive boards, desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual and collaborative assignments are to be done with manipulative materials and a wide range of technologies.

702.04		Equipment Space and Facilities

Refer to equipment space and facilities found in General Purpose (Academic) classrooms or instructional areas for each programmatic level.

702.041	Instructional Station should be comparable to that provided for 21st century classrooms, including instruction technology capabilities, telephone and equipment (see Chapter 3, Sections 302.01 and 302.02).

702.042	Classroom furniture that allows for individual and small group instruction and project based learning.

702.043	Specialized equipment as required by the student’s IEP.

703	CLASSROOMS FOR STUDENTS WITH LEVEL II OR III SERVICE NEEDS

703.01		Size – 800 – 1000  square feet

703.02		Design Capacity

703.021	Level II K-12 – 12 students (adult/student ratio = 1:6)

703.022	Level III K-12 – 8 students (adult/student ratio = 1:4)

703.03		Activities

Individual and small group instruction on extended standards, activities of daily living, functional/life skills training, use of assistive technology, provision of integrated therapies, group discussion; collaborative project-based learning, interactive boards, desk and/or tables; displaying students’ work; storing instructional materials and supplies; demonstrations; and lab activities where stations with individual and collaborative assignments are to be done with manipulative materials and a wide range of technologies.

704.03		Equipment Space and Facilities

Refer to equipment space and facilities found in General Purpose (Academic) classrooms or instructional areas for each programmatic level.

704.031	Instructional Station should be comparable to that provided for all 21st Century Classrooms, including instruction technology capabilities, telephone and equipment.

704.032	Classroom furniture that allows for individual and small group instruction and project based learning.

704.033	Specialized equipment as required by the student’s IEP.

704.034	Design and space should allow for the accommodation of required assistive technology and integrated therapies.

704.035	Instructional areas/equipment conducive to teaching functional skills (e.g., kitchen facilities, laundry facilities, and restroom facilities with shower).

704.036	Design should allow for a private area for attending to student’s personal needs.

704	GIFTED EDUCATION SERVICES

Gifted education services should be provided in small group instruction areas/classrooms that can accommodate up to 15 students (see sections 411, 504, or 604).

705	CLASSROOM FOR STUDENTS WITH DEVELOPMENTAL DELAYS

705.01		Size - 720 to 1000 square feet

705.02		Design Capacity – not to exceed 20 students

705.03		Location

See Chapter 7, Section 701.01

705.04		Activities

Individual and small group instruction based on the Early Learning Standards as described in State Board Policy 2525, including learning activities to address positive social-emotional skills,  early language/communication and early literacy skills; and the use of appropriate behaviors to meet students’ needs.  These activities may include collaborative project-based learning, physical education, conversation, discussion, listening activities and creative activities with various media. The room should accommodate displaying students’ work; storing instructional materials and supplies; demonstrations; and activities where stations with individual and collaborative assignments are to be done with manipulative materials and a wide range of technologies.

705.05		Equipment Space and Facilities

See Chapter 3, Section 302 and the following requirements.

A.	Teacher desk and chair

B.	Tables with chairs for pupil seating; carpet squares or low cushions for additional seating per child

C.	Storage

1.	Cart for audiovisual material

2.	Storage cabinets

3.	4-drawer file with lock

4.	20 linear feet of shelving adjacent to instructional area

D.	Restroom facilities (including changing table and cots)

E.	Doorways shall meet ADA requirements

F.	Ramps and handrails, if needed

G.	Non-skid floor surfaces, which are mold and microbial resistant

H.	Electrical receptacles with protective covers on all walls

I.	Sink with hot and cold water

J.	Instructional board - 30 linear feet

K.	Bulletin board - as much as possible; minimum 20 linear feet

L.	Facilities for darkening room

M.	Appropriate ceiling tile, which is mold and microbial resistant

N.	Active and Passive instructional technology equipment

O.	Provision of appropriate sleeping equipment that does not allow children to sleep on the floor or in a sleeping bag or on linens alone.

P.	Provision of a designed area where a child can sit quietly or lie down to rest.

706	PROFESSIONAL SUPPORT STAFF

Special education and related services may be provided by itinerant or school-based professional support staff, such as school psychologists, counselors, audiologists, occupational and physical therapists, speech/language pathologists and other related service specialists.  Adequate space must be made available for itinerant services provided by professional support staff on a part-time basis.  Professional support staff providing services on a full-time basis require an individual full-time room assignment.

706.01		Size 250 to 350 square feet

706.02		Design Capacity - Maximum of 10 people

706.03		Location

These facilities shall be located within the main school facility and easily accessible to all students with disabilities.

706.04		Activities

Individual and group guidance; counseling and conferences with pupils, parents and teachers; individual evaluations; individual and group instruction: individual therapy sessions.

706.05		Equipment Space and Facilities

See Chapter 3, Section 302 and the following requirements.

A.	Desk and chair

B.	Conference chairs

C.	Shelving - 10 to 15 linear feet

D.	Bulletin board - 4 to 6 linear feet

E.	Instructional board - 4 to 6 linear feet

F.	Lockable storage for personal belongings

G.	4-drawer file cabinet with lock for each professional assigned full-time to facility

H.	Additional file space for other professionals providing itinerant services

I.	Professional support staff facilities, including equipment, must be modified in order to accommodate student needs as specified in the individualized education program

J.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

Chapter 8

CAREER AND TECHNICAL EDUCATION

800	CAREER AND TECHNICAL EDUCATION FACILITIES

All modular or detached classroom structures must meet the requirement of this policy for the intended space.

Where design considerations permit, the facility will be constructed in a manner that encourages the use of natural light.

801	AGRICULTURAL EDUCATION FACILITIES

Factors influencing the location of facilities include: Isolation from quiet areas of the building; location which provides easy delivery of instructional supplies, materials, and equipment including farm machinery; location which permits isolation from remainder of the building for after-school use.

801.01		Classroom Space

801.011	Size

Base preliminary determination of area upon allotment of 30 to 40 square feet per student (minimum of 750  square feet), exclusive of storage space.  Preferred classroom size is 950 – 1200 square feet.  If classroom space is based on the minimum of 30 square feet per student (750  square feet total), an additional 200 square feet should be provided for a demonstration and work area - wet sink, etc.

801.012	Design Capacity 25  students

801.013	Location

A.	Convenient or direct access to lab facilities  and office

B.	Ground floor, convenient to a building entrance

801.014	Activities – Refer to 603.04

Instructional boards; displaying students’ work; storing instructional materials and supplies.

801.015	Equipment Space and Facilities -- Refer to Section 603.05

A.	Refer to the “Agricultural Education Program Guide” for list of equipment

801.02		Agricultural Mechanics Laboratory

801.021	Size

Minimum of 2400 square feet.  Base preliminary determination of area on allotment of 120 to 150 square feet per student, exclusive of storage and tool room space.

801.022	Design Capacity - 20 students

801.023	Location

A.	Convenient access to classroom space and instructor’s office

B.	Direct access to service drive

801.024	Activities

Construct and repair agricultural equipment and machinery; weld; finish and paint equipment; operate power machinery or equipment; store tools, materials, and partially-completed projects.

801.025	Equipment Space and Facilities Varies with program concentrations offered.

A.	State of the art instructional technology – refer to Section 302

B.	Instructional board and bulletin board - 6 linear feet each

C.	Windows should be at least 42 inches above the floor to permit installation of equipment along wall and electrical outlets above work benches

D.	Floor or ceiling electrical grid system for 110 and 220 volt power to various machines with master control switches

E.	Overhead door from service drive, minimum 14 feet wide and 10 feet high

F.	Storage for hand tools, may be provided in separate room or in cabinets and racks within the lab

G.	Fire extinguishers, per State Fire Code

H.	Work benches, wooden, minimum of 30 linear feet

I.	Work benches, metal, minimum of 40 linear feet

J.	Floor drain near machinery repair area

K.	Half-circle wash fountain installed in shop

L.	Emergency eye wash and shower station

M.	Refer to the “Agricultural Education Program Guide” for list of equipment

801.03		Agricultural Mechanics Storage Area

801.031	Size - minimum of 600 square feet

801.032	Location

A.	Adjacent to the laboratory area and machinery storage area

B.	Area should be protected from the weather, but not necessarily heated

801.033	Activities

Storage of instructional materials and consumables

801.034	Facilities

A.	Storage rack for metal

B.	Storage rack for lumber

801.04		Machinery and Material Storage Area

801.041	Size - minimum of 600 square feet

801.042	Location

Adjacent to the lab with direct access through the overhead lab door

801.043	Equipment Space and Facilities

A.	Macadam base sloped for drainage

B.	Surrounded by chain link fence at least 7 feet high

C.	Double gate entrance, minimum of 14 feet wide

801.05		Greenhouse

801.051	Size - minimum of 22 feet x 48 feet

801.052	Location

A.	Convenient access to other program facilities

B.	Should be located to receive full sunlight during winter

C.	Aisles must be wide enough to accommodate handicapped students.

801.053	Equipment Space and Facilities

A.	Frost-proof hose bibs

B.	GFCI outlets as per NEC

801.06		Instructor’s Office and Storage Area

801.061	Size - minimum of 100-150 square feet

801.062	Location

Convenient or direct access to lab and classroom area

801.063	Equipment Space and Facilities

A.	Teacher’s desk and chair

B.	1 or 2 conference chair

C.	Storage

1.	Letter size, 4-drawer file cabinet

2.	Legal size, 4-drawer file cabinets, minimum of 2

3.	Adjustable shelving of various heights and depths

D.	Duplex electrical outlets as per NEC

E.	Network Computer Drops (See Chapter 11, Section 1113 and OTIS Handbook for specifications)

F.	Computer Workstations (See OTIS Handbook for specifications)

802	MARKETING EDUCATION FACILITIES

802.01		Instructional Space

802.011	Size

The size of the facility is driven by the curriculum.  The Marketing Education curriculum calls for small group work areas, project areas, and regular classroom instruction space.  The suggested average space is 40 - 45 square feet per student (1000 - 1125 square feet).

802.012	Design Capacity - 25 students

802.013	Location

The most desirable location for a facility will be found along a main corridor in a central location receiving maximum student exposure. A first floor location, in a two-story building, makes the department easily accessible to disabled students, adult and community education classes and for service technicians. Marketing Education classrooms should be clustered with Business Education classrooms to unify the programs and allow for easy communications, sharing equipment and exchanging classrooms

802.014	Activities – Refer to 603.04

Learning activities will include role playing; realistic job situations; demonstrating job related skills; observing and evaluating videos; job activities and processes; independent study in an area; panel and electronic presentations and discussions; and conferences.

802.015	Equipment Space and Facilities –Refer to 603.05

State of the art instructional technology – Refer to Section 302

A.	Teacher desk and chair

B.	Trapezoid shaped tables with chairs

C.	Exterior display window

D.	DVD player / recorder

E.	Calculators, 1 per student, per class

F.	Mannequins - 1 or 2

802.02		Office

802.021	Size

Because of the Marketing Education teachers’ daily contact with the business community, an office connected to the classroom is necessary.  This office should be 100-150 square feet and should accommodate 1 - 2 teachers.  A clear window or partition should separate the office from the classroom.

802.022	Location

Direct or convenient access to instructional space

802.023	Equipment Space and Facilities

A.	Teacher’s desk and chair

B.	Telephone with answering machine or voice mail

C.	Conference chairs - 1 or 2

D.	Computer with color printer

E.	Letter size 4 drawer file cabinets - 2

F.	20 to 30 linear feet of shelving, open or closed

G.	Plain paper copier

H.	Paper shredder

802.03		Storage

802.031	Size

A storage closet of at least 100 square feet should be attached to the classroom.  Some shelving should be built in.

802.032	Location

Direct or convenient access to instructional space or school store

802.033	Equipment Space and Facilities

Adjustable shelving throughout

802.04		School Store

802.041	Size

If a retail lab is part of the Marketing Education program, spaces from 150 square feet to 1500 square feet can be utilized, depending on the type of store and planned operation.  Contact the State Coordinator for Marketing Education for assistance in planning a school store.

802.042	Location

The most successful location would be on a high traffic corridor, attached to the Marketing Education Classroom and office.

802.043	Equipment Space and Facilities

Contact the State Coordinator for Marketing Education for specs.

A.	Display Case

B.	Cabinet, Storage for Display and Stock with Lock

C.	Mirror

D.	Shelving Units, Modular

E.	Wall Display Unit with Accessories (pegboard, grid, etc.)

F.	Surge Protector

G.	Wrap Counter

H.	Register Stand

I.	Apparel Displays

J.	Point-of-Purchase Display Rack

K.	Security System (Cameras, Monitor with or without DVD hook-up, with appropriate cables)

L.	Visual Merchandising Props (i.e. risers)

M.	Price Marking Gun

N.	Price Tag Attacher

O.	Floor Sign Holders

P.	Tabletop Sign Holders

Q.	Wall System for Merchandising (i.e. slat-wall, grid-wall)

R.	Accessories for Wall System (brackets)

S.	Point-of-Sale Register System (including bar-code scanner)

T.	Security Mirror

802.044	Activities

Stock and operate a retail enterprise, selling items identified as appropriate by school survey and the administration, teacher and advisory committee.

803	DIVERSIFIED COOPERATIVE TRAINING FACILITIES

803.01		Instructional Space

803.011	Size

The size of the facility is driven by the curriculum.  The Diversified Cooperative Education curriculum calls for small group work areas, project areas,  and regular classroom instruction space.   The suggested average space is 40-45 square feet per student (1000-1125 square feet).

803.012	Design Capacity - 25 students

803.013	Location

The most desirable location for a facility will  be found along a main  corridor in a central location receiving maximum student exposure. A first floor location, in a two-story building, makes the department easily accessible to disabled students, adult and community education classes and for service technicians.

803.014	Activities – Refer to Section 603.04

803.015	Equipment Space and Facilities – Refer to Section 603.05

A.	State of the art instructional technology – Refer to Section 302

B.	Trapezoid shaped tables with chairs

C.	Exterior display window

D.	Mannequins – 1or 2

E.	Television/monitor combination with remote

F.	Video digital camera and camcorder

803.02		Office

803.021	Size Because of the Diversified Cooperative Training teachers’ daily contact with the business community, an office connected to the classroom is necessary.  This office should be 100-150 square feet and should accommodate 1 - 2 teachers.  A clear window or partition should separate the office from the classroom.

803.022	Location Direct or convenient access to instructional space

803.023	Equipment Space and Facilities

A.	Technology – refer to Section 302.03

B.	Teacher’s desk and chair

C.	Telephone with Answering Machine or Voice Mail

D.	Conference chairs - 1 or 2

E.	Letter size 4 drawer file cabinets - 2

F.	20 to 30 linear feet of shelving, open or closed

803.03		Storage

803.031	Size A storage closet of at least 100 square feet should be attached to the classroom.  Some shelving should be built in.

803.032	Location Direct or convenient access to instructional space or school store

803.033	Equipment Space and Facilities

Adjustable shelving throughout

804	 HEALTH OCCUPATIONS  SCIENCE TECHNOLOGY FACILITIES

One factor influencing the location of the facilities would be whether the location permits parking and easy access for bus and auto transportation to clinical facilities.

804.01		Instructional Space

804.011	Size – Refer to Section 603.01

.

NOTE:		If classroom/laboratory area is combined, need 75 to 100 square feet per student.

804.012	Design Capacity – 20  students/classroom

804.013	Location

Convenient to laboratory and office.

804.014	Activities – Refer to Section 603.04.

804.015	Equipment Space and Facilities – Refer to Section 603.05

A.	State of the art instructional technology – Refer to Section 302

B.	Equipped simulation/patient care units with provision for privacy.  If the instructional space/laboratory area is combined, a demonstration unit is included in this area.

C.	Sink with hot and cold water

D.	Refer to the “Health Occupations Program Guide” for list of equipment for specific programs

804.02		Health Science Technology Education  Laboratory

804.021	Size

Base preliminary determination of area on allotment of 75 to 100 square feet per student in the following occupational areas.

A.	Dental Assistant

B.	Practical Nursing

C.	Health Assistant

D.	Nursing Assistant

E.	Medical Aide/Assistant

F.	Medical Lab Assistant

G.	Dental Lab Assistant

H.	Respiratory Therapy Technician

I.	Pharmacy Technician

J.	Medical Transcriptionists

K.	Surgical Technician

NOTE:		The assistance of specialists in health careers and health occupations should be secured in planning these facilities.

804.022	Design Capacity - 20 students/lab

804.023	Location

A.	Convenient access to instructional space and instructor’s office

B.	Provision for room privacy during patient care/simulation procedures

804.024	Activities

Learning experiences in patient care and recording, dental/medical office procedures and related activities, depending upon health occupation being taught.

804.025	Equipment Space and Facilities

A.	State of the art instructional technology – Refer to Section 302

B.	Equipment should be comparable to that used in the health occupation field.

C.	The equipment and workstations will vary with the occupational objectives of the program.

D.	Windows should be high enough to permit installation of equipment along the wall.

E.	Consultation should be made with the  Health Science Technology  Education Coordinator  for equipment needs of various occupational areas.

F.	Sink and lavatory with hot and cold water.

G.	Counter top with workspace and cabinet storage.

H.	Storage room with locked storage for visual aids, equipment and supplies.

I.	Dressing room and student lockers.

J.	Washer and dryer

804.03		Instructor’s Office/Station

804.031	Size - 100 to 150 square feet

804.032	Location

Direct access to the laboratory, instructional space and corridor.

804.033	Equipment Space and Facilities

A.	State of the art instructional technology – Refer to Section 302.03

B.	Teacher’s desk and chair

C.	Conference chairs - 2

D.	4 drawer file cabinet with lock

E.	Mirror

804.04		Resource/Study Area

804.041	Size - 225 square feet

804.042	Location

Can be separate room or can be part of laboratory.

804.043	Equipment and Facilities

A.	State of the art instructional technology – Refer to Section 302

B.	Round tables or library tables with 10 chairs each - 2

C.	Bookshelves or bookcases along walls

D.	Storage cabinets for visual aids and independent study materials

E.	Bookkeeping drawer and forms for book borrowing

F.	Magazine display rack for journals, pamphlets, periodicals, and other materials

805	FAMILY AND CONSUMER SCIENCES (FACS) - GRADES 9-12

The assistance of WVDE Human Service Cluster Coordinators, who maintain up-to-date recommended specific equipment lists, should be secured in planning FACS facilities.  Additionally, facilities and equipment must conform to public health sanitation guidelines and local safety regulations.

805.01		 Instructional Space

805.011	Size – Refer to Section 603.01

805.012	Design Capacity – 25 students

805.013	Location

Facilities should be located on the ground floor, preferably near an outside entrance for:

A.	Convenient delivery of supplies and instructional materials

B.	Convenient installation and removal of large equipment

C.	Easy accessibility for individuals with disabilities

D.	Easy accessibility for preschool age children and their parents

805.014	Activities – Refer to Section 603.04

805.015	Equipment Space and Facilities

A.	Instructional technology – Refer to Section 302

B.	Refer to Section 603.05

805.02		Teacher Office / Conference Area

805.021	Size 	100-150 square feet

805.022	Location –Direct access to classroom and laboratories

805.023	Equipment Space and Facilities

A.	State-of-the-art instructional technology – See Section 302.03

B.	Teacher’s desk and chair

C.	Lockable storage for teachers’ belongings

D.	Open and closed adjustable shelving - minimum 30 linear feet

E.	4-drawer file cabinet - 1 to 2 per teacher

805.03		Laboratory

805.031	Size 1500 square feet

805.032	Capacity 25 students

805.033	Location

Adjacent to the Family and Consumer Science instructional space

805.034	Activities  -- individual and small group activities; role playing; demonstrations and observations; presentations and discussions; and student organization meetings; instruction in food preparation, nutrition and wellness; safety and sanitation precautions; development of early childhood education and 	family relationships, and parenting activities; consumer education and money skills activities.

805.035	Equipment Space and Facilities

A.	Plumbing needs

1.	Adequate and properly located plumbing connections provided for the equipment

2.	A continuous supply of hot water provided.  A separate hot water heater and water softener may be needed.

B.	An all purpose area shall be designed for a one teacher apartment with space and equipment for teaching parenting, applied design, nutrition and foods, child development, family relationships, human services, and consumer education.

The area is designed to include the following areas:						1.	Foods and Nutrition laboratory - Refer to  Section 805.051 for specialized equipment and facilities requirements.

2.	Applied  Design laboratory/multi-purpose room - Refer to, Sections 805.071 for specialized equipment and facilities requirements.  Also, includes space and equipment for:

a.	Storage for teaching materials, supplies, and student references

b.	Teaching center

c.	Display case

3.	Multi-purpose tables

4.	Multi-purpose chairs

C.	Two multi-purpose rooms shall be designed for a 2 or more teacher department			1.	Room one consists of:

a.	Space and equipment for teaching foods and other instructional areas

b.	Storage for teaching materials, student projects, supplies and references.

c.	Teaching center

2.	Room two consists of:

a.	Space and equipment for teaching Applied Design lab  and other instructional areas listed above

b.	Storage for teaching materials, student projects, supplies, and references

c.	Teaching center with conference/office area

d.	Display areas

805.04		Storage

805.041	Size – 100 Square Feet

805.042	Location

Facilities should be located adjacent to instructional space and lab.

805.043	Equipment Space and Facilities

A.	Shelving conveniently spaced and/or adjustable to fit the size and shape of equipment to be stored, such as portable sewing machines, reference books, audiovisual equipment, and small equipment items

B.	Drawers of a depth to serve the materials or equipment to be stored

C.	Mobile base cabinets to provide additional work space and allow for more flexibility in room arrangement

D.	Heavy articles stored at a carrying level

E.	Movable trays or pullout sections used instead of shelves to facilitate removing articles

F.	Closed storage space provided for items that need to be protected, not used frequently, or may detract from the appearance of the room

G.	Cabinets with locks provided for storage of items such as electrical appliances, portable sewing machines, food, and audiovisual equipment

H.	Storage space provided for cleaning supplies and equipment

805.05		Food and Nutrition Specialized Equipment and Facilities

805.051	Equipment Space and Facilities

A.	Kitchen labs appropriate for demonstration, preparation and experimentation by small groups Each unit kitchen consists of: double sink, range, base and wall cabinets, tables, chairs, and 10-12 linear feet of work surface .

B.	Sink located between the range and mixing centers in each unit

C.	Waste disposal in each unit sink

D.	Adequate counter work space and adequate storage for basic equipment and supplies

E.	Exhaust ducts and/or range hoods with exhaust fans to pull odors and fumes out of the room and vent to the outside

F.	Cabinet with adjustable shelves Variety of cabinet and counter materials, range and refrigerator models, and fuels

G.	Non-porous floor covering and finish for walls

H.	Minimum of 3 electrical outlets per kitchen unit

I.	Refrigerator dishwasher

J.	Microwave oven

K.	Fire extinguisher, blanket, and first aid kit

805.06		Laundry Area

805.061	Equipment Space and Facilities

A.	Automatic washer and dryer

B.	Sink

C.	36 inches of counter space

D.	Base and wall cabinet for storage

E.	Space which allows for class demonstrations

805.07		Applied Design Area

805.071	Equipment Space and Facilities

A.	One sewing machine per 2 students.  These may be a combination of cabinet-type and portable (which must be stored when not in use).

1.	Each sewing machine and chair/stool provides a minimum of 3 feet for pull-out space.

2.	The facility is planned so that sewing machines can be stored and the area is available for multiple uses.

3.	A grounded electrical outlet is available for each machine.

B.	Pressing area - one for each 8 to 10 students.  Includes:

1.	Ironing boards

2.	Steam irons

3.	A variety of small pressing equipment, such as seam roll, sleeve board, and tailor’s hem

4.	Grounded electrical outlet in each pressing area

C.	Full length triple mirror

D.	Mannequin and dress form

E.	Display for completed projects

F.	Lockable storage

1.	Cabinets for tote trays located near the entrance.

2.	Cabinets or closet with adjustable rods for hanging garments.

3.	Cabinets or walk-in closet for storage

4.	Cabinet storage for drawing and other art and design supplies

5.	Storage for teaching materials, supplies and student references

G.	Computer and state of the art software for design

806	ProStart Restaurant Management Program

806.01		ProStart Instructional Space

806.011	Size

A.	Approximately 3500  to 4500  square feet (combined classroom / laboratory /storage).

B.	Classroom – Base preliminary determination of area upon allotment of 25 to 30 square feet per student-- approximately 1000 square feet.

806.012	Design Capacity - 25 students

806.013	Location

Ground level is a preferable.  Accommodations for delivery of supplies, safety considerations, adequate ventilation and exhaust are necessary in the laboratory.  The dining area should provide for easy accessibility with consideration to ingress and egress.

806.014	Activities – Refer to Section 603.04

Activities include class discussions, lectures and demonstrations; individual and small or large group activities; instruction in planning, selecting, storing, purchasing, preparing, and serving quantity food and food products; nutritive values; safety and sanitation precautions; use and care of commercial equipment; serving techniques and customer service applications; special diet considerations; and management of food service establishments.

806.015	Equipment Space and Facilities Classroom – Refer to Sections 603.05 and 302

806.02		ProStart Lab

While ProStart labs are designed to teach students the skills of the restaurant industry, the ProStart lab is different from a standard commercial production-oriented facility. The assistance of WVDE Human Service Cluster Coordinators, who maintain up-to-date recommended specific equipment lists, should be secured in planning ProStart laboratory facilities.  Additionally, facilities and equipment must conform to public health sanitation guidelines and local safety regulations.

806.021	Size Laboratory - Should reflect current industry specifications to provide workspace for 25 students - approximately 1500 square feet.

806.022	Capacity – 25 students

806.023	Location

Adjacent to ProStart Instructional Space

806.024	Activities

A.	Preparing, and serving quantity food and food products

B.	Use and care of commercial equipment

C.	Serving techniques and customer service applications

D.	Culinary technique demonstration

806.025	Equipment Space and Facilities – Laboratory

A.	Resilient finish floors

B.	High electrical demand

C.	Floor drainage

D.	Exhaust system

E.	Vents

F.	Natural gas

G.	Master control switch

H.	110 and 220 V. power

I.	Dressing and restroom facilities for male and female students

J.	Separate electrical circuit with ground fault

K.	Supply of hot and cold running water available at all times

L.	Sufficient number of conveniently located outlets

M.	Appropriate lighting

N.	Self-closing outside doors with tight fitting rubber seals to prevent rodent and insect entry (a pest management company should be contracted to inspect and maintain pest control of the kitchen and dining room on a regular basis)

O.	Workstations for 25 students, including but not limited to preparation areas for meats, entrees, salads, vegetables, sandwiches, beverages, and baked, fried, and broiled foods.  Stainless steel tables are necessary for student work areas.

P.	Variety of equipment reflective of the food service industry, such as commercial grade gas grills, convection ovens, deep-fat fryer, microwave oven, range/stove top, fire suppression system, stainless steel units, sandwich refrigerated prep unit, cash register, ice machine, and commercial coffee machine

Q.	Equipment which can be used for several purposes is desirable, (e.g. a mixer with attachments for cutting, dicing, and slicing)

R.	Salad preparation area to be provided and a vegetable cleaning sink is desirable

S.	Baking and proofing area

T.	Major traffic aisles at least 5 feet wide; adequate space between worktables and equipment, except for ovens, deep fryers, and grills, where the aisle should be 3½ to 4 feet.

U.	Diswashing area must include a 3-compartment sink (commercial dishwashing machine with disposal optional)

V.	Hand sink located within 75 feet of food preparation and food service areas.

W.	Bulletin boards for posting notices and safety information

X.	Adequate fire extinguishers and first aid kit will be provided.

Y.	Automatic washer and dryer installed away from food prep and serving areas and vented to the exterior with   GFCI outlets as per NEC.

Z.	Portable demonstration table with adjustable mirror

AA.	Janitor’s closet with mop sink and storage for cleaning supplies and equipment, located away from food and food preparation areas.

BB.	Storage should be provided for small wares, miscellaneous equipment, and other supplies.

CC.	Commercial grade freezer and refrigerator placed outside storeroom but adjacent to work areas.

806.03		Dry Storage

806.031	Size - 1500 square feet minimum

806.032	Location

Adjacent to ProStart lab

806.033	Equipment Space and Facilities

A.	Commercial grade adjustable wire shelving

B.	Bulk dry ingredient bins

C.	Dry storage with a temperature of 50 to 70 degrees and a moderate humidity level should be provided

D.	Storage areas should be equipped with locks and located near delivery entrance

E.	Shelving is adjustable and easy to clean

806.04		Café/Restaurant Dining area (optional)

806.041	Size - 12 -14 square feet per seat/patron

806.042	Design Capacity - Recommended 15 -25 patron capacity

806.043	Location

Adjacent to ProStart lab

806.044	Activities – dining room table service

806.045	Equipment Space Facilities

A.	Commercial grade dining tables and chair

B.	Beverage Station

807	Child Development  Specialist - Occupational

807.01		Instructional space and lab combined

807.011	Size - 1800 to 2400 square feet

807.012	Design Capacity - 20 secondary students.  If the child care lab is onsite design for  up to 15 preschool aged children

807.013	Location

First floor with direct exit to outside play area

807.014	Activities – Refer to Section 603.04

Also, observation of small children; directing children’s play; supervision of rest period; preparing and serving snacks or simple meals.

807.015	Equipment Space and Facilities

A.	Instructional technology – Refer to Section 302 (If an onsite child care lab facility is maintained, the following guidelines should be applied.  If field experience is off-site, the following serve as guidelines for the co-operating site.)

B.	Outside play area adjacent to indoor area or on same level; half paved - half turf with outdoor play equipment.  Allow at least 75 square feet of outside play area per child.  Outside play area is enclosed by a 3 feet high, child-safe barrier.  An outside water source is located within the outside play area

C.	Indoor play equipment and space.  Allow at least 35 square feet per child, excluding storage, food preparation and restroom areas.  Include organized play centers for activities such as art, language arts, large muscle development, science, math, manipulative and dramatic play and building/climbing.

D.	Restroom with child-size facilities - one flush toilet and one hand-washing basin for each 15 children.  Should be easily accessible from outdoor play area.

E.	Low lavatory near entrance from outside play area

F.	Isolation area approximately 50 square feet

G.	Kitchen area consisting of range, refrigerator, sink, and work and cabinet storage areas

H.	Storage for play equipment, books and reference

Materials, instructional and food supplies, and teachers’ and students’ personal belongings

I.	Child-size tables and chairs for approximately 15 pre-school aged children.  Tables should be safe, durable and sturdy, with adjustable legs.  Chairs should have a 12-inch seat height for 3 or 4 year olds.

J.	Cot or mat with sheet and blanket for children’s’ rest period if they will be in the program all day.

K.	Low, child-height drinking fountain

L.	Fire extinguisher located in the food preparation area

M.	Child-height lockers or space for children’s’ clothing near main entrance

N.	Instructional board, bulletin board, and window space available at child’s viewing level (approximately 3 feet from floor).

O.	Soundproof walls and ceiling.

P.	Inside storage provided for outdoor play equipment as well as for indoor toys and play equipment.

Q.	Lockable storage for household cleaners, chemicals, and medications

808	Cosmetology Program

808.01		Cosmetology Instructional Space

The assistance of WVDE Human Service Cluster coordinators, who maintain current recommended specific equipment lists, should be secured in planning these labs. Additionally, cosmetology facilities must conform to specific requirements from the State Board of Barbers and Cosmetologists, to public health sanitation guidelines, and local safety regulations.

808.011	Size – Refer to Section 603.01

808.012	Design Capacity 45 students

808.013	Location

Convenient to cosmetology lab

808.014	Activities – Refer to Section 603.04

808.015	Equipment Space and Facilities

A.	Refer to Section 603.05

B.	Refer to Section 302

808.02		Cosmetology Lab

808.021	Size – 3000 Square Feet

808.022	Capacity – Program certification requirements mandate three teachers for each cosmetology program. Each teacher can work with up to 20 students. Lab capacity can be up to 60 students.

808.023	Location

A.	Convenient access to instructional space and parking area

B.	Convenient access must be provided for individuals with disabilities

C.	High noise labs are to be isolated from quiet area of the school

808.024	ActivitiesDemonstrations; individual, small and large group activities, such as CTSO activities; selecting, planning, and evaluating student projects; development of cosmetology skills; provide personal services for customers; and implementation of coursework.

808.025	Equipment Space and Facilities

Equipment should be comparable to that used in industry

A.	The equipment will vary with the occupational objectives of the program.

B.	Equipment Details

1.	Bowls, shampoo

2.	Cabinet, file

3.	Cabinets, storage

4.	Cases, display

5.	Chairs, hydraulic

6.	Chairs, manicurist

7.	Dressing facilities for male and female students

8.	Dryers, commercial

9.	Facial steamer

10.	Foot bath/massager

11.	Lamps, manicurist

12.	Magnalite

13.	Manicure tables and stools

14.	Mannequins, assorted textures, colors, and holder, if not in student kit)

15.	Monitors

16.	Paraffin Wax Machine (recommended)

17.	Pedicure Spa/Foot Bath (recommended)

18.	Pedicure station with stool

19.	Stations, with mirror

20.	Steamer, facial

21.	Sterilizer, dry

22.	Tables, manicurist

23.	Tables, reception

24.	Wax machine

25.	Wet Sterilizer

26.	Resilient finish floors

27.	Floor drainage

28.	Vents

29.	Storage room - 80 square feet

30.	Separate electrical circuit with ground fault

31.	Hair wash station

809	INDUSTRIAL FACILITIES

Factors influencing the location of the building include: isolation from quiet areas; location to provide easy delivery of instructional supplies, materials, and equipment; and location convenient to parking area for adult education classes.

809.01		Instructional Space – Classroom

One instructional space is required per each industrial or technical laboratory.

809.011	Size – Refer to Section 603.01

809.012	Design Capacity - 20 students

809.013	Location

Convenient access to the laboratory

809.014	Activities – Refer to Section 603.04

809.015	Equipment Space and Facilities

A.	Refer to Section 603.05

B.	Instructional technology – Refer to Section 302

809.02		Industrial and Technical Laboratories

809.021	Specific Requirements of Labs

The following labs require:

A.	A minimum of 100 square feet per student work station

| LABS Computer Repair and Networking CISCO Networking Academies Graphic Design Comp. Sys. and Hardware Support Sys. Software and App. Support Drafting Electronics Technology Interior Design Masonry Power Systems Technology | CODE (see 809.022) D, F,DD,AA,BB,CC D, F,AA,BB,CC,DD D,F,M,AA,BB,CC,DD D,F,AA,BB,CC,DD D,F,AA,BB,CC,DD D,AA,BB,CC,DD F,AA,BB,CC,DD D,M,AA,BB,CC A,C,E,G,H,L,M,S,T,U,Z,AA,BB,DD A,B,C,E,G,H,M,S,T,U,V,Z,AA,BB,DD |
| --- | --- |

B.	A minimum of 120 square feet per student work station

| LABS HVACR Technology Electrical Technology Graphic Communications Plumbing Sheet Metal | CODE (see 809.022) A,B,C,H,M,Q,T,U,Y,Z,AA,BB,DD,JJ,HH B,C,E,F,L,M,R,S,T,U,X,Y,Z,AA,BB,DD D,M,Y,Z,AA,BB,CC,DD A,C,E,G,L,M,S,Z,AA,BB,DD B,C,E,L,M,O,P,R,S,T,U,Z,AA,BB,DD |
| --- | --- |

C.	A minimum of 160 square feet per student work, station

| LABS Automotive Technology Collision Repair Technology Communications Technology Computer Integrated Manufacturing Facilities Maintenance General Building Construction Machine Tool Technology Metals Technology Millwork and Cabinetmaking Welding Technology | CODE (see 809.022) A,B,C,E,G,H,J,L,M,O,P,R,S,T,U,V,X,Y,Z, AA,BB,DD,HH A,B,C,E,G,H,K,L,M,N,O,P,S,T,U,V,W,X,Y,Z, AA,BB,CC,HH D,F,M,R,Y,AA,BB,CC,DD B,D,F,M,R,U,Y,Z,AA,BB,DD A,B,C,E,F,G,H,L,M,N,P,R,S,T,U,W,X,Y,Z, AA,BB,DD A,B,C,E,F,H,L,M,R,S,T,U,W,X,Y,Z, AA,BB,DD A,B,C,E,F,H,L,M,O,P,R,S,T,U,,X,Y,Z, AA,BB,CC,DD,FF A,B,C,E,F,H,L,M,O,P,R,S,T,U,X,Y,Z, AA,BB,DD,HH,II B,C,E,F,H,L,M,N,O,P,Q,R,S,T,U,V,W,X,Y,Z, AA,BB,DD,JJ A,B,C,E,F,H,L,M,O,P,R,S,T,U,X,Y,Z, AA,BB,DD,GG,HH,II |
| --- | --- |

D.	A minimum of 240 square feet per student work station

| LABS Aviation Maintenance Diesel Equipment Technology Industrial Equipment Maintenance Materials Distribution | CODE (see 809.022) A,B,C,E,F,G,H,I,L,M,O,P,R,S,T,U,V,X,Y,Z, AA,BB,DD A,B,C,E,G,H,I,J,L,M,N,S,T,U,V,X,Y,AA,BB,HH A,B,C,E,F,G,H,I,L,M,O,R,S,T,U,V,X,Y,Z, AA,BB,DD,HH C,E,L,M,O,S,T,U,X,Y,Z,AA,BB |
| --- | --- |

NOTE:		The assistance of specialists in Industrial and Technical Education should be secured in planning these labs and must be secured when planning labs not listed above.

809.022	Special Facility Requirements Codes – Apply to 809.021

A.	Hose bibb

B.	Compressed air

C.	Concrete floors

D.	Resilient finish floors

E.	Overhead door - 10 feet x 12 feet, minimum

F.	High electrical demand

G.	Floor drainage

H.	Exhaust system

I.	Monorail

J.	Automobile hoist

K.	Frame rack

L.	Ceiling height - 14 feet, minimum

M.	Student wash area

N.	Spray booths

O.	Heavy machinery

P.	Vents

Q.	Natural gas

R.	Master control switch

S.	Ground floor

T.	Access driveway

U.	Tool room

V.	Storage for flammable materials

W.	Dust collector

X.	3 phase power connection

Y.	208 V., minimum

Z.	Dressing and restroom facilities for male and female students

AA.	Instructional space - See Chapter 8, Section 806.011 for space requirements

BB.	Storage room - 80 square feet

CC.	A heating, ventilating, and air conditioning (HVAC) system, which meets ASHRAE Standards

DD.	Separate electrical circuit with ground fault

EE.	Dark room with sink

FF.	Hair wash station

GG.	Outside storage for gasoline

HH.	Industry approved storage unit for oxy-fuel supplies

II.	Down draft welding booths

809.023	Design Capacity - 20 students

809.024	Location

A.	Convenient access to instructional space and parking area

B.	Convenient access must be provided for individuals with disabilities

C.	High noise labs are to be isolated from quiet area of the school

809.025	Activities

Construct, test, operate, and service equipment and tools; provide personal services for customers; depicting, shaping, forming, assembling, and servicing equipment and materials; demonstrations, lectures, and individualized instruction.

809.026	Equipment Space and Facilities

A.	Equipment should be comparable to that used in industry

B.	Equipment will vary with the occupational objectives of the program

C.	Instructional board and bulletin board - 6 linear feet, minimum

D.	Window stills should be high enough to permit installation of equipment along wall - 4 feet, minimum

E.	Provide appropriate fire extinguishers for equipment and materials used in program

F.	Consultation should be made with Industrial and Technical Education Office for equipment needs of various occupational areas.

810	BUSINESS EDUCATION FACILITIES

The number of students enrolled and the curriculum offered will determine the number and type of rooms needed.

810.01		All-Purpose Business Instructional Space This room would be needed for a small school (up to 150 business students per day) with only one business teacher.  Therefore, it is necessary to provide adequate space to store, maintain, and use a vast amount of equipment and supplies.  The room consists of the following:

A.	Equipment-oriented instructional lab area for computer and technology courses

B.	Multi-purpose classroom instructional area for basic business courses - See Section 603.05

C.	Storage for teaching materials, supplies, student projects and references

810.011	Size

1200 to 1400 square feet - 60 to 70 square feet per student

810.012	Design Capacity - 25 students per session

810.013	Location

The facilities for business education should be located, ideally, on the first floor in a central location where it is relatively quiet.  A first floor location, in a two-story building, makes the department easily accessible to students with exceptionalities, adult and community education classes, and for service technicians.  Business education rooms should be clustered to unify the programs and allow for easy communications, sharing equipment, and exchanging classrooms.

810.014	Activities – Refer to Section 603.04

Lecture or small group or class discussions; view videos, DVDs and other projected materials; conferences of small groups of students; display student projects or work; store partially- completed student projects; lockable storage for  instructional and technology supplies; listen to recordings,podcasts or broadcasts; view telecasts; write and transcribe notes; operate computers and other business /technology equipment.

810.015	Equipment Space and Facilities – Refer to Section 603.05

A.	Instructional technology –Refer to Section 302

B.	Calculators

C.	Computer with internal modem, DVD drive, USB flash drive, multimedia capabilities – 1:1 student ratio

D.	Speakers (for multimedia equipment)

E.	Scanner

F.	Headphones

G.	Access to server and network

H.	Plain paper copier and /or color copier

I.	Media cart with electrical outlets (wheels and optional locks)

J.	Letter-quality  laser printer – 1 per classroom

K.	Color laser printers – 2 per classroom

L.	DVD playerM.	VCR (or combination) and monitor

N.	Personal Digital Assistant (e.g. Palm Pilot, Pocket PCS, etc.)

O.	Digital camera and/or digital video camcorder

P.	Teacher demonstration work center

Q.	Laser pointer

810.02		Instructional Space

This room is designed to provide space and equipment for teaching basic business courses

810.021	Size –Refer to Section 603.01

810.022	Design Capacity - 25 students

810.023	Location

A.	Direct access to the, computer and technology laboratory

B.	Convenient access to other business education rooms

810.024	Activities—Refer to Section 603.04

810.025	Equipment Space and Facilities

Refer to Section 603.05

810.026	Instructional technology –Refer to Section 302

A.	Calculator and calculators with large keys for special needs students			B.	Work table - 3 feet x 6 feet

C.	Work counter - 15 linear feet; 28 to 32 inches deep, with storage underneath

D.	Electrical outletsstrip above work counter

E.	Closed book shelving - 8 to 10 linear feet

F.	DVD

G.	VCR (or combination) and monitor

810.03		Computer and Technology Application Laboratory

810.031	Size

The size of this facility is dependent upon the type of furniture and equipment contained; 35 to 45 square feet per student may be used for preliminary estimates.

810.032	Design Capacity - 25 students

810.033	Location

In the central core of the building, in the area of other business education rooms.

810.034	Activities

Demonstrate and practice computer applications and technology applications; create and  view electronic projections; display student projects or work.

807.035	Equipment Space and Facilities

See Section 603.05

A.	Instructional Technology – See Section 302

B.	Calculators and calculators with large keys for special needs

C.	Computers with internal modem, DVD drive, USB Flash driver, multimedia capabilities, 1:1 student ratio

D.	Speakers (for multimedia equipment)

E.	Scanner

F.	Responders with software

G.	Access to server and network

H.	Plain paper copier and/or color copier

I.	Media cart with electrical outlets (wheels and optional locks)

J.	Letter-quality laser printers , one per classroom

K.	Color laser printers, 2 per classroom

L.	DVD,VCR (or combination) and monitor

M.	Personal Digital Assistant (e.g. Palm Pilot, Pocket PCS, etc.)

N.	Digital camera and/or digital video camcorder

O.	Demonstration work center

P.	Laser pointer

810.04		Teachers’ Office and Conference Room

A.	Area for conferences

B.	Space for instructional planning, instructional materials, supplies, and record keeping

C.	Storage for student records and teachers’ personal belongings

810.041	Size - 100 to 150 square feet per teacher

810.042	Design Capacity

Office space for teachers and for conferences with individuals

810.043	Location

Direct access to other business education rooms

810.044	Activities

Teacher conferences; teacher-pupil conferences; instructional planning and record keeping.

810.045	Equipment Space and Facilities

A.	Technology – Refer to Section 302.03

B.	Dry erase Instructional board - 5 to 6 linear feet

C.	Bulletin board - 5 to 6 linear feet

D.	Conference table with chairs

E.	Desk and chair for each teacher plus computer furniture

F.	Work counter with shelving below - 10 linear feet

G.	Legal size file drawers - 12 per teacher

H.	Lockable storage for personal belongings of instructors

I.	Combination printer

J.	Copier, fax and scanner

K.	Telephone with answering machine

811	TECHNOLOGY EDUCATION FACILITIES - GRADES 9-12

Factors influencing the location include providing location for easy delivery of instructional supplies, equipment, and materials, some of which are bulky and heavy; and design of laboratory to permit some change in individual room areas as activities are developed. The assistance of specialists should be secured to adequately plan this suite.  Technology education programs include instruction in the areas of communication, transportation, construction, manufacturing, and engineering.

811.01	Technology Education Production Laboratory

811.011	Size

1000-1200 square feet

811.012	Design Capacity - 20 students

811.013	Location

Direct access from building corridor and to other rooms in the technology education suite

811.014	Activities

The production lab/ fabrication space should be an open flexible space to accommodate large scale production projects.  The space will provide an area for project layout, measurement, cutting, forming, and fabricating using a variety of materials (e.g., wood, metal, plastics); adequate space is needed for the use, care and storage of  hand tools and  machines.

811.015	Equipment Space and Facilities

A.	The major floor area should be free of heavy or permanently fixed equipment to allow for flexible room arrangement

B.	Maximum work counter and cabinet storage space

C.	Lockable tool room or lockable tool panels

D.	Windows should be high enough to permit installation of equipment along outside walls

E.	Ceiling electrical grid system for 120 volt power to machines with master switches and emergency cutoff buttons

F.	Adequate electrical wall outlets for power equipment and tools

G.	Equipment for removal of dust, chips, and harmful fumes

H.	Fire extinguishers of such kinds and sizes as recommended by the State Fire Marshal

I.	Sink area for personal cleanliness and preparation and cleaning of tools and supplies

J.	Lighting as per IES standards with low glare fixtures

K.	Noise and dirt concerns require separation from other areas

L.	Refer to the “Technology Education Curriculum Guide” and PLTW for a list of specific equipment

811.02		Technology Education Systems Laboratory/Project Lead the Way Design Area

811.021	Size

100 to 125 square feet per student.

811.022	Design Capacity - 20 students

811.023	Location

Direct access to production laboratory/fabrication lab for ease in supervision.

811.024	Activities

The design laboratory will provide an area for classroom instruction, project planning,  group collaboration, and small group activities; therefore, should be flexible in nature.  This area requires  a dust-free environment for instruction and activities with equipment such as computers, robotics, electronics, lasers, and a large open space for construction of group projects.

811.025	Equipment Space and Facilities –Lecture / discussion area

Refer to Section 603.05

A.	Instructional technology – Refer to Section 302

B.	Computers / workstations

1.	A maximum of 2 students per computer station

2.	Computers need to be located at perimeter for best teacher supervision

C.	Storage

1.	Maximum counter and cabinet storage space along walls (some of this space may be used for computers.  If so, height needs to be adjusted accordingly).

D.	Storage needed  for reference and resource material

E.	Multimedia presentations and computers require lighting control

F.	Communications

1.	Telephone

2.	Cable / fiber optic

G.	If planning to teach Foundations in Engineering, and /or PLTW courses,  room layout needs planned accordingly.

H.	Refer to State Coordinator for Technology Education

811.03		Instructor’s Office

811.031	Size - 100 to 150 square feet

811.032	Location

Convenient or direct access to production / fabrication laboratory and design  laboratory.

811.033	Equipment Space and Facilities

A.	Technology – Refer to Section 302.03

B.	Teacher’s desk and chair

C.	Conference chairs - 1 or 2

D.	Storage

1.	Letter size, 4-drawer file cabinets – 2

2.	Open and closed shelving for supplies and references, 20 to 30 linear feet

E.	Duplex outlets as per NEC

811.04		Finishing Area

This area needs to be a separate room or enclosed, ventilated spray booth.

811.041	Size –

75 to 125 square feet

811.042	Location

Direct access to production / fabrication laboratory

811.043	Activities

Mixing and application of a variety of surface finishes.

811.044	Equipment Space and Facilities

A.	Window in wall facing laboratory to provide for easy supervision

B.	Maximum work counter space

C.	Ventilation to provide a negative pressure to the adjacent areas

D.	Metal storage cabinet for paint, varnish, and other flammable materials

E.	Fireproof containers for paint rags

F.	Fire extinguishers

G.	Adjustable, high intensity, spark-proof lights

H.	Hooded spray booth vented to the exterior

I.	Heating, ventilating, and air conditioning (HVAC) system, which meets ASHRAE standards

811.05		Material Storage

811.051	Size –

Varying from 150 to 200 square feet

811.052	Location –

Direct access to other laboratories

811.053	Activities

For storage of various types of stock and other supplies necessary in the technology classroom

811.054	Equipment Space and Facilities

A.	Wide access door

B.	Storage racks for various types of stock.  Stock may be as large as 4 feet x 8 feet

C.	Adjustable shelving and cabinets for small items

811.06		Project Storage

811.061	Size –

150-250 square feet

811.062	Location

Direct access to classroom laboratory

811.063	Activities

Limited to storage of student projects and supplies

811.064	Equipment Space and Facilities

A.	Provide maximum adjustable shelving 24 inches deep along walls

B.	Provide free floor area for storage of large items

811.07		PLTW Modeling Space

Optional in Technology Education classroom

811.071	Size

Determination of size depends upon the number of students and related activities -- varying from 100 to 125 square feet per student

811.072	Design Capacity

20 students

811.073	Location

Direct access to design and fabrication laboratories

811.074	Activities

The testing laboratory provides an environment for testing ideas and lesson tasks.  This area should have flexible work surfaces in the center of space for groups and individuals.  The lab should be located with easy access back and forth from design and fabrication labs and easy access to project storage area.

811.075	Equipment Space and Facilities

A.	Flexible work area with reconfigurable tables and chairs in center of room

B.	Storage areas for testing equipment along walls with durable counter top surfaces.

C.	Smooth floor coverings

D.	Adequate number of electrical outlets

E.	Adequate lighting

F.	Access to design and production labs

G.	Access to project storage

Chapter 9

GENERAL SUPPORT FACILITIES

900	SUPPORT FACILITIES

County boards of education have sufficient support facilities to maximize the efficient administration of the county schools.  Accessible county support facilities are provided and maintained to promote a healthy and safe environment.  Space and equipment, available in such facilities, provide the support services necessary for a thorough and efficient educational program.  When possible, support facilities are housed together to maximize efficiency.

Support facilities shall have appropriate floor covering and ceiling tile, which is mold and microbial resistant.  These facilities shall also have a heating, ventilating, and air conditioning (HVAC) system, which meet ASHRAE standards

901	ADMINISTRATIVE FACILITIES

County boards of education provide adequate office and ancillary space to house all administrative personnel and functions.

901.01		Size

Support facilities are organized in such a manner as to provide effective services as economically as possible.  The size and number of such facilities are dependent upon the services required by the county.

901.02		Site

901.021	Location

Each administrative facility should be located and developed in proper relationship to the county’s governmental agencies, such as the county center of government.

901.022	Size

Site shall be of adequate size to provide parking for the staff and regular visitors.  Allow space for each car as per the appropriate standard.  See Chapter 2 for applicable site information.

902	GENERAL OFFICE AND RECEPTION/WAITING AREAS - ADMINISTRATIVE FACILITIES

902.01		Size

Size room necessary to meet the needs of the administration

902.02		Location

A.	At the hub of the administrative suite

B.	Direct access to a building corridor and to workroom

C.	Direct or convenient access to other office rooms in the administrative suite

D.	Adjacent to main entrance to facility

1.	In existing facilities where administrative facilities are not adjacent, a remote access security system should be used.

E.	Convenient access to workroom

902.03		Activities

Reception of visitors, pupils, and staff; general secretarial activities required in the operation of the center.

902.04		Equipment Space and Facilities

To meet needs of administration

903	WORKROOMS - ADMINISTRATIVE FACILITIES

903.01		Size - as required

903.02		Location - Direct access to the general office and waiting room

903.03		Activities

Preparation of materials, reports, and layouts of instructional materials by both secretarial and other personnel.

903.04		Equipment Space and Facilities

As required

904	STORAGE FOR BOOKS AND INSTRUCTIONAL SUPPLIES - ADMINISTRATIVE FACILITIES

904.01		Size

Base size on county needs for central instructional supply and distribution.

904.02		Location

A.	Convenient access to the general office

B.	Direct opening to corridor to permit distribution of supplies

C.	Exterior door for receiving and distribution

D.	Maintain humidity levels below 60%, utilizing the building control system in conjunction with the HVAC equipment.

904.03		Activities

Storage and distribution of instructional materials and supplies including books, papers, notebooks, erasers, and pencils.

905	BOARD ROOMS/MEETING ROOMS - ADMINISTRATIVE FACILITIES

905.01		Size

Depends on the space needed for spectator seating.

905.02		Location

A.	Convenient access to general office

B.	Design and location should permit groups to confer without being overheard or seen from adjacent rooms.

905.03		Activities

Conferences and training involving staff, and regular and special board meetings.

906	SUPERINTENDENT’S OFFICE - ADMINISTRATIVE FACILITIES

906.01		Size - as required

906.02		Location

A.	Direct or convenient access to general office

B.	Convenient access to the corridor without going through the general office

C.	Convenient access to other areas in the administrative suite

D.	Convenient to board room

E.	Design and location should permit the superintendent to confer without being seen or overheard in adjacent areas

906.03		Activities

Planning, research, and administrative activities conducted individually or in groups.

906.04		Equipment Space and Facilities

A.	Room design should permit the superintendent to confer without being seen or overheard in adjacent areas

B.	Conference desk and chair

C.	Work table convenient to desk for layout work

D.	Conference chairs

E.	Shelving

F.	Storage for personal belongings

G.	Telephone service and intercom to secretary in general office

H.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

907	ASSISTANT SUPERINTENDENT’S OFFICE - ADMINISTRATIVE FACILITIES

907.01		Size - as required

907.02		Location

Convenient access to the general office and superintendent’s office.

907.03		Activities

Planning, research, and administrative activities conducted individually or in small groups.

907.04		Equipment Space and Facilities

A.	Room design should permit the assistant superintendent to confer without being seen or overheard in adjacent areas

B.	Conference desk and chair

C.	Work table convenient to desk for layout work

D.	Conference chairs

E.	Shelving

F.	Storage for personal belongings

G.	Telephone service and intercom to secretary in general office

H.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

908	OFFICES FOR PROFESSIONAL SUPPORT PERSONNEL - ADMINISTRATIVE FACILITIES

NOTE:		Number of spaces required will depend on the local staff size

908.01		Size - size to maximize space utilization

908.02		Location

A.	Direct access from reception area and convenient access to meeting room and general office in the administrative suite.

B.	Design and location should permit should permit the assistant to confer without being seen or overheard in the adjacent areas.

C.	Easy access to vault and records

908.03		Activities - Daily Execution of Job Duties

908.04		Equipment Space and Facilities

A.	Desk and chair

B.	Conference chairs

C.	Shelving

D.	Bulletin board

E.	Storage for personal belongings

F.	Telephone communication with general office and intercom. Require private telephone line to the counselor’s office

G.	File cabinet with lock

H.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

909	RECORD STORAGE- ADMINISTRATIVE FACILITIES

NOTE:		Record storage may be eliminated by providing fire resistant filing cabinets in the general office or other storage area.

909.01		Size - as required

909.02		Location - Direct or convenient access from the general office

909.03		Activities - Storage of current and inactive records

909.04		Equipment Space and Facilities

A.	General construction should be fire resistant

B.	Cart/storage units preferable for current records

910	SECRETARIAL WORK AREAS OR OFFICES - ADMINISTRATIVE FACILITIES

NOTE:		Number of spaces required will depend on the local staff size.

910.01		Size - size to maximize space utilization

910.02		Location - Direct access to offices served

910.03		Activities - Daily execution of job duties

910.04		Equipment Space and Facilities

A.	Secretarial desk and chair

B.	Typewriter and stand

C.	Comfortable chairs

D.	Filing cabinets

E.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

F.	Telephone communication with general office

G.	Computer work station

911	STAFF LOUNGE - ADMINISTRATIVE FACILITIES

911.01		Size - size to maximize space utilization

911.02		Location

A.	Direct access from a building corridor

B.	Location avoiding major traffic, yet reasonably close to the administrative area

C.	Restrooms should not have direct opening into the lounge area

911.03		Equipment Space and Facilities

A.	Comfortable lounge furniture

B.	Kitchenette to prepare light refreshments

C.	Restrooms

D.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

912	SERVICE FACILITIES - ADMINISTRATIVE FACILITIES

See Chapter 11, Sections 1107 – 1113.

913	ENGINEERING AND CUSTODIAL FACILITIES - ADMINISTRATIVE FACILITIES

See Chapter 3, Section 304.

914	MAINTENANCE FACILITIES

Boards of education provide sufficient, secure, and centrally located repair and maintenance facilities for educational facilities. Boards of education provide sufficient facilities for storage of all supplies, equipment, and food items.

914.01		Size

Maintenance facilities are organized in such a manner as to provide effective services as economically as possible.  The size of such facilities is dependent upon the services required by the county.

914.02		Location/Site

The operations and maintenance facility should be located centrally in the county for the convenience of maintenance personnel traveling from the facility to schools and other staff traveling to this facility for training sessions.  It may be desirable to have a combination administrative, operations, and maintenance facility.

Site shall be of adequate size to provide parking for staff automobiles, maintenance trucks, and delivery vehicles.

915	GENERAL OFFICE AND RECEPTION/WAITING AREAS - MAINTENANCE FACILITIES

915.01		Size

Dependent upon size of the center, sizing should incorporate maximum space utilization

915.02		Location

A.	At the hub of the administrative suite

B.	Direct access to a building corridor and to work room

C.	Near main entrance of facility

D.	Convenient access to work room

915.03		Activities

Reception of visitors and staff; general secretarial activities required in the operation of the center.

915.04		Equipment Space and Facilities

A.	Counter separating reception/waiting room or area from the secretarial work area

B.	Seating in reception area

C.	Small table for magazines and other literature

D.	Display space and bulletin board

E.	Secretarial furniture

F.	Master telephone station or other communications to all locations in the facility

G.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

916	WORKROOMS - MAINTENANCE FACILITIES

916.01		Size - 100 to 150 square feet

916.02		Location

Direct access to the general office and waiting room.

916.03		Activities

Preparation of reports and layouts of materials by both secretarial staff and other personnel.

916.04		Equipment Space and Facilities

A.	Combination of open shelving and closed cabinets for storage of a variety of supplies and equipment

B.	Duplicating machine

C.	Work table or counter

D.	Lavatory

E.	Resilient floor covering

917	MEETING ROOMS/TRAINING FACILITIES - MAINTENANCE FACILITIES

917.01		Size - Depends on the needs for training sessions.

917.02		Location

A.	Convenient access to general office/reception/waiting areas

B.	Design and location should permit groups to confer without being overheard in adjacent rooms

917.03		Activities - Conferences and Training of Staff

917.04		Equipment Space and Facilities

A.	Conference tables and chairs

B.	Instructional board

C.	Bulletin board

D.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

E.	Pull-down projection screen

918	RECORD STORAGE - MAINTENANCE FACILITIES

NOTE:		Room may be eliminated by providing fire resistant filing cabinets

918.01		Size - as required

918.02		Location - Direct or convenient access from the general office and other areas.

918.03		Activities - Storage of current and inactive building documents.

918.04		Equipment Space and Facilities

A.	General construction should be fire resistant

B.	Files for plans and documents

C.	Plan table

D.	Filing cabinets

919	OFFICES FOR PROFESSIONAL SUPPORT PERSONNEL AND SERVICE SUPERVISORS - MAINTENANCE FACILITIES

919.01		Size - size to maximize space utilization

919.02		Location

Convenient access to general office and other spaces

919.03		Activities

Planning, research, and administrative activities conducted individually or in small groups

919.04		Equipment Space and Facilities

A.	Room design should permit staff members to confer without being overheard or seen in adjacent areas.

B.	Conference desk and chair

C.	Conference chairs

D.	Shelving

E.	Storage for personal belongings

F.	Telephone service and intercom to secretary

G.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

920	SECRETARIAL WORK AREAS OR OFFICES - MAINTENANCE FACILITIES

NOTE:		Number of spaces required will depend on the size of the local staff.

920.01		Size - size to maximize space utilization

920.02		Location - Direct access to offices served

920.03		Activities - Daily execution of job duties

920.04		Equipment Space and Facilities

A.	Secretarial desk and chair

B.	Appropriate chairs

C.	Filing cabinets

D.	Telephone communication with general office

E.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

921	CARPENTRY, PLUMBING, HEATING, AND ELECTRICAL MAINTENANCE SHOPS - MAINTENANCE FACILITIES

921.01		Size - size to maximize space utilization

921.02		Location

A.	Convenient access to the general office

B.	Exterior door for distribution and receiving

C.	May be desirable to have an enclosed loading and unloading area for service vehicles

921.03		Activities

Storage of replacement parts, repairs to building components, and distribution of maintenance supplies.

922	SERVICE FACILITIES - MAINTENANCE FACILITIES

See Chapter 11, Sections 1107 – 1113.

923	ENGINEERING AND CUSTODIAL FACILITIES - MAINTENANCE FACILITIES

See Chapter 3, Section 304.

924	STAFF LOUNGE - MAINTENANCE FACILITIES

924.01		Size - according to staff number

924.02		Location

A.	Direct access from a building corridor

B.	Location avoiding major traffic, yet reasonably close to the administrative area

C.	Restrooms should not have direct opening into the lounge area

924.03		Equipment Space and Facilities

A.	Comfortable lounge facilities

B.	Kitchenette to prepare light refreshments

925	STORAGE FACILITIES

Boards of education provide sufficient facilities for storage of all supplies, equipment, and food items.

925.01		Custodial and food service storage rooms.  (Must be separate spaces.)

925.011	Size

Base size on county needs for central supply and distribution of custodial supplies, dry foods, refrigerated foods, and frozen foods to the local system.

925.012	Location

A.	Convenient access to the general office

B.	Direct opening to corridor to permit distribution of supplies

C.	Exterior door for receiving and distribution

925.013	Activities

Storage and distribution of materials and supplies.

926	TRANSPORTATION FACILITIES

Transportation services are an integral part of the system of education in West Virginia.  With expanding transportation requirements comes the necessity to maximize efficiency and at the same time exercise extreme concern for safety.  Boards of education provide sufficient, secure, and centrally located staff offices, training spaces and storage, repair and maintenance facilities for all county school buses and vehicles.

926.01		Size

Transportation facilities are organized in such a manner as to provide effective services as economically as possible.  The size and number of such facilities are dependent upon the services required by the county.  The following is generally felt to be required to adequately serve a smaller county and may be used as a standard for multi-centers in larger counties.

926.02		Site

The transportation facility must have a site sufficient to park the county’s entire fleet of buses, as well as employees’ and visitors’ vehicles.  See Chapter 2, Section 206 for additional information.  The following can be used for preliminary planning, but final layouts must be done to insure accurate planning.

A.	Buses - as per applicable standard

B.	Cars -as per applicable standard

C.	Due to the size of buses and their turning radius, large amounts of space are required for circulation of vehicles.

D.	Centers should be located to facilitate easy access and reduce bus runs.

927	BUS REFUELING/PUMP STATIONS - TRANSPORTATION FACILITIES

Refueling pumps and/or stations are safely separated from maintenance and storage areas.  Facilities must supply all types of fuel in use, such as gasoline, diesel, LPG, and CNG.  Facilities should be visible from the office area, must comply with applicable safety standards, and provide adequate space for bus circulation.

928	RECEPTION/WAITING AREAS - TRANSPORTATION FACILITIES

928.01		Size

Dependent upon size of the center, sizing should incorporate maximized space utilization.

928.02		Location

A.	At the hub of the administrative suite

B.	Direct access to a building corridor and to work room

C.	Direct or convenient access to director’s office and other rooms in the administrative suite

D.	Near main entrance to facility

E.	Access to work room

928.03		Activities

Reception of visitors and staff, and general secretarial activities required in the operation of the center.

928.04		Equipment Space and Facilities

A.	Counter top separating reception/waiting room or area from the secretarial work areas

B.	Appropriate chairs in reception area

C.	Small table for magazines and other literature

D.	Display space and bulletin board

E.	Secretarial furniture

F.	Master telephone station, or other communications, to all locations

G.	Appropriate floor covering and ceiling tile, which is mold and microbial resistant

929	DIRECTOR’S OFFICE - TRANSPORTATION FACILITIES

929.01		Size - as needed

929.02		Location

A.	Direct or convenient access to general office

B.	Convenient access to the corridor without going through the general office

C.	Convenient access to other areas

929.03		Activities

Planning, research, and administrative activities conducted individually or in small groups.

929.04		Equipment Space and Facilities

A.	Room design should permit the director to confer without being overheard or seen in adjacent areas.

B.	Conference desk and chair

C.	Work table convenient to desk for layout work

D.	Conference chairs

E.	Shelving

F.	Storage for personal belongings

G.	Telephone service and intercom to secretary

929.05		Assistant Director/Trainer Offices

These spaces may be needed, depending on the size of the local transportation system.

929.051	Size - as needed

930	WORK ROOM - TRANSPORTATION FACILITIES

930.01		Size - as needed

930.02		Location

Direct access to the general office and waiting room

930.03		Activities

Preparation of materials, reports, and layouts of materials by both secretarial and other personnel

930.04		Equipment Space and Facilities

A.	Combination of open shelving and closed cabinets for storage of a variety of supplies and equipment

B.	Duplicating machine

C.	Work table or counter

D.	Lavatory

E.	Resilient floor covering

931	STAFF LOUNGE/TRAINING ROOM - TRANSPORTATION FACILITIES

931.01		Size - According to staff number

931.02		Location

A.	Direct access from a building corridor

B.	Location avoiding major traffic, yet reasonably close to the director’s office

C.	Restrooms should not have direct opening into the lounge area.

931.03		Equipment Space and Facilities

A.	Comfortable lounge furniture (if not used for training)

B.	Kitchenette to prepare light refreshments

C.	Restrooms

D.	Pull-down projection screen

E.	Capability of darkening room

F.	Instructional board

G.	Bulletin board

H.	Tables and chairs (if used for training)

NOTE:		The size of staff lounge/training room will vary, depending upon availability of space for training activities at other locations within the system.

932	GENERAL SERVICE BAYS - TWO (2) - TRANSPORTATION FACILITIES

932.01		Size - as appropriate to hold two buses simultaneously

932.02		Location

A.	Direct access to vehicle storage yard

B.	Access to tool room

C.	Access to parts room

932.03		Equipment Space and Facilities

A.	Mechanic work benches with wall space above

B.	Overhead beam and lift for engine removal

C.	Outlets for exhaust removal to the exterior

D.	Compressed air capable of operating pneumatic tools

E.	Cold water

F.	120 volt  plus either  240 volt, 208 volt or 480 volt electric single and three phase where applicable

G.	Trench drains connected to an oil-separation reservoir

H.	Non-slip concrete floor

933	HYDRAULIC LIFT BAY - ONE (1) - TRANSPORTATION FACILITIES

933.01		Size - as appropriate for one bus

933.02		Location

A.	Access to the new oil storage room

B.	Access to tool room

C.	Access to parts room

933.03		Equipment Space and Facilities

A.	Mechanic work benches with wall space above

B.	Adjustable length hydraulic lift for lifting entire bus at one time

C.	Outlets for exhaust removal to the exterior

D.	Used oil receiver

E.	Compressed air

F.	Cold water

G.	Electric - 120 voltplus either 240 volt, 208 volt or 480 volt single and three phase where applicable

H.	Floor drains connected to an oil separation reservoir

I.	Non-slip concrete floor

934	WASH BAY - ONE (1) - TRANSPORTATION FACILITIES

934.01		Size - as appropriate.

934.02		Location

A.	Fully partitioned space

B.	Adjacent to other service bays

C.	Easy circulation to and from the service yard

D.	Access to hot water heater room and mixing equipment

934.03		Equipment Space and Facilities

A.	Adequate heat and ventilation for year-round usage

B.	Water resistant floor and wall finishes

C.	Adequate drains and connected to an oil separation reservoir

D.	Non-slip concrete floor

E.	All electrical receptacles to be GFCI rated.

935	BODY REPAIR/PAINT BAY - ONE (1) - TRANSPORTATION FACILITIES

935.01		Size - as appropriate for one bus

935.02		Location

A.	Easy access to vehicle storage yard

B.	Access to paint equipment and supply room

C.	Access to parts room

D.	Must be self-contained space

935.03		Equipment Space and Facilities

A.	Mechanic work benches

B.	Heated, filtered make-up air and filtered exhaust air system

C.	Compressed air capable of operating pneumatic tools

D.	Cold water

E.	Electric, 120 volt plus either 240 volt, 208 volt or 480 volt single and three phase where applicable

F.	Floor drains connected to a sediment trap

G.	Non-slip concrete floor

936	SERVICE FACILITIES - TRANSPORTATION

See Chapter 11, Sections 1107 – 1113.

937	ENGINEERING AND CUSTODIAL FACILITIES - TRANSPORTATION

See Chapter 3, Section 304.

Chapter 10

FACILITY SAFETY

1000	OVERALL FACILITY SAFETY

All school facilities are designed, constructed, furnished, and maintained in a manner that enhances a healthy learning environment and necessary safeguards for the life safety, security, and health of persons who enter and use the facility.

The safety of each facility is determined upon compliance with the minimum requirements of the State Fire Code, and all other applicable federal, state and local requirements.

1001	STRUCTURAL SAFETY

All school facilities are to be designed, constructed, furnished, and maintained with methods, materials, and equipment that provide adequate structural safety, fire resistance and protection, and convenience in traffic circulation.  All school facilities shall be in compliance with the state building code and all applicable federal, state and local regulatory agencies.

1001.01	The structural design elements shall provide the following:

A.	The ability of the building to resist lateral forces such as are imposed by extreme winds and earthquakes

B.	The ability of the building to resist distortion and rapid deterioration from excessive or uneven foundation settling or the overstress of structural members and inadequate tying

C.	The ability of the building to carry the maximum live loads imposed on it by school and community use

1002	TYPES OF CONSTRUCTION AND AREA LIMITATIONS

1002.01	Buildings that require approved automatic sprinkler systems must be installed as per NFPA  13  Sprinkler Code and West Virginia Fire Code.

1002.02	Places of Assembly

In educational facilities places of assembly shall include, but are not limited to, all buildings or portions of buildings used for gathering together 50 or more persons for such purposes as deliberation, worship, entertainment, dining, amusement, or awaiting transportation.  Examples: gymnasiums, auditoriums, libraries, and cafeterias.

Classifications of places of assembly are explained as follows: Each place of assembly shall be classified, according to its capacity:

Class A, capacity of 1000 persons or more; Class B, capacity of 300 to 1000 persons; Class C, capacity of 50 to 300 persons.  Refer to the  NFPA 101 Life Safety Code to pick the appropriate type of building construction.

1003	FIRE PROTECTION

1003.01	Fire Safety

In educational facilities, fire safety includes, but is not limited to, fire resistive construction, fire alarm systems, sprinkler systems, exits, enclosure of vertical openings, and evacuation plans. Each county shall ensure that fire evacuation plans are posted in all facilities.

1003.02	Refer to appropriate sections of West Virginia Fire Code and NFPA 101 Life Safety Code.

1003.03	Heating Plant and Kitchens

A.	The mechanical room shall be isolated from pupil-occupied areas by location and/or treatment (fire resistive construction).

B.	Central heat plant installations shall be in accordance with appropriate state and local codes.

C.	Kitchens must have ventilation and protection in accordance with the State Fire Code; NFPA 96, Vapor Removal Cooking Equipment and ASHRAE.

1003.04	Electric Services

All wiring, connections, and electrical installations shall be in accordance with the WV Fire Code and National Electrical Code.

1003.05	Fire Alarm System

1003.051	General Requirements

A.	All fire alarm systems, including all components, shall be electrically supervised.  Components shall include pull stations, automatic detection, sounding devices, flow switches, tamper switches, and main panel.

B.	All fire alarm systems and wiring shall be in accordance with the National Electrical Code and the WV Fire Code.

1003.052	Requirements for Educational Occupancy

A fire alarm system is required in every educational occupancy area (as defined in the WV State Fire Code), and such a system must meet the requirements and standards as provided herein.  Educational occupancies area as defined in the NFPA 101 Life Safety Code.  Exception: One or two room buildings of less than 2500 square feet gross floor area with two direct exits to the outside from each classroom.

1003.06	Fire Extinguishers

A fire extinguisher shall be installed in accordance with the State Fire Code; NFPA 10, Portable Extinguishers.

1003.07	Occupant load Calculations

A.	The occupant load of educational facilities, or any individual stories or sections thereof, shall be as determined by the State Fire Code; NFPA 101, Life Safety Code.

B.	Occupant load requirements of lecture rooms, gymnasiums, or cafeterias used for assembly purposes shall also be determined by the State Fire Code; NFPA 101, Life Safety Code.

1003.08	Emergency Lighting

Every educational facility shall have emergency lighting as per NFPA 101 Life Safety Code, State Fire Code, and National Electrical Code.

1003.09	Extinguishment Requirement

A.	Every portion of each educational building below the floor of exit discharge shall be protected throughout by an approved automatic sprinkler system in accordance with the State Fire Code; NFPA 101, Life Safety Code.

B.	Buildings that require approved automatic sprinkler systems must be installed as per NFPA 13 Sprinkler Code and West Virginia Fire Code.

1003.10	Vertical Openings

All vertical openings in educational buildings shall be enclosed and protected by fire resistive construction, as required by the State Fire Code.

1003.11	Classrooms

Every room or space used for classroom or other educational purposes that do not have a sprinkler system shall have at least one outside window used for emergency rescue or ventilation as per NFPA 101 Life Safety Code and WV Fire Code.

1004	NOTIFYING THE FIRE DEPARTMENT

Whenever a fire occurs in any building or on any premises of any kind, the owner, manager, occupant, or any person in control of such building or premises, upon discovery of afire, or evidence of there having been a fire, even though it has apparently been extinguished, immediately shall cause notice of the existence of such fire, circumstances of same, and the location thereof to be given to the Fire Department, West Virginia State Fire Marshal, and the West Virginia Department of Education Office of School Facilities.  This requirement shall not be construed to forbid the owner, manager, or other person in control of the aforementioned building or premises from using all diligence necessary to extinguish such fire prior to the arrival of the Fire Department.

No person shall make, issue, post, or maintain any regulation or order, written or verbal, which would require any person to take any unnecessary delaying action prior to reporting a fire to the Fire Department.

1005	CIRCULATION, SAFETY, AND CONVENIENCE

1005.01	Corridors

A.	Each corridor shall be a minimum of 6 feet wide in the clear. Room and locker doors swinging into corridor shall not, at any point of the swing, reduce the minimum clear passage.

B.	A means of egress shall exist at each end of a corridor, and in no case shall any corridor extend more than 20 feet beyond an exit.

C.	Doors separating corridors from stair enclosures shall be B Label fire rated doors and swing in the direction of exiting.

1005.02	Stairways

A.	All stairways shall conform to the requirements of the State Fire Code; NFPA 101, Life Safety Code.  Life Safety Code provides details for construction and dimensions.

B.	Closets, storage areas, or other rooms or spaces shall not open into the stairway enclosure; nor shall such space be permitted under or over stairways.

C.	Buildings of more than one story have a minimum of two stairways, located remote from each other, which provides a continuous exit to the outside.  Additional stairways may be necessary, dependent upon occupant load and square footage of the floor(s).

1005.03	Exits

A.	All buildings, including one-room buildings, or classrooms over 1000 square feet shall have a minimum of two exits, remote from each other.

B.	All exits shall comply with the State Fire Code, NFPA 101, Life Safety Code, which provides information for determining number, kinds, arrangement, and capacity of required exits.

1005.04	Signs

A.	All auditoriums, assembly areas, gymnasiums, stairways, corridors, and exits should have illuminated signs marked “EXIT” in plain, legible letters (with direction arrow, if necessary) as per the appropriate codes.

B.	Low hanging signs, ceiling lights and similar objects, signs and fixtures that protrude into regular corridors or traffic ways shall be avoided.  A minimum height of 7 feet 6 inches from the floor is required.

1006	OTHER CIRCULATION AND TRAFFIC PROBLEMS WHICH NEED SPECIAL ATTENTION

1006.01	The plan of the drive and bus-loading platform shall meet the Highway Safety Program Guideline 17 and should be such that all buses can line up in tandem, permitting children to enter the bus from the right (that is, without crossing in front or to the rear of buses).  No backing up of buses will be permitted.

1006.02	Access to the school grounds should be such that pupils coming to the site do not need to walk through any part of the building to get to the playground.

1006.03	Pupil circulation to and from toilet units is simplified when these units and hand washing facilities are located as follows.

A.	On normal traffic routes from instructional spaces to outdoor recreation areas

B.	Adjoining playgrounds so that the building proper need not be entered by playground users

C.	Near cafeteria or lunchroom

1007	DEMOLITION, RENOVATION AND ALTERATION

Before embarking on a renovation project, there are preliminary steps, which must be taken.  The existing facility must be examined carefully.  Information about the educational program, the community, enrollment, and so forth must be assembled and analyzed.  Educational goals must be clearly established and alternative solutions to the facilities problem (including renovation, renovation plus additions, demolition and replacement, or new site acquisition and new construction) must be developed and compared.

1007.01	An assessment of the existing facility should include an examination of at least the following areas:

A.	Program support

B.	Structural soundness

C.	Adaptability of the building

D.	Adequacy of space

E.	Aesthetics

F.	Operational and maintenance efficiency

G.	Condition of mechanical systems

H.	Compliance with safety codes

I.	Location

J.	Site characteristics

K.	Cost of project

L.	Identify all hazardous materials (e.g. lead, asbestos, PCB, etc.) and plan for their management and remediation.

M.	Condition of the electrical system

N.	Temporary Exiting Strategy

1008	EMERGENCY SHELTERS

1008.01	Professional advice and assistance in the design of shelter areas for school buildings is available at no cost to architects and school boards.  This service is obtained through the state Department of Emergency Services.

1008.02	Each county shall ensure all facilities have a  plan for locating students and staff for shelter-in-place including a plan for shutting down the HVAC systemincluding all exhaust systems.

1009	MODULAR OR DETACHED CLASSROOM STRUCTURES

1009.01	These installations shall be made with prior approval of the West Virginia Board of Education and only to relieve overcrowding or to provide interim housing while an approved school construction project is being planned and/or completed.   Approval for continued use beyond three years must be obtained from the WVBE.  Local school districts must include in their CEFP a method and time frame for replacing these buildings with permanent structures.  These buildings shall comply with all state regulatory requirements, including installation of potable water and restroom facilities for early childhood (K-4), applicable building,  fire and public health codes, and ADA compliance.

1010	SAFETY AND CLEANLINESS OF BUILDINGS

1010.01	All schools must be maintained in a safe condition.  Scheduled inspections by properly trained and/or licensed staff will insure that facilities are kept in a state as near to the original condition as possible at all times.  Facilities shall also be kept clean and sanitary at all times by scheduled cleaning of all sections of the buildings.  This shall be insured by regular inspections for compliance with scheduled cleaning and maintenance tasks.

1010.02	Materials which, under normal use conditions, may release formaldehyde in excess of .1 parts per million or asbestos in accordance with 40 CFR Part 763 Asbestos Containing Materials in Schools (AHERA)  which contribute to levels of indoor air pollutants considered potentially harmful to human health, shall not be permitted in building design.  .  This includes that an Asbestos Management Plan (AMP) is developed and maintained for all school buildings owned or leased.  Asbestos Management Plans are even required for all newly constructed school buildings even if they are certified asbestos free in compliance with federal regulation.  All AMP are to be approved by the West Virginia Department of Health and Human Resources’ Bureau for Public Health.   In addition, all field devices and equipment are to be mercury free, except for fluorescent lamps, which are to be in accordance with Section 1102.031D.

Exposure to lead, especially from paint products before 1978, may cause devastating health hazard to young children, resulting in long term health effects, i.e., learning disabilities, decreased growth, hyperactivity, impaired hearing, etc.  Therefore lead based paint in child occupied buildings constructed prior to 1978 should be monitored and maintained in a safe condition in compliance with state public health law and rule (16-35 and 64 CSR 45).  A child occupied building is defined as an area(s) where a child age 6 or younger is located for three (3) hours per day twice a week, i.e., child care centers, pre-kindergarten and kindergarten.  By policy child care centers in a facilities built prior to 1978 must have a lead risk assessment conducted prior to being licensed.  A risk assessment is a plan developed to address lead hazards located within a facility.

1010.03	The Integrated Pest Management program, as per West Virginia Code shall be used for termite and rodent control.  Prior to pesticide use, staff and parents are to be notified if they have requested this notification.

Chapter 11

BUILDING ENVELOPE/MEP/INDOOR ENVIRONMENTAL SYSTEMS AND TECHNOLOGY

1100	COMMON ENVIRONMENTAL FACTORS

All new or renovated schools are to be designed, constructed, furnished, and maintained in a manner which incorporates appropriate technology into the common environmental factors which facilitate the educational program of the school.  Spatial and aesthetic considerations are incorporated into the school design, construction, equipment, and maintenance.  The thermal, visual, and acoustical systems are balanced in a manner, which properly controls the environment and facilitates the educational program of the school for all seasons.

The selection of an HVAC system is dependent upon multiple factors including the following components: the original cost, the operating and maintenance cost, replacement cost, and the size of the building.  Technical consultation concerning the type of heating, ventilating, and air conditioning (HVAC) system to be utilized shall be secured from registered professional engineers.  Designers shall submit to the superintendent and county board the approximate cost of energy per square foot for this facility for the first year of operation  The  estimatedenergy cost analysis shall be submitted to the WVDE and SBA during the schematic/design development stage of the project.

The U.S. Department of Energy, in collaboration with the American Society of Heating, Refrigerating and Air  Conditioning Engineers (ASHRAE), American Institute of Architects, the Green Building Council and  the Illuminating Engineering Society of North America, have produced a set of recommendations for enhancing the energy efficiency performance of schools.   This document is titled “Advanced Energy Design Guide for K-12 School Buildings.” The intent of the Guide is to help owners and designers of K-12 school buildings achieve energy savings of 30% over schools designed to meet the minimum standards of ASHRAE 90.1-1999.  Owners and designers are encouraged to incorporate as many recommendations as practical from the “Advanced Energy Design Guide for K-12 Schools 2008 edition into new school designs.

Through the U.S. Environmental Protection Agency there is the opportunity to provide ENERGY STAR recognition for schools that rank in the top quartile (25%) for energy efficiency compared to similar schools nationwide.  An ENERGY STAR schools’ designation is encouraged to be sought for all new schools built in compliance with Policy 6200.

School facilities must be in compliance with the requirements of the State Fire Code, State Health Department, SBA School Access Safety Plan and other regulatory agencies.  New schools utilizing Policy 6200 will be designed and built in compliance with the West Virginia State Building Code.

Designers shall utilize current ASHRAE standards including adopted addendums as per WV Code §18-9E-3.  Current versions will be those that are in effect at the time of contract execution for design services with the county.

If a non-instructional room is converted to an instructional room it must be designed to meet the HVAC and acoustical requirements of Policy 6200.

ASHRAE Standard 62 (Ventilation for Acceptable Indoor Air Quality) shall be the governing standard when there are conflicts between other standards.

Designers shall provide a written narrative to the county, SBA and WVDE explaining the design intent, which will provide the logic and background for the mechanical system chosen.  The design intent statement shall include a brief explanation for the selection of the HVAC system and how it addresses ASHRAE 62 requirements, energy efficiency, acoustics, varying occupancy use of the facility, and the building automation system.  The designer shall also take into consideration the county maintenance personnel’s ability to operate and maintain specific HVAC systems including the building automation system (BAS).

Designers shall provide an  electronic copy on CD or DVD of all sets of final design drawings and architectural floor plans in non-editable format, Adobe Portable Document format (PDF) preferred  to WVDE, Office of School Facilities for distribution to Local Education Agency (LEA) and Office of Emergency Services (OES).Designers shall provide to the WVDE Office of School Facilities and county board one electronic copy of the basic floor plan of the facility in one of the following editable formats, bitmap (.bmp), Joint Photographic Expert Group (.jpg or .jpeg) or Tag Image File Format (.tif).  The drawing shall be in black and white and include information such as room numbers, door location swings and door positions, accurate numbering, utility entrances and shut-off locations.  This drawing will be used for HVAC training, fire evacuation plans, school access safety plans and floor plans for students. Specifications prepared by designers shall require that  warranties and brochures be furnished to the county board by the installing contractor on all equipment.  The record product data shall be submitted in Adobe Portable Document format (PDF) or other acceptable commonly used electronic file format, when available, burned to a single CD or DVD, along with bound copies of the product data.

1101	THERMAL ENVIRONMENT

The school facility is designed, constructed, equipped, and maintained in a manner, which provides for maximum safety, comfort, and economy.  The heating, ventilating, and air-conditioning systems in all school facilities shall be in compliance with the requirements of applicable regulatory agencies.

1101.01	Minimum functions of the space conditioning system employed to maintain the proper thermal environment in a school building are as follows.

A.	Supply heat for warm-up and balance heat losses from the room to the outside.

B.	Supply conditioned and dehumidified outside air to meet ventilation requirements.

C.	In special cases, the system must remove injurious or noxious gases, vapors, fumes, and dust by the induction of outside air, filtration, and/or exhausting contaminants.

D.	Minimum outside design criteria

1.	Winter - 0°F db

2.	Summer - ASHRAE 1%Climatological Data (Cooling and Dehumidification Data)

E.	Indoor occupied and design criteria

1.	Winter - 68-72°F, humidity </=60% rH

2.	Summer - 72-75°F, humidity </=60% rH

F.	Include the inside and outside design conditions on the equipment schedule sheet of the design development/construction drawings.

1101.02	HVAC systems should be of sufficient rated capacity to meet the building requirements under maximum design conditions including local weather conditions as per 1101.01.  This will avoid sustained operation beyond the capacity of the system.

1101.021	Operative Temperature

It is desirable that HVAC systems provide a maximum temperature gradient not to exceed 2°F from floor to 60 inches above the floor.

1101.022	Air supply

Space conditioning systems will have sufficient capacity to provide for introduction of conditioned and dehumidified outside air.  The amount of outside air will meet guidelines set forth by current ASHRAE Standard 62.

1101.023	Air Movement

Distribution of air shall consider effective air cleaning, temperature control, low noise level, acceptable humidity conditions and proper air distribution.

A.	Air motion should generally fall within a range of 25 to 50 feet per minute and should be maintained at a constant rate, unless a variable air volume (VAV) system is used with a pattern that prevents temperature stratification or undesirable air currents.

B.	Special provisions may have to be made in the window zone to overcome the effects of cold window down draft.

C.	Since positive pressure is required in conditioned areas, with the exceptions of bathrooms, custodial closets, science areas, and other areas that may have air contamination, approximately 5-10 percent more air should be introduced than is exhausted, thus minimizing infiltration.  The designers should perform an air balance calculation to determine all the outside air supplied into the building against all air exhausted from the building to verify building overall space pressure relationships are maintained.  The amount of excess outside air should be determined using appropriate engineering practices for the specific application.  If duct liner is used it shall be rated for a minimum velocity of 5000 fpm, and be treated with an EPA approved anti-microbial agent proven to resist microbial growth as determined by ASTM G21 and G22.  Use of duct liner shall be limited to the first 15 feet or to the first joint past the first elbow in the supply and return ductwork, whichever is the shortest distance. Duct liner beyond 15 feet is allowable in gymnasiums or other areas where exposed ductwork is used for budgetary reasons.

D.	Velocity of air across cooling coils shall not exceed 500 fpm to prevent moisture carryover.

E.	Room temperature sensors or thermostats located in occupied spaces may have the capability for local temperature set point adjustment to regulate space temperatures, but may not have the control capability to allow the occupants to control the fan operation.

F.	The condensate traps made of non-corrosive materials or copper shall be designed to operate at greater than 1” w.g. more than the static pressure of the HVAC unit.

G.	If flexible duct is to be used, the duct shall be of the internal corrugated metallic type or internal high-pressure fabric with a pressure rating of at least 10” w.g. positive and 5” w.g. negative with a bursting pressure of at least 2 times the working pressure, and externally insulated.  The duct shall be rated for a minimum velocity of 5000 fpm.  There shall be a maximum of one (1) 90° bend and a maximum length of six (6) feet.

H.	Include in the selection of the grilles, registers, and diffusers the NC (noise coefficient) rating that meets the ASA recommendations.  Include the design NC rating for each device in the equipment schedule and/or the specifications.

1101.024	Humidity Control

Levels in the space shall meet the requirements set forth in Sections 1101.01E1 & E2.  An automatic mode of operation through the building control system shall maintain the humidity levels below 60%.

1101.025	Air Filtration

Filtering, washing, screening, absorption, or other cleaning methods may be used.  The HVAC units should be installed with the most appropriate filtration available for the type of equipment selected.  It is desirable that HVAC units be designed with a minimum ASHRAE dust spot filter efficiency of 80% (MERV 13) but in no case shall the filter efficiency be less than 30% (MERV 8).  The filters efficiency rating shall meet the latest ASHRAE Test Standard 52.1 and 52.2.

1101.03	In new or substantially remodeled schools, some form of cooling system is necessary for schools in areas where the outside temperature is above the optimum during a portion of the school year.  This cooling system shall meet all of the standards set forth in Chapter 11 of this policy.

1101.04	Consideration should be given for a fully integrated and distributed network DDC control system with remote access to be used to control major HVAC equipment and outside lighting in new school facilities and full building HVAC renovations.  If a DDC system is used, a PC terminal with a graphics interface program shall be used to access the control system and shall be located within one of the county school facilities.  This control system shall use control logic to maximize energy efficiencies.  All HVAC zones shall be independently operated and controlled.

1101.041	The WVDE OSFac shall provide county maintenance personnel additional training, if necessary, on the equipment and it’s controls at the site of the installation per WV Code §18-9E-3f  after appropriate training per Policy 6200 has been completed.

1101.042	After completion of the required  training, the WVDE OSFac’s staff shall provide the County Board a report summarizing the training that was completed and a plan for continuing education of the county’s HVAC staff.  If sufficient staff is not available to the county to perform maintenance on HVAC systems, the WVDE staff shall assist the county in the development of an immediate and long range maintenance plan to ensure that HVAC systems are maintained and operated according to the manufacturer’s recommendations per WV Code 18-9E-3g.

Designers will be required to ensure that the integrated training of all manufacturers’ components as a single HVAC system is provided.

1101.05	Boards of education, before accepting the mechanical contractor’s work, shall receive complete training regarding the operation and maintenance of the mechanical equipment and should insist that a designated school employee(s) be given direct instruction by one or more competent representatives of the contractor or equipment firms.  The training shall be completed prior to the turnover of the building to the Board of Education. For major mechanical and electrical equipment and systems (including HVAC control systems) there shall be a minimum of 1 day follow-up training at 6 months after facility turnover.  All training shall be videotaped and turned over to the county board of education.  Designers shall specify the time duration of each specific training session required. The WVDE OSF shall be notified two weeks prior to training.

1101.051	The HVAC bid documents shall require a two year full maintenance contract commencing at the issuance of the HVAC substantial completion certification.  The WVDE OSFac shall support the training and service contractors for county HVAC personnel during the first year maintenance and service agreement period to assure that the county personnel fully understand the  HVAC system as a fully integrated system.  The WVDE OSFac shall review the preventive maintenance plan developed by the service contractor that will  be implemented after the two year maintenance program expires.

1101.06	Inspection of Systems (Testing, Adjusting and Balancing)

Designers shall provide TAB contract documents to the counties for bidding independently of the construction documents in accordance with WV State Code. (THIS AREA NEEDS ADDITIONAL DISCUSSION) [As of 4/1 this was not settled by discussion]

Specifications for TAB procedures shall include requirements for acoustical measurements to verify ASA guidelines.

1101.061	The county Board of Education should consider a commissioning agent to assure that the HVAC system is designed and installed in accordance with the county’s requirements.

1101.07	Indoor Air Quality Standards

A.	There shall be no open-flame, fuel burning heaters in student and staff occupied spaces.   Direct gas fired 100% outside air makeup units for kitchen hoods or specialty locations may be considered providing they include carbon monoxide monitoring and alarming and are only used for 100% outside air makeup applications. This equipment shall be located in enclosed rooms or cabinets using outside air for combustion and be properly vented to the outside in a manner that exhausts all flue gases using appropriate piping as per ASHRAE, NFPA 54, and AGA standards

B.	Outside air intakes shall be located no closer than 15 feet or the standards set forth by ASHRAE Standard 62, whichever is greater, to stacks, exhaust, vents, motor vehicles and other sources of contaminates to minimize cross contamination.  Distance requirements dictated by ASHRAE Standard 62 for outside air intakes from the ground and level shall also be observed.  Stacks shall be designed to exhaust flue gas away from the building.

C.	Electric powered carbon monoxide monitor/alarm shall be installed in each area that produces combustion gases.  The carbon monoxide monitor/alarm shall be tied into the building control system and alarm when activated.

D.	Outside air dampers shall fully close when the units are off and maintain the minimum required outside air in accordance with ASHRAE Standard 62 during occupied operation in all areas.

E.	Heat Recovery systems are recommended for 100% outside air systems.  All heat recovery systems shall be constructed to limit cross over contamination.

F.	It is desired that return air dampers should be sized to produce air velocities of 1500 to 2000 fpm for thorough mixing.  The damper should be set such that any deflection of air is towards the outside air to create maximum turbulence and mixing.  The mixing damper shall extend across the full width of the unit even though the physical location of the return duct indicates that it could enter through the side to eliminate stratification.

G.	The HVAC cabinet insulation shall have a non-porous facing on the side exposed to the air stream in areas of potential moisture buildup (cooling coil, outside/mixed air section, etc.).  The outside air ductwork located indoors shall be externally lined only.

H.	All drain pans shall be double sloped to the drain outlet, the drain outlet is to be flush with the bottom of the drain pan, and meet the requirements of ASHRAE Standard 62.

1101.08	HVAC System

It will be the responsibility of the HVAC design professional working with and in collaboration and cooperation with the WVDE, SBA and the local educational agency to design a system that enhances indoor air quality, thermal comfort, and maximizes energy efficiency of the facility prior to the approval of the system by the WVDE and the SBA.

A.	The county school system shall be provided an opportunity to select existing or desired brand of equipment through base bids and alternates in bid documents to accommodate capability of current system.

B.	All systems shall have a detailed sequence of operation written in the specifications by the HVAC design engineer.  All setpoints, differentials, lockouts, etc. shall be defined in the sequence of operation.  The sequence of operation shall include the following as a minimum: occupied/unoccupied, economizer control, morning warm-up/cool-down, dehumidification, summertime low-load operation, optimizing start/stop, demand controlled ventilation, fan control/operation, and alarms.

C.	HVAC systems shall include the following criteria:

1.	Air velocities across HVAC cooling coils should not exceed 500 fpm.  The coils shall have a maximum of 12 fins per inch, when possible.

2.	HVAC systems should utilize modulating or staged heating with a minimum of 2 stages. HVAC units utilizing two staged heating should have a minimum turn down capacity of 2 to 1 and units with modulating heating capabilities should have a turn down capacity of at least 6 to 1.  Modulating heat is the preferred heating method due to its ability to maintain more consistent room temperatures.

3.	Adjustable/temporary motor and fan sheaves shall be replaced with fixed sheaves at the completion of testing, adjusting, and balancing.

4.	Each classroom shall constitute a zone and have its own temperature control device that directly regulates room temperature.

5.	Temperature control devices in the classroom shall have minimum accuracy of ±1°F and humidity control devices of ±3% rH for a retrofitted system and ±0.5°F tolerance and ±3% rH for new systems.

6.	Fans should be selected for maximum efficiency that will yield minimum noise generation.

7.	Permanent I. D. labels on all HVAC and electrical equipment shall be installed.  Labeling of electrical equipment shall include the equipment it serves.

8.	The mechanical engineer shall provide within the specifications for a contractor to include a preventative maintenance program for all HVAC equipment including: BAS software, listing of belts, filters, spare parts, nameplate data, recommended maintenance increments for preventative maintenance tasks, and training on preventative maintenance.

9.	A premixed chemical water tank shall be used for makeup water for all closed loop hydronic systems.  Consider interfacing low fluid level alarm into BAS system when available.

10.	Provide lockable ball valves on expansion tanks.

11.	Provide pressure gauges on expansion tanks.

12.	Provide appropriate isolation valves on all equipment. Provide isolation valves on the supply and return piping on all equipment.

13.	Provide calibrated balancing valves  on all hydronic equipment where required for balancing as per manufacturer’s recommendations. Ball valves are not acceptable for balancing.

14.	Recommend providing stainless steel, ceramic, or fiberglass for basins and other surfaces in contact with condenser water in cooling towers.

15.	HVAC units that have multiple compressors shall have independent refrigerant circuits for each compressor.

16.	All drain ports on back-flow preventers, pressure relief valves, and safety valves shall be piped to a drain in accordance with the local plumbing code.

17.	All closed loop water systems shall use scale and corrosion inhibitors as a part of the general water treatment process.

18.	If a glycol solution is used in closed loop water systems, the use of ethylene glycol is prohibited for new systems.

19.	All open loop condenser water systems shall use biocide(s), scale and corrosion inhibitors as a part of the general water treatment process. These products shall be automatically controlled and fed as directed by a competent water treatment vendor.  Water treatment controls for the open loop system shall consist of a conductivity controller, automatic blow-down valve, and chemical feed pump for each water treatment product to be fed.  All water treatment controls equipment and chemicals shall be located in a temperature-controlled space in close proximity to the cooling tower.

20.	The blow-down drain for cooling towers and evaporative coolers shall be piped to an appropriate drain line.

21.	All water lines and chemical feed lines must be protected from freezing conditions by insulation and heat tracing.

22.	Specify all field devices and equipment to be mercury free.

23.	Diffusers and grilles shall not have balancing dampers.  Balancing dampers shall be located in the ductwork not easily accessible by building occupants.

24.	Multiple HVAC units serving a common area should use control logic that prevents overlapping of heating and cool set points between HVAC units. All HVAC equipment with 3 phase electrical motors shall have phase monitors to automatically shut down the equipment during phase losses.  			25.	Hail guards shall be required for all outdoor -mounted equipment with exposed condenser coils when equipment is subject to hail damage.

26.	Major roof mounted HVAC equipment shall be accessible via interior roof hatches or doorways.

27.	Provide a means to meet HVAC system requirements in specialty areas (i.e. elevator equipment rooms, technology rooms) that require extended HVAC operation without operating large central equipment for only a small area of the facility.  Consider operating dual systems to maximize use of energy efficient equipment during primary operating hours and separate system during “after hours” operation where energy and operating savings justify the dual operation.

D.	All newly constructed buildings, additions, and HVAC replacements, where the possibility of harmful airborne contaminants could enter the building through the ventilation system, shall have “shelter in place” control sequence included in the building control system.  The sequence shall be initialized by manual switches located in the administrative and central mechanical room areas of the facility to shut down all components of the HVAC system to prevent outside air from entering the building.

1101.09	DDC control systems

A.	Label all components in interface and control panels.

B.	Provide laminated schematic diagram and attach to inside of interface panel.

C.	Graphics shall accurately represent facility components and architecture.  Graphics shall also have room and equipment numbering that matches the county’s final building numbering scheme.  		D.	Analog BCS input and output devices shall be field calibrated or adjusted to represent actual positions at the time of installation.

E.	Nomenclature on inputs and outputs shall represent the true logical positions of the devices controlled.

F.	All external devices on the DDC system shall have I.D. labels.

G.	Provide sufficient schedules to cover yearly school holidays and special events.

H.	List spare parts needed for DDC system.

I.	An accurate and detailed set of record drawings, sequence of operation, and control drawings are to be provided for the HVAC system and controls.

J.	Provide sun/weather shields for all outside sensors.  Indicate the location of all outside sensors on the design drawings.

K.	An exercise program shall be included as part of the DDC system to open and close automatic control valves and actuators 2 full strokes if the device has not modulated fully open and closed within 7-days.

1102	VISUAL ENVIRONMENT

The school facility is designed, constructed, equipped, and maintained in a manner, which provides a good visual environment.  The facility is attractively painted and illuminated in a manner, which most effectively contributes to an environment of visual accuracy and comfort.  All schools are in compliance with requirements of applicable regulatory agencies.  Plans and specifications for new or substantial renovations should be developed to achieve as many of the desired lighting goals as possible in the original construction with due consideration for the need of maintaining a balance between the visual and other major environmental factors.  Proper visual environment lessens the expenditure of energy required for students and teachers to carry on visual tasks in the instructional space.  A sufficient quantity of light is essential for good visual conditions.  However, a task becomes visible, not by the light falling upon it, but by reflected brightness.  Visual comfort and efficiency may best be achieved in an environment in which the brightness difference would be as small as possible between the task and the brightest surface and between the task and the darkest surface in the total visual field while the general level of illumination is high.  Informal seating in the instructional space has gained wide acceptance.  The visual field, therefore, must be recognized as encompassing all four walls, the floor, and the ceiling.

Where design considerations permit, the facility will be constructed in a manner that encourages the use of natural light.

1102.01	General

1102.011	Technical assistance from qualified lighting engineers is generally required to insure adequate visual conditions within spaces.

1102.02	Desirable Brightness

1102.021	In an instructional space, the brightness of any surface viewed from any normal sitting or standing position should not be excessively greater than the brightness of the visual task.  As the high brightness of surfaces in the visual field approaches the brightness of the task, visual comfort and efficiency increase.

1102.022	In an instructional space, the brightness of any surface viewed from any normal standing or sitting position should not be excessively lower than the brightness of the visual task.  As the low brightness of the surfaces in the visual field approaches the brightness of the task, visual comfort and efficiency increase.

1102.023	The brightness of surfaces immediately adjacent to the visual task is more critical in terms of visual comfort and efficiency than that of more remote surfaces in the visual field.  These adjacent surfaces have lower acceptable brightness limits than surfaces farther removed from the task.

1102.024	The brightness difference between adjacent surfaces in the total visual field should be reduced to an acceptable minimum.

1102.025	The characteristics of any lighting system should be such that direct and reflected glare are not objectionable.

1102.026	Daylight and electric light systems should conform to the same brightness and brightness difference goals, and both systems should be coordinated in design to assure the effective contribution of both.

1102.027	The brightness goals stated above assume an illumination level of range 30 to 150 foot-candles on the reference task produced by combined radiant energy of daylight and any system of electric lighting used.

1102.03	Light Source

1102.031	Electric lighting systems should be evaluated on the basis of the following items:

A.	The lighting should produce a uniform distribution of shadow-free and glare-free illumination with the intensities necessary to maintain an acceptable brightness balance between the tasks and other surfaces within the total visual environment.

B.	Consideration should be given to probable deterioration of service efficiency under prevailing conditions of school operation and maintenance.

C.	Lighting fixtures should not produce a surface brightness on the fixture or on the ceiling that exceeds ten times the task brightness.

D.	Fluorescent lamps are to be specified as energy saving T-8 or better with a color temperature of 3500K or greater, a minimum CRI (color rendition index) of 82, and low-mercury containing as determined by TCLP (Toxicity Characteristic Leaching Procedure) testing.

1102.032	Where daylight supplements artificial illumination, controls (preferably fixed) should be as follows.

A.	Exclude direct sunlight and at the same time admit about 15 percent of the outdoor brightness

B.	Provide a surface free from excessive brightness or glare

C.	Permit ease of maintenance

1102.04	Surfaces within rooms should be finished in accordance with the following items.

1102.041	Ceilings should provide a 70 to 90 percent reflection factor, flat, white surface.

1102.042	Upper walls (from wainscot or dado upward) should provide a surface with a reflection factor of at least 60 percent.

1102.043	Lower walls (from wainscot or dado downward) should provide a surface with a reflection factor of at least 60 percent.

1102.044	Where maintenance conditions permit, it is considered good practice to finish entire walls, from ceiling to floor, with surfaces having a 60 percent reflection factor.

1102.045	Finishes should be flat or matte on all interior surfaces, particularly at eye level or above.

1102.046	Trim should provide a surface with a 40 to 60 percent reflection factor.

1102.047	Desks and equipment should have finishes that fall within the 35 to 50 percent reflection factor range.

1102.048	Floor finishes should fall within the 30 to 50 percent reflection factor range.

1102.049	Marking boards are available with practicable maximum reflection factors of 20 percent.  This high factor range is practical only when the level of illumination is sufficiently high to overcome the loss in visibility due to reduced brightness difference between chalk and the light colored board.

1103	SONIC ENVIRONMENT

The new or substantially renovated school facility is designed, constructed, equipped, and maintained to meet ASA guidelines, which provides for the control of sound within a particular space so that internal sound can be heard well and unwanted sounds are prevented.

1103.01	General

1103.011	The services of an acoustical engineer may be desired and should be considered when designing educational spaces.

1103.012	Although it is often impossible to prevent the creation of unwanted noises, it is both possible and practicable to prevent excessive noises, which inhibit hearing and create distractions.

1103.02	Zoning

1103.021	The concept of zoning as related to acoustical engineering revolves about the basic premise that prevention is better than correction.

1103.022	Site

A.	Every effort should be made to acquire a site that has a relatively low ambient noise level.

B.	Planting of trees, bushes, and shrubs around the perimeter of the site, particularly on noisy sides, will provide added noise reduction.

1103.023	The Building

A.	It is important, where possible, to group noisy activities with other noisy activities, such as playgrounds, gymnasiums, music areas, and shops.

B.	Administrative facilities, general instructional spaces, media centers, and other similar areas should be grouped together in a quiet zone somewhat removed from noisy activities.

C.	Intermediate between the two extremes may be rooms where machines are used, the cafeteria, and home economics facilities.

D.	If these various activity levels are not adequately separated by space, then it is necessary to intercept these noises to the degree necessary to prevent them from conflicting with each other.

1103.024	Instructional and Service Facilities

A.	Administrative Offices

1.	Noise reduction by treatment, in the form of absorbent materials, is invariably mandatory to keep speech levels low and to keep sound from office machines and traffic noise at a minimum.

2.	It is advisable to provide sound-intercepting barriers to keep noisy activities in some administrative rooms from interfering.

B.	Corridors

1.	Unless adequate noise reduction treatment is provided in corridors, they act as communication channels conveying a sound or noise throughout the building.

2.	Acoustical treatment in such passageways should be placed on the ceiling and may also be placed on walls.

C.	Instructional Spaces

1.	Instructional spaces should be treated for noise reduction to meet ASA guidelines.

2.	The degree of sound interception requiring instructional space boundaries depends upon adjacent activities.

D.	Media Center

1.	Noise reduction treatment, coupled with adequate sound interception, is a primary requisite in this area, where there may be disturbing and/or distracting sound from a nearby activity.

E.	Shops

1.	Adequate noise reduction treatment is essential, and adequate interception should be provided in the boundaries.

2.	Where doors are left open, shop layouts must be oriented so that openings are away from academic and similar activities.

F.	Cafeterias

1.	An environment with a somewhat critical reverberation control is desirable.

2.	Kitchens should have considerable noise reduction treatment because the noise from a reverberant kitchen can be conducted to the dining room area.

G.	Gymnasiums

1.	An environment with a somewhat critical reverberation control is usually desirable.

2.	Where facilities are near quiet areas, adequate interception must be built into the boundaries.

H.	Restrooms

1.	Better-planned schools provide noise reduction treatment in restrooms, as well as special sound interception measures within the room boundaries.

I.	Music Rooms

1.	Choral, band, and orchestral rehearsal rooms require critical reverberation control over a wide range of pitches.

2.	Maximum noise reduction is not the correct solution.

3.	Individual practice rooms are usually most satisfactory when provided with maximum noise reduction treatment.

4.	Maximum sound interception is advisable.

5.	Special attention should be given to insure that strategic walls are not reduced in sound interception capabilities by the insertion of clocks, electrical outlets, or ventilating grilles.

J.	Auditoriums

1.	From the standpoint of noise control, the auditorium is one of the most critical rooms in the entire unit or plant.

2.	The level of noise (including that from the ventilating system, heating system, water supply, and external sources) must be kept low.

3.	Adequate barriers must be provided to intercept sounds from such sources as traffic and mechanical equipment rooms.

4.	The proper acoustical environment of the auditorium is a highly scientific problem; therefore, technical assistance from an acoustical engineer should be secured in order to provide a reasonable environment.

K.	Heat Plant

1.	Isolated from pupil-occupied areas by location and/or treatment.

1104	SPATIAL AND AESTHETIC ENVIRONMENT

The school facility is designed, constructed, equipped, and maintained in a manner, which provides an effective, efficient, safe, and attractive facility and represents the educational philosophy outlined in the CEFP.

1105	BALANCED CONDITIONING OF SPACES

1105.01	The form of the facility follows the educational function and is designed to achieve adequate and economical conditioning of educational spaces and must be done by specialists (e.g., architects, engineers, or certified school planners) that are highly specialized in each of the separate major fields involved.

1105.02	When value engineering is required, the following list of priorities should not be compromised to assure maximum functionality during the life cycle of the building:

A.	The safety, health, and comfort of teachers and students

B.	The operational success of the educational program

C.	The protection of the investment in the building

D.	The maintenance and repair budget

1106	FIRE INSURANCE

1106.01	Some economy in the lifetime operation and maintenance of a building may be achieved when future fire insurance assessments are considered in the planning stages.

1106.02	Items Affecting Insurance Premiums

A.	The building’s exposure to adjacent properties not under the jurisdiction of the Board of Education

B.	The location and treatment of “hot spots” - potential hazards - within the building

C.	The degree of internal and external protection, such as heat and smoke detectors, sprinklers, extinguishers, and alarms

D.	The degree of fire-resistance of component construction materials and of the building totally

1106.03	For new construction, insurance values and costs can be estimated by having plans and specifications reviewed by the West Virginia Board of Risk and Insurance Management.

1107	ROOFS

1107.01	Unless waived in exceptional circumstances, all new roof areas shall have a minimum slope as per WV Code §5-6-16.  This shall include roofs with built-up membrane, as well as single-ply membrane systems.

1107.02	Roof plans shall indicate the location of all walkway pads from roof hatches to and around major HVAC equipment.

1108	WATER/SEWAGE FACILITIES

All schools shall contain adequate service facilities that are designed, constructed, maintained, and equipped to facilitate the operation of the school.

1108.01 	Sanitary Facilities - Water Supply and Sewage Disposal

The water supply and sewage disposal systems of all schools are designed, constructed, maintained, and equipped to facilitate the operation of the schools.  The sanitary facilities systems meet all requirements of state and federal regulatory agencies.  Restroom facilities are ADA accessible and are provided on each floor level of the building and contain hot and cold water mixing faucets and provisions for privacy.  Paper towels and toilet tissue are provided at all times.  Service sinks with hot and cold water are provided in each custodial closet, in the custodial general service area, and in the food service area.

1108.011	Adequate source of water supply that is both safe and potable.  Tests to verify the quantity and sanitary quality must be conducted prior to the occupation of the school.  The state and/or local health departments welcome the opportunity for consultation regarding water conditions prior to site selection or acquisition.

1108.012	Ample supply and storage of water should be available at all times for present and future expanded needs.  The quantity of water shall meet the appropriate code requirements.

1108.013	Water must be safe for use, as determined by state and/or local health authorities, and maintained safe by protection of source of supply, treatment if necessary, and periodic analysis.

1108.014	Sewage disposal system design requires the technical services of a licensed sanitarian.  The type of installation depends upon the character of the soil as determined by percolation tests, location of wells, and sources of water supply.  State and local health departments will provide maximum assistance in the development of approved sewage disposal systems in rural and suburban areas.

1108.015	The sanitary protection of an individual water supply and/or sewage disposal system shall be upgraded to meet current standards when any renovation or addition is to be provided at an existing school.

1108.016	All on-site water supplies and extended aeration treatment sewage plants will require personnel that are properly certified by the West Virginia Department of Health to operate these systems.

1108.017	All hydronic systems shall have an approved back flow preventer device placed on the make-up water line to prevent contamination of the potable water supply.  All laboratories shall be isolated from the remainder of the school by an approved back flow preventer device on the water line.  Back flow preventer devices are to be shown on plans submitted for review and included in the specifications to the West Virginia Department of Health.

1108.018	The required ratio of toilets, urinals, lavatories or wash fountains and drinking fountains shall be maintained when a renovation or an addition enlarges due to school population.

1108.02	Restroom Facilities

Federal regulations demand that restrooms shall have at least one toilet stall and meet ADA standards.

1108.021	Restroom facilities should be provided for both sexes on each floor level of the school building.  Some economy may be achieved if restroom rooms are located adjacent to each other with common utility space between for servicing; the same is true in multi-story buildings, where restrooms may be located one above the other.

1108.022	Entrances to restrooms must be designed to prevent direct and indirect visibility from the corridor.

1108.023	Restrooms for public use should be conveniently available to the auditorium, gymnasium, and other parts of the building commonly used by the public.  Students’ general restrooms may be strategically located for public use in some cases.

1108.024	Restroom floors shall be of an appropriate material that is conducive to sanitation and cleanliness needs.

1108.025	Wall surfaces should be of impervious material, such as glazed tile, to a height of at least 6 feet, and preferably to the ceiling.

1108.026	Provide stall restroom partitions with doors of smooth nonporous and non-rusting material.  These should be securely anchored to the floor and wall.

1108.027	Floor drains, hose bibs (please check spelling on this; it could be a technical term), and clean-out plugs should be provided in group restrooms.

1108.03	Plumbing Fixtures

1108.031	Service sinks with hot and cold water should be provided in each custodian’s closet, in the custodian’s general service room, and in the cafeteria-kitchen.  Vacuum breakers should be installed on sink waste lines.

1108.032	Hydrants, tamper proof and frost proof, should be provided at least every 120 feet around the perimeter of the building and on each roof level where the roof mounted HVAC system requires water for periodic maintenance.  Underground stop and water cocks shall not be permitted on frost-proof hydrants.

1108.033	All piping and valves in the plumbing system should be tagged for identification, and a chart of plumbing layouts should be readily accessible.

1108.034	The plumbing fixture requirements shall meet the requirements of the International Plumbing Code or the counties requirements whichever is more stringent.

1109	ELECTRICAL SERVICE

The electrical system of each school is designed, constructed, maintained, and equipped to facilitate the safe operation of the school.  The electrical system provides adequate service for present and anticipated loads to insure maximum efficiency and meets all requirements of applicable state regulatory agencies and the National Electrical Code.

1109.01	Electrical Requirements

A.	No conduit less than 3/4 inch shall be installed

B.	Electrical circuits shall not share common neutrals

C.	All electrical circuits shall have full-size neutrals

D.	Underground service entrances shall have approximately 50% spare conduit capacity with a minimum of one spare conduit.

E.	All feeder panels that are remote from the main distribution center shall include a main circuit breaker

F.	MC cable shall not be used in concealed locations

G.	MC cable can be used for lighting connections only when distances do not exceed 6 feet.

H.	Single-phase protection on three-phase equipment.

I.	Transient voltage surge suppressors (TVSS) for computers and specialty electronics.

J.	Standby generators for schools that may be used by emergencservices for hospitals or other emergency purposes by the local or general populations.  The generator should have the capability to power emergency lighting, phone systems, walk in freezers and refrigerators and selected HVAC units.

1110	MULTI-MEDIA FACILITIES

All schools shall be designed, constructed, maintained, and equipped to provide the multi-media facilities required for the educational program of the school.

1110.01	Instructional spaces and production areas should be furnished to permit the use of all types of multi-media materials and equipment.

1110.02	Adequate provision for controlling the light level in instructional areas is essential.

1110.03	Duplex electric service receptacles should be installed on all walls of the instructional space for the use of instructional equipment.  Sufficient branch electrical circuits should be in each room.

1110.04	Where there are to be specialized facilities, such as language labs, study carrels, microteaching, and television, adequate provisions should be made for the electrical service using flush and recessed electrical fixtures, and prohibit possible use of floor mounted fixtures.

1110.05	Conduits shall be provided to permit future installation of network computer drops, television, and other electronic instructional devices.

1110.06	System conduits shall be of sufficient size, no smaller than 3/4 inch, to provide for installation of television and other teaching devices.

1110.07	A projection surface should be permanently installed in each instructional area.

1110.08	Media production centers and photographic darkroom facilities should be provided with adequate sinks for hot and cold running water where the school curriculum dictates the need for this program.

1110.09	Adequate ventilating facilities, including exhaust fans, shall be installed in production areas for the removal of fumes resulting from the use of volatile organic compounds or  other undesirable odors.

1110.10	For preservation of book and non-book materials and equipment, temperature and humidity control are essential.

1110.11	Use of audio devices mandates acoustical treatment, as per ASA guidelines, of walls, ceilings, and floors in instructional areas and media centers.

1110.12	Adequate display and exhibit facilities, including such things, as magnetic boards, instructional boards, bulletin boards, and showcases, are required.

1110.13	Adequate storage facilities for materials such as supplies, book and non-book materials, and equipment are required.

1111	COMMUNICATION AND PROGRAM FACILITIES

All schools are designed, constructed, maintained, and equipped to facilitate adequate intercommunication among major areas of the school plant.  All schools contain a master clock, a signal and tone system, and telephone for outside communication.  All schools should consider guidelines from CPTED concerning communications for safe schools.  In new construction, consideration should be given to installing closed-circuit video.

1112	FIRE ALARM SYSTEM

1112.01	Fire alarm signals shall be of the continuous type, shall be distinctly different from all other signals or sounds, and shall comply with the State Fire Code and the appropriate NFPA codes. The State Fire Marshal recommends fully addressable fire alarm systems.

Chapter 12

REGULATORY AND POLICY PROCEDURES

1200	RELATED INFORMATION - STATUTES

1200.01	School construction or improvement projects are frequently influenced or regulated by various statutes of the Code of West Virginia.  In addition to complying with the State Building Code, listed are sections with which school personnel should be familiar.

CHAPTER	ARTICLE	SECTION	SUBJECT

5		G		1-1	Procurement of Architectural and Engineering Services

10		2		1-5	Public Recreation & Playgrounds

10		2A		1-26	Athletic Establishments

11		8		5-33	Levies

11		10		11(d)	Prerequisite to final settlement of contract with this state or political subdivision; penalty

13		1		24, 34	Bond Issues for Original Indebtedness

16		1		7	Promulgation of rules and regulations

16		1		9	Supervision over local sanitation

18		3		9a	Authority of state superintendent as to fire hazards and safety of buildings

18		4		10	Duties (5): Close temporarily a school when conditions are detrimental to the health, safety or welfare of the pupils

18		4		11	Other powers and duties (3): Recommend for condemnation buildings unfit for school use

18		5		5	County Bd. of Ed.: Exemption of school property from legal process and taxes

18 		5		6	Validation of titles to land in possession of board

18		5		7	Sale of school property at public auction; oil and gas leases

18		5		8	Condemnation of land necessary for educational purposes

18		5		9	Schoolhouses, buildings and equipment

18		5		10	The state board may require all plans and specifications to be approved by the WVDE.

18		5		11	Joint establishment of schools

18		5		12	Bond of contractors

18		5		13	Authority of boards generally

18		5		13a	School closing or consolidation

18		5		25	Duties of superintendent as secretary of board (3) & (4)

18		5		36	Payment for fire services on public school property

18		6		1	Driver Education

18		9		1-8	School Finances

18		9D		1-18	School Building Authority

18		9E		3	Air Quality in New Schools

18		9E		4	Testing, adjusting and balancing agent

18		9E		5	Investigations of Air Quality Complaints

21		5A		1-11	Wages for Construction of Public Improvements

29		3		19	Fire Prevention and Control Act: protection

29		12		5a	State Insurance: WV Board of Risk and Insurance Management

30		12		2	Use of title “architect”

30		13		13	What plans of state political subdivisions to be approved by registered engineer

38		2		39	Public buildings; bond of contractor; no lien in such case

47		5		1-3	Safety glazing material in hazardous locations

54		1-2		1-11	Eminent domain

61		10		15	Pecuniary interest of county and district officers, teachers and school officials in contracts; exceptions; offering or giving compensation; penalties

1201	DESIGN DOCUMENT SUBMISSION AND REVIEW PROCEDURE PER COMPREHENSIVE EDUCATIONAL FACILITIES PLAN (CEFP) REQUIREMENTS

1201.01	Regulations of the WVBE and West Virginia Code §18-9D-16 require all plans for new construction, additions or renovations, major improvements, closings, and grade re-configurations to be included in the CEFP.  The CEFP must be amended to include projects deemed necessary by the county board of education but not included in the original CEFP.

In order to ensure that the WVBE and the SBA be fully informed about proposed amendments to comprehensive plans, the following conditions must be satisfied:

A.	All requests for amendment to CEFPs, including budget amendments, must be signed by the county superintendent and must show the date such amendments were approved by the county board of education and certified that they meet statutory regulations.

B.	Changes in comprehensive plans may not be implemented prior to WVBE and SBA approval.

C.	All amendments must be fully explained; substantive changes must be accompanied by complete justification with data addressing the subjects of enrollment, facilities, finance, personnel, transportation, and educational programs.

D.	The proposed amendments shall include evidence of citizen awareness of changes in the comprehensive plan.

E.	Approval of the closure by the WVBE automatically amends the CEFP; however, this does not assure SBA funding of a related project.

F.	Selection of architectural and/or engineering services shall be in accordance with Section 1403.

West Virginia Public Health Laws and Rule

16-1-0   Supervision over Local Sanitation

16-6   Hotel Restaurant Law

16-32   Asbestos Licensure Law

16-34   Radon Licensure Law

16-35   Lead Abatement Law

64 CSR 9   Sewage System Rules

64 CSR 16   Recreational Water Facilities

64 CSR 17   Food Service Sanitation Rules

64 CSR 18   General Sanitation Rules

64 CSR 19   Water Well Regulations

64 CSR 21   Child Care Centers

64 CSR 23   Radiological Health Rule

64 CSR 30   Fees for Permits

64 CSR 43   Bakery Regulations

64 CSR 45   Lead Abatement Licensing Rule

64 CSR 46   Water Well design Standards

64 CSR 47   Sewage Treatment Design Standards

64 CSR 51   Fees for Services

64 CSR 56   Infectious Medical Waste

64 CSR 63   Asbestos Licensing Rule

64 CSR 78   Radon Licensure Rule

Federal Regulations:

US Environmental Protection Agency

40 CFR Part 763 Asbestos Containing Materials in Schools (AHERA)

40 CFR Part 61 National Emission Standards for Hazardous Air Pollutant (NESHAP)

Part 61.140 Subpart M & Part 61 (Revised 9-23-03)

Occupational Safety Health Agency (OSHA)

29 CFR 1910.134 Respiratory Protection Standards

1201.02	Submission of the Educational Specifications

Once the educational planning committees are established, their objective should be to plan the educational program for the facility.  This document must define the learning activities; the number groupings of the students with the staff and the space relationship between areas of the facility; and describe the type of furniture and equipment needed to support the desired program.  Once completed, one copy of this document must be submitted to the SBA and the WVDE for a collaborative review and approval before proceeding to the schematic design phase of the project.

1201.03	Submission of Schematic Design Plans, Specification and Budget Estimates

1201.03a.	The schematic design documents as outlined in the SBA Policy and Procedures document are to be approved by the SBA and WVDE before the project can proceed to the design  velopment phase.

1201.04	Submission of Design Development Plans and  Specifications for Individual Projects

Once the comprehensive plan has been approved, individual project planning should be implemented.  Approval of plans and specifications for the construction of new buildings, additions, and renovations is required by the WVDE Office of School Facilities, the WVDE Office of Technology, the SBA, West Virginia Bureau for Public Health, West Virginia Division of Highways when new construction, and the State Fire Marshal’s Office.  The Local Education Agency (LEA) and project architect shall be responsible for securing approval of design development plans from each of these agencies.

1201.05	Plan Review Process - Design Development Plans

The LEA and project architect are responsible for distributing educational specifications, design development drawings, outline specifications, estimated project cost, project budget, and P-1 form for project approval.  Documentation must be provided to the WVDE and to the SBA.  To insure review and approval prior to planned construction, a thirty (30) day period should be set aside for plan review.  The LEA will distribute plans to the state agencies in the following manner.

A.	One  complete set of plans and specifications in non-editable format, Adobe PDF, and the application for project approval (P-1) to the WVDE Office of School Facilities.

B.	One partial set of plans and specifications, including the architectural, electrical and telecommunications, to the WVDE Office of Technology and Information Systems.

C.	One set of plans and specifications to the West Virginia Division of Health

D.	Two sets of plans and specifications to the West Virginia Fire Marshal’s Office

E.	If new construction, one set of plans and specifications to the West Virginia Division of Highways

F.	One set of plans and specifications to the SBA

1201.06	Plan Review Process - Final Plans

Approval of preliminary, design development or final construction plans and specification must always be contingent upon the final review by the appropriate regulatory and funding agencies.  The procedures outlined in Chapter 12, Sections 1201.04 and 1201.05 must also be followed in the submission of final plans.

1202	CONTENT OF DOCUMENTS SUBMITTED FOR APPROVAL

1202.01	Schematic Design Phase

1202.02	Design development plans, final educational specifications, and building outline specifications should include the following items.

A.	Plot plan, which includes size and shape of site, orientation, general topography, location of existing and new buildings, streets and highways, means of sewage disposal, and tentative development of the site.

B.	Floor plans showing existing and new buildings (minimum scale of 1/16 inch), type of wall, floor, partition, roof and stair construction, size and purpose of rooms, stairs, corridors, doors, windows, plumbing fixtures, built-in equipment, HVAC system type, building automation system type, and probable future additions.

C.	Elevations, at least one side of the building, overall dimensions, finished floor and ceiling levels, finished outside grade level, windows, doors, steps, retaining walls and materials

D.	Sections explaining any conditions not made clear on other drawings

E.	Proposed service connections, including gas, water, electricity and sewer, name of public service district or provider, and location of wells and sewage disposal system, if any

F.	Updated outline specifications to augment information shown on drawings

1202.03	Final Plans and Specifications

These shall include the following:

A.	Site or plot plan - size and shape of site, adjoining streets, highways and walks, position of existing and new buildings on the site, location and connections of all service lines, finish contours with finish grades at building and elevation of first floor rooms, location of wells and sewage disposal system, if any, general landscaping and location of walks, driveways, parking areas, and exterior steps

B.	Floor plans showing existing and new buildings (each floor and roof at not less than 1/8 inch scale), footings and foundations, dimensions and schedules showing type and size of each door and window, complete figures so that size and thickness of walls and partitions can be readily determined, level of finished floors, furred walls and ceilings, door swings, location of built-in equipment, floor construction, run, dimensions and spacing of joists and girders, notation of safe live loads, and materials.

C.	Elevations for all sides (same scale as architectural plans)

D.	Sections (same scale, or larger, as that of floor plans), to show clearly special conditions, typical stairs, instructional spaces and corridors, equipment and fixtures, floor construction, levels and thickness, wall and ceiling construction, typical windows, interior and exterior doors, finish material, roof construction, fire barriers, and smoke partitions.

E.	Details (larger scale) showing typical exterior wall sections, footings, foundations, floors, windows, cornice and roof, all vertical dimensions, each type and size of door with glazing and paneling, frame and trim, each type of window, together with distances to floor and ceiling, stairs, including risers, treads, handrails, newels and landing lines, instructional board, bulletin board, trim, chalk troughs, built-in equipment, counters, cupboards and drawers, and wardrobes, unless of standard manufacture

F.	Plumbing plans, including foundation drain lines, storm, acid, and sanitary sewer lines, complete water supply system and location of all plumbing fixtures, including hose cabinets and sewage disposal system

G.	HVAC plans showing the BAS system (if applicable) and the size and type of heating and cooling unit.  The plans shall also include all connections; pumps; supply and return lines with sizes, valves and slopes; motors; air-handling equipment; fans, including types, periphery speed,  locations, sizes and capacity of all ducts, grilles, and ventilator

H.	Electrical plans using standard symbols to show all connections, inside and outside, location of wall, floor and ceiling outlets or receptacles, location and size of all conduits, capacity of outlets, network drops, location and details of switch panels, circuit breakers and fusing, location and connections for all bells, alarms, clocks, and special outlets, and types and designs of lighting fixtures

I.	Structural plans showing all concrete and steel columns, beams, trusses, girders, joists, slabs and reinforcing, fireproofing of structural members, details, diagrams and schedules as required for a complete understanding of plans

J.	Complete specifications augmenting the information shown on the drawing, giving details on construction materials and methods, mechanical equipment and installations and tests.  In general, specify all window shades, restroom accessories and lockers and all other permanent equipment forming an integral part of the building.

K.	Final technology plan

L.	Final estimate of probable cost, including total project cost and final budget.

1202.04	Application for Approval of Preliminary and Final Plans and Specifications – Form P-1

1203	STANDARDS FOR ARCHITECTURAL OR ENGINEERING SERVICES

1203.01	The project architect or engineer will provide services, plans, and specifications, which may be executed within the project budget.  It becomes the architect’s responsibility to identify if the project funding is sufficient to meet the project requirements at the earliest possible point in the process and offer options to keep the project with funding limitations  in order to construct a facility within the budget and to comply with county boards of education and WVDE requirements.

1203.02	It shall be the responsibility of the project architect or engineer to assure that the project meets the requirements of this policy and to assure the legitimacy of bidders.

1203.03	Basis for Determining Architect’s and Engineering (Design Professional) Fees

A.	The Design Professional compensation for the basic services discussed above is usually based on one of the following methods:

1.	Percentage of construction cost of the work

2.	Fixed lump sum fee

3.	Professional fee plus reimbursement of expenses

4.	Multiple of direct personnel expense

5.	Salary, per diem or hourly rate

B.	Counties may contact the SBA with questions concerning architectural and engineering services

1203.04	The Architect’s Agreement

No services should be rendered by the architect, design professional, or engineer without a definite understanding as to the scope of services and the fee basis.  This contract is for the protection of both the client and the Design Professional.  Where SBA funds are used the contract for design services must be approved by the SBA.

1203.05	If the county Board of Education employs a commissioning agent to assure that the HVAC system is designed and installed in accordance with the county’s requirements, it is required that the employment meets the WV Code, Article §§5G-1-1 to §§5G-1-4.

1204	TRADITIONAL TASKS PERFORMED IN SCHOOL BUILDING PROGRAMS

1204.01	Tasks listed are those generally performed during the completion of a satisfactory construction project.  The sequence of tasks is not always the same, nor is the time allotment always the same.

1204.02	Care should be exercised by the owner (County Board of Education) when undertaking any project to assure that all activities are in accordance with statutory and regulatory provisions and that the investment is adequately protected at all times.

1204.03	It is highly recommended that the LEA should not act as its own contractor nor utilize maintenance employees in constructing new school buildings or additions to school buildings without guidance from the WVDE or SBA.

SCHOOL CONSTRUCTION PROJECT DEVELOPMENT

A	=	Architect	E	=	WVDE WV Department of Education

C	=	Contractor	FP	=	Facilities Planner

CA	=	Construction Analyst (When Applicable)	O	=	Owner

CM	=	Construction Manager (When Applicable)	S	=	School Building Authority

WVBE	=	WV Board of Education

1205	FINAL INSPECTION AND PROJECT CLOSEOUT

1205.01	When a project is completed, the county must complete a Certification of Project Completion, form BP-13-A or SBA 139 (See Appendices) and submit it to the Office of School Facilities, and SBA.   Following receipt of the BP-13-A, the appropriate agencies will contact the county and schedule a final inspection.  A final inspection of completed construction must be conducted by the project architect, the contractor, the State Fire Marshal, WVDE, and the SBA project representative.  Additional project closeout documents for SBA funded projects are found in the SBA Guidelines and Procedures Handbook.

NOTE: A certificate of occupancy must be acquired from the Fire Marshal’s Office and the SBA, before any completed construction can be occupied.

1205.02	Upon completion of any necessary corrections and subsequent inspection, official final acceptance of the project will be made.

1205.03	For the sake of illustration, the following list contains items, which should be examined during the final inspection to assure compliance with final plans and specifications.  Examine for proper type, location, installation, finish, cleanliness, mounting heights, operation and as-built drawings.  The following building systems should be inspected:

SITE AND DEVELOPMENT

Finish Grading			Seeding

Landscaping				Walks and Ramps

Drives				Parking Areas with Curb

Fencing 				Cuts

Playground

BUILDING EXTERIOR

Foundation				Wall Surfaces

Window & Door Frames				Glass & Glazing

Railing				Roof Surface

Flashing				Trim

Drains				School Name

BUILDING INTERIOR

Floor Surfaces				Wall Surfaces

Ceiling Surfaces				Acoustical Materials

Doors & Frames				Door Hardware

Thresholds				Window Hardware

Instructional boards				Bulletin Boards

Wood & Metal Trim				All Surface Finishes

PLUMBING, WATER, GAS

Fixtures				Shut-offs

Clean-outs				Drainage System

Special Toilets

ELECTRICAL SERVICE

Switches & Plates				Distribution Panels

Lighting Fixtures				Fire Alarm System

Clock & Program System				Emergency Lighting

Telephone System

HVAC

HVAC System				HVAC Controls

Air System Balance Report				HVAC System Start-up

Water System Balance Report 				Report

EQUIPMENT AND FURNISHINGS

Lockers				Extinguishers

Refrigeration				Fountains

Display Cases				Kitchen Equipment

Elevators

1206	ON-SITE INSPECTION OF FACILITIES FUNDED BY THE SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA OR THE WEST VIRGINIA BOARD OF EDUCATION

1206.01	Annual on-site inspections of school facilities funded totally or partially with funds from the SBA or the WVBE shall be conducted.

1206.02	These inspections shall be conducted at all SBA “Needs” and “Emergency” funded projects or WVBE funded projects resulting in new building construction, renovations, and/or additions of $1,000,000 or greater.

1206.03	The on-site inspections shall be conducted by appropriate personnel of the WVDE.

1206.04	The on-site inspection shall be separate and in addition to school accreditation on-site reviews that may be performed by the Office of Education Performance Audits as required by West Virginia Code §18-2E-5.

1206.05	The instrument used for the purpose of an on-site evaluation shall be the School Facilities Evaluation form.  (See Appendices)

1206.06	A comprehensive report of the inspection shall be submitted to the WVBE within thirty (30) days of the inspection date by the Office of School Facilities.

1206.07	Copies of each comprehensive report shall be forwarded to the SBA, the county superintendent and  county maintenance director of the evaluated school.

1206.08	An action plan addressing intended corrections and appropriate time lines for compliance, regarding all items identified during the evaluation as “Recommendations”, shall be submitted to the SBA and the WVBE by the county superintendent within forty-five (45) days of receipt of the comprehensive report.

1206.09	The SBA or the WVBE shall determine by inspection if the corrective action plan has been implemented within the appropriate time period.  In the instance of noncompliance, the WVBE shall restrict the use of necessary funds or otherwise allocate funds from moneys appropriated by the West Virginia Legislature for those purposes set forth in West Virginia Code §18-9D-16 and §18-9A-9.

A P P E N D I C E S

APPROVAL FORM

DATE:	___________________

TO:	___________________________________________________

___________________________________________________

___________________________________________________

___________________________________________________

ATTN:	___________________________________________________

COUNTY:	___________________________________

PROJECT:	______________________________________________________________________________

DOCUMENT REVIEWED:

□	Educational Specification	□	Schematic Design	□	Design Development

□	Construction Design	□	Life Cycle Cost Analysis	□	Design Intent

□	Acoustical Analysis	□	Testing Adjusting & Balancing Report

□	Other:	______________________________________________________________________________

THESE DOCUMENTS ARE:

□	APPROVED	□	APPROVED WITH COMMENTS

□	NOT APPROVED	□	OTHER:____________________________________

REMARKS AND NOTES:

Signed:	________________________________________

Executive Director, Office of School Facilities

CC:

Review and approval of the submitted documents does not relieve the owner, architect, or engineer of the responsibility for meeting all applicable Federal, State, and Local Codes.

CEFP AMENDMENT

ANNUAL UPDATE

COMPREHENSIVE EDUCATIONAL FACILITIES PLAN

COUNTY UPDATE - Data to be completed and submitted to SBA and SDE by December 1, of each year

1.	County-wide Facility Classification Report (SBA/WVDE 116 - Appendix B - SBA Guidelines)

2.	High School Attendance Areas Facilities Chart - for each high school in the county (SBA #132)

3.	Feeder School Summary Report - narrative

4.	MIP Annual Update - (1) List of completed or on-going projects (SBA 145a) and (2) Prioritized list of proposed projects (SBA 145b)

5.	Updated CEFP Executive Summary

The annual update is to be compiled and submitted to the State Department of Education (1 copy) and the School Building Authority (1 copy) in tabbed, three (3) ring binder(s).  Tabs should locate the above listed categories.

BUILDING IMPROVEMENT COST SUMMARY

SCHOOL:	___________________________________________________________________________

Anticipated

Completion		Total		Funding

Description			Priority	Date			Cost		Source

Site Improvements:

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

New Construction:

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

Renovations/Additions (List each separate):

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

Technology:

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

Others (Describe):

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

______________________	__________	_______________	$_________	_____________

Contingency @_________% addition/renovation			$_________	_____________

A & E Fees at __________% on $_________________________	$_________	_____________

Project Management at ____________% on $________________	$_________	_____________

Survey, geotechnical, contingency and other				$_________	_____________

Total Improvement Cost			$_________________

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

SUMMARY OF FUNDING SOURCES:

Local									$_________	_____________

Local Bond								$_________	_____________

Local Levy								$_________	_____________

SBA Needs								$_________	_____________

SBA MIP								$_________	_____________

Other (Describe)							$_________	_____________

SBA 147 (Revised 9/98)

WEST VIRGINIA DEPARTMENT OF EDUCATION

AND

SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA

CERTIFICATE OF PROJECT COMPLETION

Upon completion of a facilities project, submit duplicate copies to the State Department of Education and the School Building Authority to initiate close-out procedures.

County			_________________________		Substantial

Project/School Name	_________________________		Completion Date  ________________________

Project Number	_________________________		 Final Inspection Date  ____________________

Enrollment		_________________________		 Fire Marshal - Date

# Teaching Stations	_________________________		 of Occupancy Permit  ____________________

(If Required)

Sources of Funds:						Summary of Project Data:

State Funds							Sq. Ft. in Building	 ___________________

SBA “MIP”	$________________________		Site Acquisition	$__________________

SBA “Needs”	$________________________		Site Preparation	$__________________

Local Funds (Bond)	$________________________		Building Construction

Costs - Total	$__________________

Local Funds (Other)	$________________________		     *Renovation Costs	$__________________

Vocational (State)	$________________________		Building Construction

Vocational (Federal)	$________________________		     Costs - Per sq.ft.	$__________________

Federal (Other)		$________________________		Building Renovation

Other Funds (List)	$________________________		     Costs - Per sq.f.t.	$__________________

__________________						Moveable Eq. Cost	$__________________

__________________						A & E Fees		$__________________

__________________						**Misc. Costs		$__________________

Total Funds		$__________________			Total Project Cost	$__________________

*A project may include both new construction/addition and renovation costs.

**Geotech, Site Survey, Deed Search, Technology Equipment (Explain on Back)

_______________________________________________		________________________________

Architect								Date

_______________________________________________		________________________________

Contractor								Date

_______________________________________________		________________________________

Clerk-of-the-Works/Construction Manager				Date

_______________________________________________		________________________________

Superintendent 	Date

***Inspected this date by a representative of the School Building Authority or the West Virginia Department of Education.

_______________________________________________		________________________________

Signature 								Date

***SBA funded projects must have a final inspection by an SBA representative.

WVDE BP-13-A (Revised 10/94, Retyped 12/04)

BUILDING PROGRAM UTILIZATION WORKSHEET

County:  ________________	School:  ________________________	Current Enrollment:  ________

Number			Maximum			Total

Classrooms	    x		Pupils/Class		=	Program

Types			    Type			Capacity

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

__________			__________			__________

TOTALS:	__________			__________			__________

Program Utilization = _______________________ divided by	__________________________        =

Current Enrollment			Total Program Capacity

PROGRAM UTILIZATION =____________%	Desirable Program Capacity = 85%

Instructions for Calculating Building Program Utilization

Elementary School – Calculate the number and type of classrooms using the maximum program capacity for each regular or special classroom.  Assume for example – that all students are seated in a first period block without pullout programs.  Do not include library/media, cafeteria, itinerant spaces, resource rooms, or optional academic classrooms such as art, music, and computer labs that act as pullout programs to support the core curriculum.

Secondary School – Middle/Junior High School programs where various schedules exist, calculate the number and type of classrooms using the maximum program capacity for each regular or special classroom.  Assume for example that all students are seated in a first period block and with the exception of library/media, science labs, resource rooms or any space that cannot be used for other course offerings should be included in the daily capacity of each facility.  The maximum capacity for instructional spaces for specialty classrooms would be counted once and this type of space may be available throughout the school day but due to its specialized design or equipment render it impractical to use for other instructional purposes.

SBA 156

4jattj

EXECUTIVE SUMMARY

COMPREHENSIVE EDUCATIONAL FACILITIES PLAN

ANNUAL REPORT YEAR	___________	      COUNTY	________________________________

1.	Number of existing schools currently within the county		__________________________

(Include vocational, special education, adult education)

2.	Number of schools that will be closed during the ten year	__________________________

planning period.

3.	Number of schools that will exist in the county at the close	__________________________

of the ten year planning period if the CEFP is completed.

4.	Total estimated cost remaining to implement the entire CEFP	$_________________________

5.	Total estimated cost of anticipated SBA funded “Needs” and	$________________________

“MIP” projects in the CEFP

6.	Total cost for all other projects within the CEFP to be funded	$_________________________

from county or other sources excluding SBA funds

7.	Has regionalization of school facilities been considered within		Yes________________

the CEFP?  If so, please give a brief description.			No_________________

______________________________________________________________________________

______________________________________________________________________________

8.	*Approximate annual cost savings as a result of school closures	$_________________________

anticipated in the CEFP?					   Annual Cost Savings

$_________________________

Avoided Costs

Include approximate savings such as: annual utilities, annual maintenance & reduced staff; also, subtract any related costs associated with additional transportation, one time cost for moving of student and staff from a closed facility, etc.

9.	Has educational innovation been addressed within the ten year		Yes________________

CEFP?  If so, please give a brief description.				No_________________

______________________________________________________________________________

______________________________________________________________________________

*Please indicate annual cost savings per county as indicated.  Also, please indicate any cost avoided per county such as anticipated expenditures on schools scheduled to be closed for major renovations that may be required should the facility remain open.

_____________________________________		_______________________________________

Date							County Superintendent

cefpexsum

| SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA Maximum Class Sizes |
| --- |
| Classroom Type | EL | MS | HS |
| Kindergarten & Transitional Kindergarten | 20 |  |  |
| General Instruction Areas | 25 | 25 | 25 |
| Corrective or Remedial Education | 15 | 15 | 15 |
| Art Rooms (Optional/EL) | 25 | 25 | 25 |
| Driver Education Facilities |  |  | 25 |
| Consumer/Homemaking Classroom (Optional) |  | 25 | 25 |
| Consumer/Homemaking Lab |  | 25 | 25 |
| Foreign Language Facilities |  | 25 | 25 |
| Foreign Language Lab (Optional) |  | 25 | 25 |
| Technology Education |  | 20 |  |
| Music Facilities (Optional/EL) | 25 | 25 | 40 |
| Ensemble Room (Optional) |  |  | 12 |
| Physical Education | 25 | 70 | 70 |
| Science Facilities |  | 25 | 20 |
| Micro-Computer Lab | 25 | 20 | 20 |
| Electronic Technology Lab (Optional) |  | 75 |  |
| Auditorium (33% of total student body) |  |  |  |
| Behavior Disorders | 8 | 8 | 8 |
| Communication Disorders (Self Contained) | 12 | 12 | 12 |
| Deaf/Blind (Self Contained) | 3 | 3 | 3 |
| Mildly Mentally Impaired (Self Contained) | 12 | 12 | 12 |
| Moderately Mentally Impaired (Self Contained) | 12 | 12 | 12 |
| Orthopedically Impaired (Self Contained) | 10 | 10 | 10 |
| Severely/Profoundly Mentally Impaired (Self Contained) | 9 | 9 | 9 |
| Hearing Impaired Education (Self Contained) | 10 | 10 | 10 |
| Visually Impaired Education (Self Contained) | 10 | 10 | 10 |
| Specific Learning Disabilities (Self Contained) | 12 | 12 | 12 |
| Pre-School Students With Exceptionalities (Self Contained) | 10 |  |  |
| Gifted Education (Self Contained) | 15 | 15 | 15 |
| Resource Services (Regular Program Support) | 15 | 15 | 15 |
| Agricultural Education |  |  | 20 |
| Agricultural Mechanics Lab |  |  | 20 |
| Marketing Education |  |  | 25 |
| Diversified Cooperative Training |  |  | 25 |
| Vocational Health Occupations |  |  | 25 |
| Health Occupations Lab |  |  | 25 |
| Consumer and Homemaking (Occupational) |  |  | 25 |
| Food Management, Production & Services (Occup) |  |  | 20 |
| Care & Guidance of Children |  |  | 20 |
| Fashion Management |  |  | 20 |
| Institutional & Home Management (Occupational) |  |  | 20 |
| Vocational-Industrial and Technical Classrooms |  |  | 20 |
| Industrial and Technical Lab |  |  | 20 |
| Business Education Classroom |  |  | 20 |
| Computer/Keyboarding Lab |  |  | 30 |
| Office Technology |  |  | 20 |
| Tech Ed. Production Lab |  |  | 20 |
| Tech Ed. Systems Lab |  |  | 20 |

Retyped 1/05

clasize

5jattj

TRANSLATING EDUCATIONAL NEEDS INTO FACILITY NEEDS

REVIEW AND RECOMMENDATIONS

School Name & Address					Phone			Date

School		Grades		Building	Program %	Date of	Additions

Number	Served		Program	Utilizations	Original

Capacity					Construction

Ten Year Enrollment Projections:

Past Enrollment:						Future Enrollments:

1991 Enrollment ______	1996 Enrollment ______	2001 Enrollment ______	2006 Enrollment ______

1992 Enrollment ______	1997 Enrollment ______	2002 Enrollment ______	2007 Enrollment	______

1993 Enrollment ______	1998 Enrollment ______	2003 Enrollment ______	2008 Enrollment ______

1994 Enrollment ______	1999 Enrollment ______	2004 Enrollment ______	2009 Enrollment ______

1995 Enrollment ______	2000 Enrollment ______	2005 Enrollment	______	2010 Enrollment ______

Existing Facility Data

Describe Existing Facility:

Describe Existing Facility Site:

Recommendations:

(Additional Sheets May Be Needed)

SBA 147 (Revised 9/98 – Retyped 1/05)

attachments

SCHOOL  BUILDING AUTHORITY OF WEST VIRGINIA

EDUCATIONAL SPECIFICATIONS

By constructing educational specifications, the learning activities, the number, groupings and nature of the people involved, the spatial relationships between sections of the facility, the interrelationships of instructional programs with each other as well as non-instructional spaces and the major furniture/equipment needs or the new facility can be defined and more easily understood.  Each Ed Spec Committee must consist of representatives from the educational profession, individuals from the community and the architectural design staff selected by the board of education.

When specifications are agreed upon and committed to a written document, the architect is provided the greatest opportunity to design a school that more nearly meets the needs of the educational program and facilitates the activities that will be occurring in the spaces.  To that end, and to more readily value the scope of the project, it is essential that an educational specifications document accompany the schematic drawings submitted to the SBA for review prior to approval by the local board of education.*

To be consistent and assist in understanding the issues to be included in the educational specifications, the following outline is provided but should not be considered all inclusive should other issues be of concern to you and your planning committees.

I.	Introduction

A short synopsis describing the configuration of the educational structure, the projected number of students, site location, availability of site utilities, existing availability of ancillary facilities and spaces (i.e. athletic etc.) and proposed statistics for the new construction.

II.	The Community

A brief description of the community, its history, specific cultural distinctions and maps showing geographic characteristics, attendance areas (present and proposed) and the site location.

III.	The Educational Plan

The educational plan can be subdivided into two general areas:

A.	Curriculum Plan - States the schools philosophy, educational goals and objectives of the program.  This should clarify important issues and priorities for consideration in the planning of the new facility.

B.	Support Plan - Provides staffing information including teachers, instructional aides, food service personnel, counselors, custodial staff, and administrative staff including principals, assistant principals, department heads etc.

IV.	Building Space Requirements

The utilization of space is extremely important. The SBA requires a minimum 85% utilization of newly constructed schools or schools where building additions are being proposed.  In order to assist in developing Section IV, Worksheet #1, which compiles data from the calculation of spaces for the new facility, must be completed and incorporated into Section IV.

The final number of allowable classrooms and the square footage for any facility that incorporates SBA funds will be determined by the SBA staff upon consideration of the program needs, building utilization rates, maximization of multi-use spaces in the design and the potential construction of the project within the allocated funds available.

In order to assure appropriate spaces and utilizations for the projected enrollment, room numbers and labels should be assigned to instructional areas on the schematic drawings and a model student schedule developed using Worksheet #2 to locate students and staff within the facility during each of the instructional periods of the day.

The following formula is to be utilized to determine the maximum number of classrooms that may be considered in each curricular area:

FORMULA FOR DETERMINING TEACHING STATIONS PER SUBJECT AREA**

Number of students				Number of periods			Number of teaching

Enrolled in subject                            X                         per week in subject                             =	stations for this

Maximum class size				Maximum number of periods		subject area

(see reference sheet)		X		per week (every period, every day)

V.	Space Allocations

This section describes the instructional areas (general classrooms, PE areas, tech. ed. labs, science areas, consumer and homemaking areas, special education spaces, administrative offices, etc.).   Middle/Junior and High School departmentalization, specialization of spaces, electives and scheduling are factors to be considered in determining the number of teaching stations.  The maximum number of teaching stations may be determined by applying the formula provided in Section IV to each subject area. The following description of each subject area is needed and should include:

A.	Goals - What are the objectives to be accomplished in the area.

B.	Space Required - Submit the calculations from the formula in Section IV to identify the number of spaces needed in this subject area and complete Worksheet #1, attached.  Teacher planning areas must be provided in building design allowing maximum use of teaching stations.

C.	Planned Activities - Include specific actions to be performed in an area such as paint, read, science experiments, audio visual presentations, telecommunications, robotics lab, multiple use areas, etc.

D.	Number of Users - Determine the number of administrators, teachers, aides and pupils to use the area at any one time.

E.	Group Usages - Identify if the area is to be used for large or small group instruction, individual student work, team teaching, multiple usage, etc.

F.	Spatial Requirements - Identify the spatial relationships of any one space to other areas of the facility whether inside or outside - near to or away from, convenient to media center (as with language arts areas), capability for combining or subdividing areas, the frequency of such adjustments and the square footage needed to do so, etc.  Bubble diagrams should be used to show interrelationships of spaces.

G.	Support Facilities - Spaces that allow the area to meet its goals: shared storage areas, teacher preparation areas, student work/storage areas, conference rooms, etc.

H.	Environmental Considerations - Acoustical, Visual, Thermal, Climatic and Aesthetic considerations that enhance the practical usage of the specific space.

I.	Utility Needs - Utilities needed in the specific area including: water, electrical, toilets, 3-phase power, gas, vacuum capability, telephone, technology wiring, etc.

J.	Storage - More specific direction as to the cubic feet of storage needed in the specific area.  Generally, this denotes built-in storage areas and closets.

K.	Display Areas - Chalkboards, bulletin boards, display cases (linear feet).

L.	Furniture and Equipment - Quantities and types of items to be used in each area.

M.	Technology - Specific needs of each space to accommodate the technological delivery system/network incorporated into the facility.

N.	Other - Identify any other specific information essential to each specific area.

VI.	Technology Plan

A technical plan for delivery of media, voice, data, graphics, text and telecommunications throughout the school includes a description of the instructional and administrative objectives, the technical structure needed to facilitate the system, the equipment needed to implement the system and the physical/design requirements for incorporating the system into the construction of the facility.  The technology plan will be developed according to the Department of Education's Office of Technology & Information Systems’ guidelines and submitted to them and the SBA for approval with design development documents.

VII.	Design Criteria and General Architectural Considerations

This section should regard the total school complex but may be specified in distinct areas or regard special concerns.  Following are some suggested considerations:

A.	Health and safety

B.	Quality of building systems and components

C.	Economies to be attained - instructional, operational, maintenance

D.	Flexibility and multi-use of spaces

E.	Efficient circulation patterns

F.	Community use considerations

G.	Communication systems - may be incorporated into the Technology Plan

H.	Accessibility

I.	Building security

J.	Student supervision

VIII.	Educational Specifications Committee Page

A signature page for members comprising the Ed. Spec. committee will be included. Names will be organized by the group each individual represents, i.e., teachers, administrators, parents, community leaders, design professionals, etc.

1jattj

WORKSHEET #1

SUMMARY OF SPACES FROM CALCULATIONS IN SECTION IV

| CURRICULAR AREA | NO. OF CLASSROOMS (According to formula)* | # STUDENTS | SBA USE |
| --- | --- | --- | --- |
| SUBTOTAL/TOTAL |  |  |  |

*Classroom numbers from the formula are not to be rounded to the nearest whole number, insert the actual answer from the formula.  Example: Language Arts -- 3.4 classrooms

edspecs#1

2jattj

SBA SUBJECT AREA SPACE ALLOCATION DATA

WORKSHEET #2

Project Name ___________________________	Prepared by ______________________________________________________

Date ____________________	Design Enrollment __________________	Periods Per Day	_____________________________

| Room # | Teacher | Course | Number of Students Per Period |  |
| --- | --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  |
| SUB-TOTALS/TOTALS |  |  |  |  |  |  |  |  |  |

SBA 141

3jattj

NEEDS

SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA

CONSTRUCTION FUND PROJECT “NEEDS” - EXECUTIVE SUMMARY

PROJECT _____________________________________________________________________________________________

COUNTY __________________________________________	      PROJECT COST	$_____________________________

IMPLEMENTING TOTAL CEFP				FUNDING SOURCE - THIS PROJECT

SBA NEEDS	$_______________________			SBA		$_________________________________

SBA MIP	$_______________________

LOCAL	$_______________________			LOCAL	$_________________________________

FEDERAL	$_________________________			FEDERAL	$____________________________________

OTHER	$_______________________			OTHER	$_________________________________

TOTAL	$_______________________			TOTAL	$_________________________________

Bonding Capacity		$________________		Available Bonding Capacity		$_________________

Excess Levy Capacity		$________________		Available Levy Capacity		$_________________

PROJECT DESCRIPTION:

PROJECT STATUS

Site Selected	Yes  ______	No  ______	New Site  ______

Geotechnical	Yes  ______	No  ______

Existing Board Owned Property	Yes  ______	No  ______

Survey Performed  _______________________________

Programming/Preliminary Design Completed - Describe:

SCHOOL CLOSURE STATUS

School Closure Required	Yes  ______	No  ______

County Hearing Done		Yes  ______	No  ______

County BOE Approved		Yes  ______	No  ______

WV BOE Approved		Yes  ______	No  ______

COMPLIANCE WITH SBA REQUIREMENTS - PROPOSED NEW PROJECT

HEALTH AND SAFETY

ECONOMIES OF SCALE

Annual Savings $______________	Proposed facility	will ________	 will not __________

Cost Avoidance $______________	meet the SBA economies of scale.

Students required_______		Students enrolled________

IF IMPLEMENTED, WHAT IS THE EFFECT OF THIS PROJECT ON

PERSONNEL

- Teacher		Present No._______	Projected No._______	Difference_______

- Service Personnel	Present No._______	Projected No._______	Difference_______

- Administrators		Present No._______	Projected No._______	Difference_______

MULTICOUNTY PROJECT

EDUCATIONAL INNOVATIONS AND IMPROVEMENTS

ADEQUATE SPACE FOR PROJECTED STUDENT ENROLLMENT

TRAVEL TIME

LOCAL BOND HISTORY EFFORTS

COMMENTS

#1	DESCRIPTION OF EXISTING FACILITIES

- ___________________ School currently houses grades  ____________

- Constructed on a __________  acre site in 19_____  which is adequate ______  inadequate______

- _______________ major addition(s) in 19_____

- Existing _______________ story facility contains __________ sq.ft.

- Current enrollment is ___________________

- 8th Year Projected Enrollment ___________________

- Building utilization is _________________%

- Utilities:  Public Water ________ On-Site Well _______ Public Sewage ________

- Package Plant _________________	Other ___________________

- HVAC:   Gas _________ Electric _________ Coal _________ Other _________

- Cost to upgrade to current standards is $________________

- Existing facility contains _______________ major structural problems

- Health, safety and building accessibility, comments: ____________________________________

#2	DESCRIPTION OF EXISTING FACILITIES

- ___________________ School currently houses grades  ____________

- Constructed on a __________  acre site in 19_____  which is adequate ______  inadequate______

- _______________ major addition(s) in 19_____

- Existing _______________ story facility contains __________ sq.ft.

- Current enrollment is ___________________

- 8th Year Projected Enrollment ___________________

- Building utilization is _________________%

- Utilities:  Public Water ________ On-Site Well _______ Public Sewage ________

- Package Plant _________________	Other ___________________

- HVAC:   Gas _________ Electric _________ Coal _________ Other _________

- Cost to upgrade to current standards is $________________

- Existing facility contains _______________ major structural problems

- Health, safety and building accessibility, comments: ____________________________________

Complete one of the above descriptions for each school affected.

1gsba120

SBA 120

Revised 12/02

attachmentg

SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA

AND

WEST VIRGINIA DEPARTMENT OF EDUCATION

FACILITY CLASSIFICATION FORM

COUNTY: ______________________							DATE: ____________________________

| Facility | Facility Name | Current Enrollment | Current Grade Configuration | Classification | Describe Future Use Transitional Facility |
| --- | --- | --- | --- | --- | --- |

School Classification Categories:

P = Permanent:	A school facility that is to be utilized throughout the 10 year planning period without a change in its present use or grade configuration.

T = Transitional:	A school facility that is projected to be utilized throughout the 10 year period but will experience a change in its grade configuration or use.

F = Functional:	A school facility that is projected for closure between the 5th and 10th year during the 10 year planning period.

C = Closure:	A school facility that is projected for closure before the 5th year of the 10 year planning period.

SBA/WVDE 116

EXAMPLE

FEEDER SCHOOL SUMMARY REPORT

YOUR COUNTY - BRANDON HIGH SCHOOL ATTENDANCE AREA

Brandon High School

Becomes 9-12 facility; Sept., 2007

Stewart Middle School

Feeder to Brandon High School

Opens as 6-8 Middle School; Sept., 2007

Raines Junior High School

Currently feeds Brandon High School

Closes June, 2007

9th graders transfer to Brandon HS; Sept., 2007

7th and 8th graders transfer to Stewart MS; Sept., 2007

Tyler Elementary

Currently feeds Raines JHS

Changes to K-5 facility; Sept., 2007

6th graders transfer to Stewart MS; Sept., 2007

Painter Elementary

Currently feeds Crawford JHS

To become feeder to Stewart MS; Sept., 2007

6th graders transfer to Stewart MS; Sept., 2007

Barron Elementary

Currently feeds Raines JHS

To become feeder to Stewart MS; Sept., 2007

6th graders transfer to Stewart MS; Sept., 2007

Withrow Elementary

Currently Feeds Raines JHS

Students transferred to Painter Elementary; Sept., 2007

Becomes Bus Garage; Sept., 2007

Ragland Elementary

Currently feeds Raines JHS

Students transferred to Tyler EL; Sept., 2007

Lovejoy Elementary

Currently feeds Raines JHS

120 students transferred to Painter EL; Sept., 2007

30 students transferred to Tyler EL; Sept., 2007

Drew Middle School

Scheduled to become 6-8 Middle School; Sept., 2007

Feeder to Brandon High School

9th graders transfer to Brandon HS; Sept., 2007

Gordon Junior High School

Currently feeds Brandon High School

Scheduled to become EL Center; Sept., 2007

9th graders transfer to Brandon HS; Sept., 2007

7th and 8th graders transfer to Drew MS; Sept., 2007

Gordon Elementary Center

Feeder to Drew MS

Sayre Elementary

Currently feeds Gordon JHS

6th graders to be transferred to Drew MS; Sept., 2007

Students to be transferred to new EL Center; Sept. 2007

Midkif Elementary

Currently feeds Gordon JHS

6th graders to be transferred to Drew MS; Sept., 2007

Students to be transferred to new EL Center; 9/97

Smarr Elementary

Currently feeds Gordon JHS

6th graders transferred to Drew MS; Sept., 2007

Students to be transferred to new EL Center; 9/97

House Elementary

Currently feeds Gordon JHS

To become feeder to Drew MS; Sept., 2007

6th graders transfer to Drew MS; Sept., 2007

This feeder school summary is an example of facilities for a 2000-2010 CEFP

UNDERLINED schools are operational facilities in 2009 – 2010

SBA 132

MAJOR IMPROVEMENT PROGRAM

ANNUAL UPDATE

(PRIORITIZED LIST OF PROPOSED PROJECTS)

COUNTY ____________________________________	DATE  ____________________________________

Listed below are proposed capital improvement projects in order of priority.  These projects are currently in the county Major Improvement Plan or are being amended into the plan with this action.  (Use additional forms as needed)

PROJECT IS

CURRENTLY

IN PLAN?

SCHOOL			           PROJECT			     COST	   Y OR N

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

_________________	_____________________________________	$__________	_____________

SBA 145b

mipexsum

MAJOR IMPROVEMENT PROGRAM

ANNUAL UPDATE

(COMPLETED OR ON-GOING PROJECTS)

COUNTY ____________________________________	DATE  ____________________________________

Listed below are proposed capital improvement projects completed since January 1 of the previous calendar year.  These projects are currently in the county Major Improvement Plan or are being amended into the plan with this action.

PROJECT		 PROJECT

CURRENTLY IN	  STATUS

SCHOOL		        PROJECT		    COST	 PLAN?  Y OR N	  N/C/CO*

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

_______________	__________________	$__________	________________	_____________

*N - New	C - Completed	CO- Continuous

SBA 145a

mipexsum

SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA

PROJECT EXECUTIVE SUMMARY

MAJOR IMPROVEMENT PLAN

PROJECT ____________________________________________________________________________________

COUNTY ____________________________________	COUNTY PRIORITY _________________________

PROJECT COST $____________________________   DATE _________    SBA FUNDING CYCLE ________

PROJECT DESCRIPTION:

FUNDING SOURCE:

TO IMPLEMENT TOTAL MIP				FUNDING FOR THIS PROJECT

SBA	$___________	TYPE _________________	SBA	$____________	TYPE ________________

LOCAL	$___________	TYPE _________________	LOCAL	$____________	TYPE ________________

OTHER	$____________________________________	OTHER	$___________________________________

TOTAL	$____________________________________	TOTAL	$___________________________________

Bonding Capacity	$_________________	Available Bonding Capacity	$____________________

Excess Levy Capacity 	$_________________	Available Levy Capacity		$____________________

COUNTYWIDE BUDGET INFORMATION

- Are Excess Levy Funds Dedicated Annually to Maintenance?	Yes _________No _________

Amount    $____________________________________

- Are Excess Levy Funds Dedicated Annually to Building Improvements?		Yes ________

No _________		Amount   $_____________________________

- Percent of Total Building Improvement or Maintenance Budget supported by Levy _________%

(Based on data provided above)

- Percent of Total County Budget dedicated to Facility Maintenance   ______________%

- Maintenance Budget this Year	$___________________________________________________

- Maintenance Expenditures Last Year Total	$______________________________________

$/Square foot _______________

- Average Maintenance Budget for lowest three of the past five years	$__________________

COMPLIANCE WITH SBA REQUIREMENTS

PROPOSED NEW PROJECT

Briefly describe how this project affects the following:

- HEALTH AND SAFETY

- ECONOMIES OF SCALE

Number of students enrolled in the affected facilities			___________________________________

___________________________________

Economies of scale will ____________ will not ____________ be achieved or will not be altered _______________ as a result of the completion of this project.

ANNUAL SAVINGS	$___________________________		COST AVOIDANCE $________________

(Achieved on this project)						(Achieved on this project)

IF IMPLEMENTED, WHAT IS THE AFFECT OF THIS PROJECT ON

PERSONNEL?

- TEACH	       Present #	______	     Projected #	______	       Difference	_______

- SERVICE PERSONNEL	______			______			_______

- ADMINISTRATORS		______			______			_______

- MULTICOUNTY PROJECT

- EDUCATIONAL INNOVATIONS AND IMPROVEMENTS

- ADEQUATE SPACE FOR PROJECTED STUDENT ENROLLMENT

- TRAVEL TIME

- EFFECTIVE AND EFFICIENT USE OF PROPOSED FUNDING

- PROVIDING OR IMPROVING A PREVENTIVE MAINTENANCE PLAN

- FURTHERANCE OF THE OVERALL GOALS OF THE SBA AND THE COUNTY/AGENCY MAJOR IMPROVEMENT PLAN

mipexsum

WEST VIRGINIA DEPARTMENT OF EDUCATION

AND

SCHOOL BUILDING AUTHORITY OF WEST VIRGINIA

APPLICATION FOR PROJECT APPROVAL

West Virginia Department of Education			School Building Authority of WV

1900 Kanawha Blvd., E., Bldg #6 Room B-215		2300 Kanawha Blvd., East

Charleston, WV 25305					Charleston, WV 25311

County		__________________________	Estimated Starting Date ___________

School Name	__________________________	Sq. Ft. Affected by this Project ________________________________

Location	__________________________	Grades Housed __________	Enrollment ___________________

Project Description:

Site Acres __________	Useable Acres __________	Gross Building Area New Construction __________________

Energy Efficiency (BTU/Sq.Ft./Yr) _______________	Sq.Ft. Affected by this Project _________________________

Water Source ________________________________	Sewage Disposal Type _______________________________

Preliminary		Final		Final Unit Cost

Line Item						Estimate		Cost		(Per Sq. Ft.)

General Requirements (A/E, Legal, etc.)

Site Acquisition

Site Work (Geotech, Grading, Paving, etc.)

Concrete (Ftg./Foundations, Slabs, etc.)

Masonry

Metals (Str. Stl., Jt., Deck)

Carpentry

Thermal & Moisture Protection

Doors and Windows

Finishes (Floors, Walls, Ceilings, Painting)

Specialties (Chalkbd, Tbd., Locker, Toil Acc.)

Equipment (Food Service, etc.)

Furnishings (Seating, Casework, etc.)

Special Construction

Conveying Systems (Elevators, etc.)

Mechanical (HVAC, Plumbing, etc.)

Electrical

Others (Describe)

Grand Total

Funding

County Source

SBA	Needs	MIP

Federal Source

GRAND TOTAL

____________________________________________	__________________________________________________

Signature of Architect or Engineer				Signature of County Superintendent

WVDE P-1 rev. 7/16/98 and retyped 12/04

INSTRUCTIONS FOR SBA FORM 132

(To be submitted with the Annual Update)

1.	The purpose of this form is to track all schools and their usage throughout the ten-year planning cycle.  One form should be completed for each high school attendance area.

2.	All facilities that were in operation during the first year of the current planning cycle must be shown in the dashed box.  Second month enrollments for these facilities must be shown in the brackets [ ].  Only facilities that will be in operation during the entire ten-year planning cycle will be in solid boxes.  The 8th year projected enrollments must be within parenthesis ( ).

3.	If the facility is to be built after the current ten-year planning cycle, list “NEW” in the brackets.  If the facility is to be redesignated from its current usage, list “REDSG” in the brackets.

4.	CLOSURES – In the Closure column, list schools that are scheduled for closure during the current ten-year planning cycle and will not be used by the county board of education for other purposes.

FACILITY REDESIGNATION – In the Facility Redesignation column, list schools that are scheduled to change their current usage before the current ten-year planning.  Designate what type of facility it will become.

ELEMENTARY – In the Elementary column, list only those schools that will still be operational at the end of the current ten-year planning cycle.

JHS/MIDDLE – In the JHS/Middle column, list only those schools that will still be operational at the end of the current ten-year planning cycle.

HIGH SCHOOL – In the High School column, list only the high school for this attendance area that will be in effect at the end of the current ten-year funding cycle.

sba132instr

WEST VIRGINIA SCHOOL BUILDING AUTHORITY

CERTIFICATE OF CONTRACT COMPLETION

FOR MULTIPLE PRIME PROJECT

Upon completion of each prime contractor’s contract the agency receiving SBA funding shall be responsible for submitting this completed original form to the SBA, with each prime contractor’s final request for payment.

To the best of our knowledge, all required project close-out procedures have been followed and all project close-out documents have been submitted to initiate the release of final payment to this contractor.

ARCHITECTURAL FIRM NAME: ____________________________________________________________________

PROJECT ARCHITECT: ________________________________________	DATE: ____________________________

PROJECT CONSTRUCTION COST:

LOCAL:	$___________________________________________

SBA:		$___________________________________________

OTHER:	$___________________________________________

PROJECT CONSTRUCTION COST TOTAL: $__________________________________________________________

PRIME CONTRACT COST TOTAL: $__________________________________________________________________

PRIME CONTRACTOR NAME: ______________________________________________________________________

PRESIDENT/CEO: __________________________________________________________________________________

SUBSTANTIAL COMPLETION DATE: ________________________________________________________________

FINAL COMPLETION DATE: ________________________________________________________________________

COUNTY/AGENCY: _________________________________________________________________________________

COUNTY/AGENCY PROJECT ADMINISTRATOR: _______________________	DATE: _____________________

PROJECT SCHOOL NAME: __________________________________________________________________________

Inspected this date by a representative of the School Building Authority.  SBA funded projects must have a final inspection by a SBA representative.

___________________________________________________		____________________________________

Signature								Date

SBA139 (1/7/98, retyped 12/04)

EVALUATION INSTRUMENT

PREVIOUS TEN-YEAR COMPREHENSIVE EDUCATIONAL FACILITY

From __________

To __________

West Virginia Code §18-9D-16(g) and State Board Policy 6200, Article 100.19 requires all county board of educations to submit an objective evaluation of the ten year Comprehensive Educational Facilities Plan (CEFP).  This evaluation shall be completed by the CEFP committee established by the local board to plan the 2010 ten-year plan consisting of community members and professional staff from each high school attendance area.  The committee will familiarize themselves with the state board requirements of the plan and the current county CEFP prior to completing this evaluation form.  All amendments to the plan since 2000 will be objectively evaluated for its effectiveness and completeness of projects within that plan.  The following should be used to effectuate this evaluation of the 2000 ten-year plan and also be used as a means to improve future plans.  Goals to be evaluated include WV Code §18-9D-16(g):

1.	Student Health and Safety				5.	Curricular Improvements

2.	Economies of Scale				6.	Educational Innovations

3.	Demographic Circumstances and Travel		7.	Adequacy of Space for Projected

4.	Multi-County Projects					Enrollments

(1 - Poor Rating; 3 - Adequately met the need or requirement; 5 - Excellent Rating)

1.	Did the CEFP contain all data required in State Board Policy 6200?

1	2	3	4	5

2.	Was the data sufficient to allow prudent long-range planning decisions to be made regarding the educational direction and facility needs necessary to accomplish the desired goals of the ten-year plan?

1	2	3	4	5

3.	Was the original plan significantly amended during the ten-year cycle?

Yes ________	 No _________

If the original plan was altered:

(a).	Did alterations in the plan generally prove to be positive changes?

1	2	3	4	5

(b).	Did the amended plan effectively improve the county’s ability to deliver the curriculum?

1	2	3	4	5

(c).	Were the amendments generally politically initiated rather than educationally motivated?

1	2	3	4	5

4.	Were local and SBA funds used effectively for individual school projects that further the overall goals of the county plan and the goals of the SBA as defined in 18-9D-16(d)?

1	2	3	4	5

5.	To what degree has/will the projects identified in the ten year plan be effectively completed during this planning period?

25%	50%	70%	80%	85%	90%	95%	100%

SBA/WVSDE 149

Attachments

Page Two

Comments relative to the major issues (positive and negative) that led to the conclusion of the evaluation committee in Items 1 thru 5.  (Additional comments may be attached)

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

Comments relative to improving the plan to be developed for the year 2010.

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

List Committee Members below:

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	______________________________________________

______________________________________________	_______________________________________________

Committee Chairperson					Date

SBA/WVSDE 149

40 CFR Part 763 Asbestos Containing Materials in Schools Regulation:

These regulations, in effect since 1986, require that public and non-public, elementary and secondary schools be inspected to determine the presence of asbestos containing building materials and that asbestos management plans be developed as a result of those inspections.

The Asbestos Hazard Emergency Response Act (AHERA) 40CFR763.80 to 763.99, a provision of the Toxic Substances Control Act, was passed by Congress in 1986. AHERA requires local educational agencies to inspect their schools for asbestos-containing building material and prepare management plans that make recommendations for the reduction of asbestos hazards.

Public school districts and non-profit private schools (collectively called local educational agencies) are subject to AHERA's requirements. This includes charter schools and schools affiliated with religious institutions.

EPA provides local education agencies and parents and teachers with information about the AHERA asbestos-in-schools requirements.

The rules implementing AHERA are published in the Code of Federal Regulations, Chapter 40, Part 763, Subpart E. The AHERA rules require local education agencies to take actions, including the following:

- Perform an original inspection and re-inspection every three years of asbestos-containing material;

- Develop, maintain, and update an asbestos management plan and keep a copy at the school;

- Submit initial Management Plan to the Bureau for Public Health for approval.  This include in structure even if the facility is certified asbestos free by the srchitect

- Provide yearly notification to parent, teacher, and employee organizations regarding the availability of the school's asbestos management plan and any asbestos abatement actions taken or planned in the school;

- Designate a contact person to ensure the responsibilities of the local education agency are properly implemented;

- Perform periodic surveillance of known or suspected asbestos-containing building material;

- Ensure that properly-accredited professionals perform inspections and response actions and prepare management plans; and

- Provide custodial staff with asbestos-awareness training.

Designated Person:

The Local Educational Agency (LEA) must designate a person (designated person) to ensure the responsibilities of the LEA, is as detailed in the regulations, are properly implemented.

- The LEA must verify that this person has received proper training.  The designated person is not required to be a licensed asbestos consultant.  There is no specific training course for the designated person, however, the US Environmental Agency (EPA) has developed a “Designated Person’s self-Study Guide” that details the required specific background knowledge the person must have.  You can find this guide at http://www.epa.gov/asbestos/school.html.

- The Asbestos Management Plan (AMP) for schools must include a true and correct statement signed by the designated person certifying the general responsibilities of the LEA have been or will be met.

- In the event the designated person leaves his or her position, the LEA must ensure that a new individual is identified and appropriately trained to serve as the designated person.  The newly identified designated person must have a basic knowledge of the health effects of asbestos, the detection, identification and assessment of asbestos management programs, and relevant federal and state regulations concerning asbestos.

Reinspection:

The LEA must retain the services of a licensed asbestos inspector or management planner to conduct a reinspection every three (3) years subsequent to implementation of a management plan.

- Triennial reinspections must include an inspection of each area of every building that is leased, owned, or otherwise used as a school building.

Written Notification Regarding Availability of the AMP:

At least once each school year, the LEA must provide written notification to parent, teacher, and employee organizations regarding the availability of the Asbestos Management Plan and any response actions taken or planned.

- This notice must be dated and a copy placed in the AMP.

- The AMP must describe the steps taken to notify parents, teachers and employee organizations.  Acceptable methods of notification include placing in the school handbook, mailing a letter to each household, or placing an ad in the local paper.

Periodic Surveillance:

After the AMP  has been implemented, the LEA conduct periodic surveillance in each building that it leases, owns, or otherwise uses as a school building at least once every six (6) months.

The purpose of surveillance is to look at known or suspect asbestos-containing building materials (ACMB) and note any changes in the materials.

Custodial & Maintenance Training and Short-Term Worker:

All maintenance and custodial staff who may work in a building that contains asbestos-containing materials (ACBM) must receive at least two (2) hours of asbestos awareness whether or not they are require to work with ACBM.

- Maintenance and custodial staff conducting any activities that will result in the disturbance to ACBM must receive and additional fourteen hours of training.

- The LEA must ensure that new custodial and maintenance employees are trained within sixty days after commencement of employment.

- The LEA must ensure that short-term workers who may come in contact with asbestos (e.g., utility repair workers) are informed of the location of ACBM.

Record-Keeping Requirement:

The LEA must maintain records required by the regulations to be included in the AMP.  This includes:

- a copy of prior inspection and/or reinspection reports.

- documentation related to the training provided to custodial and maintenance employees;

- periodic surveillance forms;

- dated statements regarding operations and maintenance activities;

- a copy of the annual notice of the management plan availability;

- a copy of all reports on response actions taken; and

- a copy of the updated management plan in each school.

Compliance/Enforcement:

EPA is committed to providing assistance to LEAs to ensure compliance with regulatory requirements.  While it is the goal to EPA to provide LEAs with assistance in achieving regulatory compliance voluntarily, LEAs that fail to comply with existing regulatory requirements will be subject to enforcement action by the EPA Region III Office.

Exclusions:

A LEA shall not be required to perform an inspections in any school building, own, leased as defined in 40 CFR 763 when:

An architect or project engineer responsible for the construction of a new school building after October 12, 1988, or an accredited inspector signs a statement that no ACBM was specified as a building material in any construction document for the building, or, to the best of his or her knowledge, no ACBM was used as a building material within the facility.  The local education agency shall submit a copy of the signed statement of the architect, project engineer, or accredited inspector to the EPA Regional Office shall include the statement in the management plan for that school.

R E F E R E N C E S

REFERENCES

1.	A Master Plan for Public Education, West Virginia Board of Education, Charleston, WV, 1982-83.

2.	Guide for Planning Educational Facilities, The Council of Educational Facilities Planners International, 941 Chatham Lane, Suite 217, Columbus, Ohio 43221.

3.	West Virginia Board of Education (WVBE) - Policy 2510, Charleston, West Virginia

4.	School Laws of West Virginia

5.	School Building Authority (SBA) - Requirements for Educational Specifications, Latest Edition

6.	American National Standards Institute, Inc., (ANSI) 1430 Broadway, New York, New York 10018

7.	National Flood Insurance Program, Federal Emergency Management Agency, 105 South Street, Liberty Square Building, Philadelphia, Pennsylvania 10506.

8.	Section 504 - Rehabilitation Act of 1973 (29 U.S.C. 794), Department of Health, Education and Welfare, Washington, D.C.

9.	West Virginia Board of Education (WVBE) - Policy 2419, Charleston, West Virginia

10.	Uniform Federal Accessibility Standards.

11.	Individuals with Disabilities Education Act (IDEA).

12.	Americans with Disabilities Act (ADA).

13.	Building Officials and Code Administrators International - Basic Building Code (B.O.C.A.), 17926 South Halsted Street, Homewood, Illinois 60430.

14.	State Building Code of West Virginia (Latest Edition)

15.	National Electrical Code (NEC) - Supplement A, National Fire Association, Batterymarch Park, Quincy, Massachusetts 02269.

16.	West Virginia Fire Code, Rules and Regulations of the West Virginia Fire Commission, Charleston, West Virginia (Latest Edition)

17.	Life Safety Code 101 and National Fire Code, National Fire Protection Association, Batterymarch Park, Quincy, Massachusetts 02269 (Latest Edition)

18.	Climatological Data for West Virginia, National Climatic Data Center, Asheville, North Carolina

19.	American Society of Heating, Refrigeration and Air-Conditioning Engineers, Inc. (ASHRAE), Atlanta, Georgia (Latest Edition)

20.	Energy Consumption Guidelines for Educational Facilities, West Virginia Governor’s Office of Economic and Community Development, Fuel and Energy Office, Charleston, West Virginia

21.	Lighting Handbook, Illuminating Engineering Society (IES), 1860 Broadway, New York, New York

22.	Crime Prevention Through Environmental Design (CPTED)

23.	West Virginia Secondary Schools Activity Commission (WVSSAC)

24.	Acoustical Society of America (ASA)

25.	Office of Technology and Information Systems (OTIS) Handbook

All Referenced Codes are to be Latest Editions.

# Text boxes

O

Execute Grant Contract with the SBA for approved project

Approved by the WVBE

O

Conducts School Closure Hearings (WV Code §18-5-13a) and

requests WV Board of Education (WVBE) approval if closures are involved in the proposed New Facility

O-S

Anticipates specific school building needs and initiates preparation of educational specifications

O-S

Seeks Design Professional Services

O

Submits list of Design Professionals responding to the advertisement to the SBA for review and comment

O-A

Seeks Construction Management or Construction Analysis services.  (See Professional Services of the Construction Manager or the Construction Analyst)

Approved by the SBA

O

Submits List of Construction Analyst or Construction Manager responding to the advertisement to the SBA for review and comment

Approved by the SBA

O-A-S-CM

Sets Allowable Project Development Time Limits for the Board of Education Design Professional and Construction Manager

O

Seeks services of the Educational  Specification Specialist and Technology Planner

O-A

Prepares Educational Specification and Technology Plan

O-A-S-CM/CA

Analyzes Educational Specifications and Develops Building Program

Approved by the SBA

O-A

Submits Educational Specification and Building Program to the SBA and WVDE for review and comment

A

Prepares Schematic Design from Educational Specifications

Approved by the SBA

A-CM/CA

Prepares Preliminary Cost Estimates from Schematic Design

and Educational Specifications

Revisions Required

O-A-CM/CA

Submits Educational Specifications, Building Program, Schematic Drawings, and Initial Cost Estimate to the SBA and WVDE for review and comment

Approved by the SBA and WVDE

O-A-CM/CA

Prepares Design Development Drawings, Outline Specifications, Life Cycle Cost Analysis, Design Intent Narrative First Detailed Cost Estimates, and Technology Plan

O-A-CM/CA

Submits one set of Design Development Drawings, Final Educational

Specifications, Building Program, Outline Specifications, Technology

Plan, Life Cycle Cost Analysis (only if system #3, #4 or #5 are chosen), Design Intent Narrative, and Cost Estimate to the SBA and WVDE for review and comment

Revisions Required

Approved by the SBA and WVDE

O

Local Board of Education reviews and approves Educational Specifications, Building

Programs, Design Development Documents, Outline Specifications, and Initial Cost Estimate

O

Submits one set of Design Development Drawings, Outline Specifications, First Detailed Cost Estimates and Preliminary Project Approval Form (P-1) to appropriate Regulatory Agencies for approval (See Handbook on Planning School Facilities Section 1201.04)

O-E

Submits copy of Regulatory Agencies Review Comments to the SBA and WVDE

A-CM/CA

Prepares Bidding and Construction Documents and Final Cost Estimate

Approved by the SBA

O-A-E-CM/CA

Submits Final Bidding and Construction Documents and Final Cost Estimate to the SBA and WVDE for review and comment

Revisions Required

Approved by the SBA and WVDE

O

Local Board of Education reviews and approves Final Bidding and Construction Documents and Final Cost Estimate

O-A-CM/CA

Submits one set of Final Contract Documents (Drawings and Written Specifications)

and latest P-1 Form to appropriate Regulatory Agencies for approval (See Handbook

on Planning School Facilities Section 1201.04 & 1202.2)

O-A

Submits copy of Regulatory Agencies Review Comments to the SBA and WVDE

Approved by the SBA and WVDE

O-A-CM

Secures Fire Marshal’s and SBA’s approval of Contract Documents before advertising for Construction Bids

A-CM

Advertises for Construction Bids/Issue Bid Documents to prospective bidders

O-A-CM

Bid Opening - Submit Bid Tabulations and List of Subcontractors/Major Equipment Suppliers to the SBA within two (2) hours of Bid Opening Time

S

SBA reviews and approves Bid Information

Revisions Required

Approved by the SBA

O-A-CM

Award Construction Contracts

E-C-O-A-S-CM

Building Construction Phase

O-A-S-CM

Approves Payment Requests and Conducts On-site Project Meetings

Approved by the SBA

O-A-S-CM

Accepts Building as Substantially Complete

O-A-S-CM

Receives Project Closeout Documentation

C-A-CM-O

Provides the Building Owner operation and maintenance training and provides Building Component documentation including as-built drawings

O

Prepares Final P-1 Form and Certificate of Project Completion Form (BP-13-A or SBA 139) including all signatures and submits to the SBA

S

SBA reviews and approves P-1 Form and BP-13-A Form

E-C-O-A-S-CM

Performs Final Walk-Thru Building Inspection with the SBA and secures approval to occupy building from the SBA , WVDE, and Fire Marshal Representatives

S

SBA accepts executed BP-13-A Form

O-A-CM

Submits Final Billing to the SBA

S

SBA Approves Final Payment

C-O-A-S-E-CM

Performs Building Inspection of New Facility prior to the expiration of one (1) year warranties

O-A

Contacts appropriate Contractors for Correction of Deficient Building Components covered by warranty

*	Architects - Please be advised that an SBA review will not occur without submittal of educational specifications with schematic drawings. Continued development of the building design beyond schematics without written approval of the SBA is at the fiscal risk of the designer and the board of education.  This constitutes a change in the SBA handbook procedures which asks for Ed Specs to be submitted with the design development documents.

**	Bibliography:

A.Conrad, MJ., A Manual for Determining the Operating Capacity of Secondary  Schools.  Bureau of Educational Research and Service, OSU.

B.Castaldi, Basil,  The Castaldi Nomogram.  The New England School Development Council.

C.CEFPI, Phoenix, AZ,  A Guide for Planning Educaitonal Facilities